| When to Use This Form | This Packet is to be used in conjunction with procedure P-192.501. |
| --- | --- |
| Reviewed Procedures | P-192.501 Steel Pipeline Pressure Test Requirements |
|  | The applicable sections of the above procedure(s) shall be reviewed prior to completing this form. |
| Documentation Procedure | - Copy form and replace original. Do not mark up the original copy of this form. - Complete all sections of the form. - If the pipeline is exposed for any reason (external or internal) complete Form WTG 1100. - Document any repairs required due to rupture or leak using packet F-192.305. - Attach pressure recording charts, test instrument calibration data. - For unsuccessful tests complete Unsuccessful Hydrostatic Test section of this form. - Have test supervisor sign form. - Send a copy of the form to engineer to establish MAOP of the pipeline. See Form F-192.619. - Place in DOT file. Keep most current test. - Retain Records for the Life of the Pipeline System. |

Description

| Name of Individual Responsible for Testing: |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Operator: |  |  |  |  |  |  |  |  |  |  |  |  |
| System or Facility Tested: |  |  |  |  |  | Start Date: |  |  |  |  |  | Start Time: |
|  |  |  |  |  |  | Stop Date: |  |  |  |  |  | Stop Time: |
| Extent of Test: From Station: |  |  |  |  |  | To Station: |  |  |  |  |  |  |
| Test Medium: Water Other: |  |  |  |  |  |  |  |  | Inhibitor: Yes No |  |  |  |
| Test Company: |  | Inhibitor Type: |  |  |  |  | Inhibitor Rate: |  |  |  |  |  |
| Purpose: Initial Construction Pretest Retest Repair or replacement |  |  |  |  |  |  |  |  |  |  |  |  |
| Source of Water Fill: |  |  |  |  |  |  |  |  |  |  |  |  |
| Leak Detection Material Type: |  |  |  |  |  |  |  | Rate: |  |  |  |  |
| Pressure Pump Location: |  |  | Sta: |  | MP: |  |  |  |  |  | Elev.: |  |
| Certified Gauge Location: |  |  | Sta: |  | MP: |  |  |  |  |  | Elev.: |  |
| Certified Gauge Calibration Date: |  |  |  | Serial Number: |  |  |  |  |  |  |  |  |
| Pressure Recorder Serial Number: |  |  |  |  |  |  |  |  |  |  |  |  |
| Pipe Temp. Recorder Serial Number: |  |  |  |  |  |  |  |  |  |  |  |  |
| Elevation and Calculated Pressure and Critical Points During Test Period: |  |  |  |  |  |  |  |  |  |  |  |  |
| High Point: | Elev: |  |  | Press. Min: |  |  |  |  |  | Press. Max: |  |  |
| Low Point: | Elev: |  |  | Press. Min: |  |  |  |  |  | Press. Max: |  |  |
| Certified Gauge: | Elev: |  |  | Press. Min: |  |  |  |  |  | Press. Max: |  |  |

Pipe Data

| From Sta. No. to Sta. No. | OD (inches) | Wall (inches) | Grade | SMYS | Seam FAC “E” | Design FAC “F” | Internal Design Press. |
| --- | --- | --- | --- | --- | --- | --- | --- |

Component Data

| Description | Manufacturer | SMYS | MAOP/MOP |
| --- | --- | --- | --- |
| Weakest Component other than Pipe: |  |  |  |
| MAOP/MOP of Weakest Component: |  |  |  |

Pressure and Temperature Data

| No | Time | Gauge Press | Chart Press | Pipe Temp | Ambient | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |
| 23 |  |  |  |  |  |  |
| 24 |  |  |  |  |  |  |
| 25 |  |  |  |  |  |  |
| 26 |  |  |  |  |  |  |
| 27 |  |  |  |  |  |  |
| 28 |  |  |  |  |  |  |
| 29 |  |  |  |  |  |  |
| 30 |  |  |  |  |  |  |

Summary of Test

| Test Medium: | Min. Test Pressure: |
| --- | --- |
| Test Duration: | Test pressure (Corrected for high elevation): |
| Piping was buried during test | Piping was exposed & inspected during test |
| Test Supervised by: |  |
| Certified by Division or Project Engineer: |  |
| Approved by Division or Project Manager: |  |
| Documents Attached: Pressure Chart Temp. Chart Sketch or Diagram Profile (required if elevation change is > 100') |  |

Unsuccessful Hydrostatic Test

| Pipeline/Line Section: |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pipe Data: | O.D.: |  | W.T.: |  | Grade: |  |  | Year Built: |  |
| Seam Type: SMLS ERW SAW Spiral Flash Weld Lap Weld |  |  |  |  |  |  |  |  |  |
| Internal Pressure at 100% SYMS: |  |  |  |  |  |  |  |  |  |
| Joint Type: Acetylene Arc Weld Mechanical |  |  |  |  |  |  |  |  |  |
| Pipe Manufacturer: |  |  |  |  |  |  |  |  |  |
| Design Test Pressure Max: |  |  |  |  |  |  | Min: |  |  |
| Test Section Number: |  | From Sta.: |  | (MP: ) |  | To Sta.: |  |  | (MP: ) |
| Reason for Unsuccessful test: Leak Rupture |  |  |  |  |  |  |  |  |  |
| Metallurgical Report Review: Yes No |  |  |  |  |  |  |  |  |  |

| Leak Data |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Was leak found? |  |  |  |  |  |  |
| Yes | Date: |  | Time: |  | Station: | Elevation: |
|  | Time on Test when leak was found: |  |  |  |  |  |
|  | Leakage Rate: |  |  |  |  |  |
|  | Pressure at leak when discovered: |  |  |  |  |  |
|  | Location: Body Seam |  |  |  |  |  |
| No |  |  |  |  |  |  |
| Description and possible causes of leak: |  |  |  |  |  |  |
| Rupture Data |  |  |  |  |  |  |
| Location: |  | Station: |  | Elevation: |  |  |
| Date of rupture: |  |  |  | Time of Rupture |  |  |
| Pressure at rupture: |  |  |  | Time on Test before rupture: |  |  |
| Location: Body Seam |  |  |  |  |  |  |
| Description and possible causes of rupture: |  |  |  |  |  |  |