## Master
District | [7 empty] | System | [11 empty] | TRC/CC UNIT
STATION NBR | [5 empty] | LOCATION | [12 empty] | GPS
STATION TYPE: | [20 empty] | MAOP
[21 empty] | IN |  |  |  | OUT
REGULATOR DATA NO. 1 | [7 empty] | REGULATOR DATA NO. 2 | [11 empty] | REGULATOR DATA NO. 3
Size |  |  | Make |  |  |  |  | Size |  |  |  |  | Make | [6 empty] | Size |  |  |  | Make
Model # |  |  |  | S/N |  |  |  | Model # | [5 empty] | S/N | [5 empty] | Model # |  |  |  |  | S/N
Press Rating |  |  |  | Orifice Size |  |  |  | Press Rating | [5 empty] | Orifice Size | [5 empty] | Press Rating |  |  |  |  | Orifice Size
Spring Color |  |  |  | Spring Range |  |  |  | Spring Color | [5 empty] | Spring Range | [5 empty] | Spring Color |  |  |  |  | Spring Range
In Press Max | [7 empty] | In Press Max | [11 empty] | In Press Max
Out Press MAOP | [7 empty] | Out Press MAOP | [11 empty] | Out Press MAOP
REGULATOR DATA NO. 4
Size |  |  | Make
Model # |  |  |  | S/N
Press Rating |  |  |  | Orifice Size
Spring Color |  |  |  | Spring Range
In Press Max
Out Press MAOP
REG CAPACITY
At Max Inlet & MAOP Outlet SCFH | [9 empty] | #1 | [7 empty] | #2 | [6 empty] | #3
#4
Relief Valve Data No. 1 | [7 empty] | Relief Valve Data No. 2 | [11 empty] | Relief Valve Data No. 3
Size |  |  | Make |  |  |  |  | Size |  |  |  |  | Make | [6 empty] | Size |  |  |  | Make
Model # |  |  |  | Press Rating |  |  |  | Model # | [5 empty] | Press Rating | [5 empty] | Model # |  |  |  |  | Press Rating
Spg Color |  |  |  | Range |  |  |  | Spg Color | [5 empty] | Range | [5 empty] | Spg Color |  |  |  |  | Range
Capacity Downstream at MAOP SCFH | [10 empty] | #1 | [7 empty] | #2 | [5 empty] | #3
#4
INSPECTION SHEET
Bypass locked closed? | [6 empty] | Y |  | N |  | N/A |  |  | Regulators stroked? | [9 empty] | Y |  | N |  | N/A
RV locked open? | [6 empty] | Y |  | N |  | N/A |  |  | Lockup checked? | [9 empty] | Y |  | N |  | N/A
Building okay? | [6 empty] | Y |  | N |  | N/A |  |  | Orifice working properly? | [9 empty] | Y |  | N |  | N/A
Fence secure? | [6 empty] | Y |  | N |  | N/A |  |  | Seats working properly? | [9 empty] | Y |  | N |  | N/A
Weeds cut? | [6 empty] | Y |  | N |  | N/A |  |  | Relief valve popped? | [9 empty] | Y |  | N |  | N/A
Bypass valve oper. & serviced? | [6 empty] | Y |  | N |  | N/A |  |  | Relief valve insp & cleaned? | [9 empty] | Y |  | N |  | N/A
Caution signs in place & legible? | [6 empty] | Y |  | N |  | N/A |  |  | Was Nitrogen used? | [9 empty] | Y |  | N |  | N/A
All vents clear & protected? | [6 empty] | Y |  | N |  | N/A |  |  | Paint okay? | [9 empty] | Y |  | N |  | N/A
Inlet valve oper. & serviced? | [6 empty] | Y |  | N |  | N/A |  |  | Atmospheric corrosion present? | [9 empty] | Y |  | N |  | N/A
Outlet valve oper. & serviced? | [6 empty] | Y |  | N |  | N/A |  |  | Filter replaced / cleaned? | [9 empty] | Y |  | N |  | N/A
Slam valve insp & cleaned? | [6 empty] | Y |  | N |  | N/A |  |  | Relief Blk Valve oper & serviced? | [9 empty] | Y |  | N |  | N/A
Regulator Settings As Left | [15 empty] | Relief Valve Settings as Left
Reg No 1 |  | psi |  | Reg No 2 |  | psi |  | Reg No 3 |  |  |  | psi |  | Rel No 1 |  |  |  | psi |  | Rel No 2 |  |  | psi |  | Rel No 3 |  |  |  | psi
Slam Valve Settings As Left
[9 empty] | psi | [5 empty] | ppm | [5 empty] | other
| Date Inspected | [9 empty] | AOC’s Found | [5 empty] | Y |  | N |  | Person Qualified? | [5 empty] | Y |  | N
Note: This inspection sheet must agree with the equipment installed. Any changes to MAOP, orifice size, relief valves, orifices or springs require revisions to the sheet and the regulator design sheet. Is there anything on the station that does not agree with this form, or is not consistent with the operating conditions? Y___ N____ If yes, please note in REMARKS on back of this form(if needed check here) Y___
Inspector Signature | [18 empty] | AOC’s |  |  | Y | N
Reviewing Supervisor