| When to Use This Form | This form is to be used in conjunction with the procedure P-192.455 whenever the cathodic protection system on the pipeline is installed or additional protection is added. |
| --- | --- |
| Reviewed Procedures | P-192.455 Installation of Cathodic Protection System |
|  | The applicable sections of the above procedure(s) shall be reviewed prior to completing this form. |
| Documentation Procedure | Copy form and replace original. Do not mark up the original copy of this form. Gather data and complete the form for each construction project. Attach maps identifying each corrosion test station. Place form in project file. Retain Records for the Life of the Pipeline System. |

Cathodic Protection System Installation

| Pipeline System: | Segment: |
| --- | --- |
| Drawing References: | Class Location: |
| New Construction Replacement |
| Describe the type of Cathodic Protection Installed |
| External Coating |
| Material: | Application Method: |
| Anodes |
| Date Installed: | Type of anodes: |
| Weight of Anodes: | Number of Anodes: |
| Spacing: ft | Depth: ft |
| Distance from Structure: ft | Resistively of soil: OHM-cm |
| Estimated current output/anode: MA | Estimated Replacement Date: |
| Rectifier |
| Complete Cathodic Protection Rectifier and Ground Bed Data portion of this packet. |
| Map attached showing location of cathodic protection equipment. |
| Completed by: | Date: |

Rectifier Installation

| This report covers: New installation Addition Replacement |
| --- |
| Rectifier LOC No. | Drawing No. |
| Station No. | Mile No. | Land Owner: Tenant: |
| Size of Easement: | Survey or Section: |
| Abstract No: | County: |
| Rectifier Data | Type: | Model: | Serial No. | Stack No. |
|  | Mfgr: | Supplier: | Order No.: |
|  | A.C. Volts: | D.C. Rating: Volts Amps | Initial Volts Readings: Amps |
| Groundbed Data | Vertical | No. Rods: | Type: | Size: |
|  |  | Hole Depth: | Hole Diameter: | Hole Spacing: |
|  | Horiz-ontal | No. Rods | Type: | Size: |
|  |  | Ditch Depth: | Length & size of scrap pipe: |
|  | Distance to Line: | Backfill (type and amount): |

| Cable Data | Size | Length | Type | Insulation |
| --- | --- | --- | --- | --- |
| Ground bed header cable |  |  |  |  |
| Ground bed to rectifier |  |  |  |  |
| Pipe line to rectifier |  |  |  |  |
| Ground rod lead |  |  |  |  |
| CONNECTION: Ground rod lead to header wire |  |
| Power Source: | Meter No.: | Kh: |
| Rate: | Avg. Monthly Bill: | Installation Cost: |
| AFE No.: | Installed by (Or contractor): | Date: |
| Soil Resistivity At Depths | Date | 2 1/2’ | 5’ | 10’ | 20’ |
| Approved by: | Date: |
| Completed by: | Date: |

NOTE: Attach sketch of Installation on separate sheet