| When to Use This Form | This form is used to document the re-evaluation of pipelines that are not cathodically protected to determine if they need cathodic protection. |
| --- | --- |
| Reviewed Procedures | P-192.455 Installation of Cathodic Protection System P-192.465(e) Re-evaluation of Non-protected Pipe P-192.483 Cathodic Protection Remediation |
|  | The applicable sections of the above procedure(s) shall be reviewed prior to completing this form. |
| Documentation Procedure | - Copy this form and return original to manual. - Refer to Corrosion Control Procedures in the O&M Manual to ensure inspections are done correctly. - Gather data and complete form. - If corrosion is found or there is a suspected need for remediation, document below and forward this document to the Corrosion Control Engineer for immediate review. - Place completed form in file. - Retain Records for the Life of the Pipeline System. |

Follow-up Items

Note items that require immediate remedial action.

| Action Item (Problem) | Action Taken | Date | Signed |
| --- | --- | --- | --- |

| Pipe System: | Location: |  |
| --- | --- | --- |
| Commodity(s) Transported: |  |  |
| Is an electrical survey practical for this line segment, to determine if active corrosion is present? Yes No |  |  |
| If YES, conduct the electrical survey and attach the results to this form. |  |  |
| If NO, do one or more of the following: Evaluate corrosion records Evaluate leak history records Perform other appropriate evaluations to identify active corrosion Leakage Survey |  |  |
| Do any of the above evaluations indicate that active corrosion is present for this line segment? Yes No |  |  |
| If YES, cathodically protect the pipeline segment as required by 49 CFR § 192.452. |  |  |
| If NO, schedule another evaluation using this form in 5 years. |  |  |
| Completed by: |  | Date: |
| Supervisor’s Signature: |  |  |

THIS PAGE INTENTIONALLY LEFT BLANK.