{"text_format":"1","workbook":"xlsx","n_sheets":6,"sheets":["Leak Report","Field Guide 1","Leak Cause Guide","Drop Down Boxes","Drop Down Boxes 2","Sheet1"],"not_rendered":{"charts":0,"images":1,"macros":1,"external_links":0,"defined_names":35,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Leak Report","index":0,"n_rows":156,"n_cols":23,"rows_kept":156,"cut":false,"hidden":false,"merged":[[56,22,62,24],[6,21,6,22],[48,22,50,24],[57,17,57,18],[73,9,73,11],[56,0,56,19],[68,17,68,19],[69,17,69,19],[68,13,68,16],[69,13,69,16],[19,0,19,2],[11,0,11,9],[27,0,27,19],[20,0,20,19],[18,0,18,19],[22,0,22,19],[19,12,19,19],[13,0,13,19],[15,0,15,9],[16,0,16,19],[24,10,24,19],[23,17,23,19],[25,16,25,19],[26,16,26,19],[12,7,12,9],[60,17,60,19],[61,17,61,19],[63,13,63,19],[86,7,86,8],[57,7,57,9],[73,16,73,19],[60,15,60,16],[61,15,61,16],[64,0,64,7],[67,0,67,3],[70,17,70,19],[71,17,71,19],[66,17,66,19],[66,13,66,16],[59,13,59,14],[59,2,59,11],[58,7,58,10],[59,16,59,19],[59,0,59,1],[82,9,82,13],[83,9,83,13],[82,0,82,6],[84,0,84,1],[84,9,84,12],[23,0,23,16],[24,0,24,5],[25,0,25,6],[26,0,26,5],[55,0,55,1],[60,0,60,3],[60,10,60,11],[61,0,61,2],[55,13,55,14],[57,10,57,11],[57,13,57,16],[58,11,58,14],[62,0,62,2],[63,0,63,2],[84,15,84,19],[70,11,70,12],[71,11,71,12],[72,0,72,19],[75,12,75,19],[76,14,76,19],[78,14,78,19],[68,0,68,2],[69,0,69,4],[70,0,70,2],[71,0,71,3],[73,0,73,7],[69,11,69,12],[78,9,78,13],[80,9,80,13],[65,17,65,19],[65,13,65,16],[67,4,67,10],[77,0,77,19],[146,15,146,19],[148,15,148,19],[150,15,150,19],[154,15,154,19],[155,15,155,19],[155,0,155,5],[145,0,145,19],[147,0,147,19],[149,0,149,19],[107,2,108,19],[103,0,103,5],[102,15,102,19],[103,15,103,19],[74,0,74,8],[75,0,75,8],[76,0,76,8],[106,0,106,15],[140,15,140,19],[117,0,117,3],[121,9,121,10],[125,9,125,10],[94,0,94,19],[92,0,92,19],[86,4,86,6],[114,0,114,14],[102,0,102,5],[109,10,109,19],[95,8,95,19],[86,0,86,3],[86,9,86,15],[112,0,112,19],[119,0,119,19],[123,0,123,19],[127,0,127,19],[131,0,131,19],[135,0,135,19],[139,0,139,19],[141,0,141,19],[143,0,143,19],[118,0,118,10],[115,0,115,19],[114,15,114,19],[113,0,113,12],[117,11,117,19],[118,11,118,19],[126,11,126,19],[142,15,142,19],[14,0,14,4],[14,10,14,11],[15,10,15,11],[17,0,17,2],[21,0,21,4],[21,5,21,6],[21,12,21,13],[17,4,17,6],[17,8,17,10],[17,17,17,19],[9,14,9,19],[10,4,10,6],[53,10,53,19],[51,10,51,19],[52,10,52,19],[49,16,49,19],[14,12,14,19],[19,3,19,11],[15,12,15,19],[10,14,10,19],[11,14,11,19],[25,7,25,15],[12,14,12,19],[9,3,9,7],[10,7,10,9],[9,10,9,13],[10,10,10,13],[11,10,11,13],[12,10,12,13],[10,0,10,3],[9,0,9,2],[12,0,12,2],[21,7,21,11],[9,8,9,9],[2,10,2,19],[3,10,3,19],[4,10,4,19],[8,14,8,19],[6,14,6,19],[7,3,7,7],[6,3,6,7],[8,3,8,8],[7,14,7,19],[5,0,5,19],[6,0,6,2],[7,0,7,2],[6,10,6,13],[7,10,7,13],[8,10,8,13],[8,0,8,2],[6,8,6,9],[7,8,7,9],[26,6,26,15],[48,0,48,19],[61,3,61,4],[55,2,55,6],[55,15,55,19],[28,0,28,19],[74,15,74,19],[61,7,61,8],[80,14,80,19],[64,17,64,19],[64,13,64,16],[71,4,71,10],[70,3,70,10],[69,5,69,10],[68,3,68,10],[66,4,66,10],[65,0,65,10],[64,8,64,10],[64,11,64,12],[65,11,65,12],[63,3,63,10],[62,3,62,10],[54,0,54,19],[55,7,55,12],[133,0,133,3],[74,9,74,14],[75,9,75,11],[76,9,76,13],[78,0,78,5],[96,0,96,19],[98,0,98,10],[99,0,99,19],[101,0,101,19],[88,6,88,11],[88,14,88,19],[89,3,89,19],[97,11,97,19],[100,7,100,12],[100,13,100,17],[82,14,82,19],[83,14,83,19],[98,11,98,19],[90,3,90,19],[91,3,91,19],[93,4,93,19],[122,0,122,10],[126,0,126,10],[130,0,130,10],[157,15,157,19],[121,11,121,19],[122,11,122,19],[125,11,125,19],[136,7,136,10],[136,12,136,15],[128,7,128,10],[128,12,128,15],[132,7,132,10],[132,12,132,15],[138,11,138,19],[144,6,144,7],[144,13,144,14],[146,6,146,7],[146,13,146,14],[148,6,148,7],[142,6,142,7],[156,0,156,19],[134,0,134,10],[138,0,138,10],[148,13,148,14],[154,8,154,14],[157,0,157,14],[144,15,144,19],[124,12,124,15],[132,0,132,3],[137,0,137,3],[129,9,129,10],[21,14,21,19],[66,11,66,12],[67,11,67,12],[68,11,68,12],[155,8,155,14],[104,0,104,19],[95,6,95,7],[102,8,102,14],[100,18,100,19],[95,0,95,5],[97,0,97,10],[100,0,100,3],[106,16,106,19],[102,6,102,7],[103,6,103,7],[105,0,105,19],[103,8,103,14],[110,10,110,19],[111,10,111,19],[116,5,116,6],[142,13,142,14],[137,9,137,10],[140,6,140,7],[140,13,140,14],[128,5,128,6],[129,4,129,6],[133,4,133,6],[132,5,132,6],[129,11,129,19],[130,11,130,19],[133,11,133,19],[134,11,134,19],[137,11,137,19],[151,0,151,19],[153,0,153,19],[85,0,85,19],[87,0,87,19],[57,0,57,3],[150,6,150,7],[150,13,150,14],[113,15,113,19],[152,15,152,19],[117,4,117,6],[116,7,116,10],[116,12,116,15],[121,4,121,6],[124,5,124,6],[120,5,120,6],[136,5,136,6],[116,0,116,3],[120,0,120,3],[124,0,124,3],[121,0,121,3],[136,0,136,3],[62,11,62,19],[63,11,63,12],[137,4,137,6],[133,9,133,10],[125,0,125,3],[129,0,129,3],[88,4,88,5],[88,12,88,13],[88,0,88,3],[89,0,89,2],[90,0,90,2],[91,0,91,2],[93,0,93,3],[57,4,57,5],[66,0,66,3],[67,13,67,15],[58,4,58,5],[58,15,58,16],[58,0,58,3],[73,22,83,24],[125,4,125,6],[128,0,128,3],[117,9,117,10],[120,7,120,10],[120,12,120,15],[124,7,124,10]]}
[]
[]
[null,null,null,null,null,null,null,null,null,null,"Form WTG-1101"]
[null,null,"Gas Operations",null,null,null,null,null,null,null,"Leak Report Form"]
[null,null,"and Maintenance Manual",null,null,null,null,null,null,null,"Revision April 2022"]
[]
["Leak ID#:",null,null,null,null,null,null,null,null,null,"Date Leak Reported:"]
["District:",null,null,null,null,null,null,null,null,null,"State:"]
["System Name:",null,null,null,null,null,null,null,null,null,"System ID# (TRRC #):",null,null,null,{"$f":"IF(D9=\"\",\"\",_xlfn.IFNA(VLOOKUP(D9,'Drop Down Boxes 2'!S2:T597,2,FALSE),\"Trans, Gath or Unknown ID\"))","v":""}]
["Leak Grade (*1):",null,null,null,null,null,null,null,null,null,"Method leak reported:"]
["% Gas Concentration:",null,null,null,null,null,null,null,null,null,"Street Address 1:"]
[null,null,null,null,null,null,null,null,null,null,"Street Address 2:"]
["Business District:",null,null,null,"Yes",null,"No",null,null,null,"City:"]
[]
["Leak located on Federal land:",null,null,null,null,null,"Yes",null,"No",null,"Zip Code:"]
[null,null,null,null,null,null,null,null,null,null,"County:"]
[]
["System Type:",null,null,null,"Transmission",null,null,null,"Distribution",null,null,null,"Gathering",null,null,null,"NGL"]
[]
["Leak graded by:"]
[]
["GPS of the center of the leak:",null,null,null,null,"Latitude:",null,null,null,null,null,null,"Longitude:"]
[]
["If reported by the public: The Supervisors review must be completed by 10:00 AM of the following business day"]
["Was leak reported by the public?",null,null,null,null,null,null,"Yes",null,"No"]
["If Yes, date and time of Supervisor review:",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null," "]
["Signature of reviewing Supervisor:"]
[" "]
["NORTH"]
[]
[null,".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".","."]
[null,".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".","."]
[null,".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".","."]
[null,".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".","."]
[null,".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".","."]
[null,".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".","."]
[null,".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".","."]
[null,".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".","."]
[null,".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".","."]
[null,".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".","."]
[null,".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".","."]
[null,".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".","."]
[null,".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".","."]
[null,".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".","."]
[null,".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".","."]
[null,".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".","."]
[null,".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".",".","."]
[]
["* See Field Guide for a list of choices ",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Enter Repair Data on lines below"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,"Form WTG-1101"]
[null,null,"Gas Operations",null,null,null,null,null,null,null,"Leak Report Form"]
[null,null,"and Maintenance Manual",null,null,null,null,null,null,null,{"$f":"K5","v":"Revision April 2022"}]
[]
["Repair Date:",null,null,null,null,null,null,null,null,null,null,null,null,"Leak ID#:",null,{"$f":"IF(SUM(D7<1),\"\",D7)","v":""}]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"If  hole measureable utilize yellow boxes  for GHG Calculation. If not measurable, utilize alternative measurement cell."]
["Height of Hole (in):",null,null,null,null,null,null,"Width of Hole (in):",null,null,null,null,null,"Est Pressure @ Hole:"]
["Time Leaked (hrs):",null,null,null,null,null,null,null,null,null,null,"Calculated GHG:",null,null,null,{"$f":"IF(((((E58*K58)*0.785)*(R58+14.65))*E59)<1,\"\",(((E58*K58)*0.785)*(R58+14.65))*E59)","v":""},{"$f":"((#REF!^2)*(K59+14.65))*#REF!","v":{"$error":"#REF!"}},"mcf @ 14.65"]
[null,null,"Enter loss in MCF if obtained by alternative measurement method:",null,null,null,null,null,null,null,null,null,null,null,null,"mcf"]
["Cathodic Protection:",null,null,null,null,"Yes",null,null,"No",null,"Type Of CP:",null,null,null,null,"Anodes"]
["CP Readings:",null,null,null,null,"Before",null,null,null,"After",null,null,null,"Other",null,"Impressed"]
["CP Remediation:"]
["Leak Cause(*2:)"]
["If Other Leak Cause is Chosen  you must explain:",null,null,null,null,null,null,null,null,null,null,null,null,"MAOP:"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"Wall Thickness:"]
["Leak Located(*3):",null,null,null,null,null,null,null,null,null,null,null,null,"Pipe Depth (in):"]
["Leak Located on(*4):",null,null,null,null,null,null,null,null,null,null,null,null,"Tracer Wire :",null,null,"Yes",null,"No"]
["Facility Type(*5):",null,null,null,null,null,null,null,null,null,null,null,null,"Coating Type:"]
["Pipe Size(Inches and decimal):",null,null,null,null,null,null,null,null,null,null,null,null,"Coating Condition:"]
["Pipe Type(*6):",null,null,null,null,null,null,null,null,null,null,null,null,"External Pipe Condition:"]
["Leak Repair Method(*7):",null,null,null,null,null,null,null,null,null,null,null,null,"Internal Pipe Condition:"]
[]
["If leak is located on a \"Compression Coupling\" fill in:",null,null,null,null,null,null,null,null,"Material Type:",null,null,null,"Steel",null,null,"Plastic",null,null,null,null,null,"These boxes will highlight in yellow if certain answers are chosen above.  If highlighted in yellow, fill in the appropriate data."]
[null,null,null,null,null,null,null,null,null,"Compression Coupling Installation Date:"]
[null,null,null,null,null,null,null,null,null,"Coupling Model:"]
[null,null,null,null,null,null,null,null,null,"Coupling Manufacturer:"]
[]
["If leak is located on a \"Joint\" fill in:",null,null,null,null,null,null,null,null,"Type of Leaking Joint(*8):"]
[]
["If leak is located on a \"Fitting\" fill in:",null,null,null,null,null,null,null,null,"Type of Leaking Fitting(*9):"]
[]
["If the pipe type is HDPE, MDPE, or PVC fill in:",null,null,null,null,null,null,null,null,"Pipe Manufacturer(*10):"]
[null,null,null,null,null,null,null,null,null,"Pipe ASTM material code(*11):"]
["Soil Type:",null,null,"Sandy",null,"Clay",null,"Loam",null,"Sandy, Clay, & Loam",null,null,null," ","Other"]
[]
["Installation Decade:",null,null,null,null,null,null,null,null,"Physical Attributes Match Mapping Data :",null,null,null,null,null,null,null,"Yes ",null,"No"]
[]
["Marker Ball Installed:",null,null,null,"Latitude:",null,null,null,null,null,null,null,"Longitude:"]
["Comments:"]
[]
[]
[]
["Repairs Completed By:"]
[" "]
["%  of Gas Concentration after Repair:"]
[]
["Post Repair Inspection Dates and Gas Concentration(If Required):"]
[]
[]
["Approved for Closing:",null,null,null,null,"Yes",null,"No (if no, use page 3 for final review)",null,null,null,null,null,"Date Leak approved for closing:"]
[]
["Supervisor completing final review:",null,null,null,null,null,"Signature"]
[null,null,null,null,null,null,"Date:"]
[]
["* See Field Guide for a list of choices"]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,"Form WTG-1101"]
[null,null,"Gas Operations",null,null,null,null,null,null,null,"Leak Report Form"]
[null,null,"and Maintenance Manual",null,null,null,null,null,null,null,{"$f":"K5","v":"Revision April 2022"}]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"Leak ID#:",null,{"$f":"IF(SUM(D7<1),\"\",D7)","v":""}]
["Leak re-evaluations and Post repair inspections:  Please refer to P-192.706(b) of the O&M"]
[]
["Leak Re-evaluation 1:",null,null,null,"Date:",null,null,"   % of Gas Concentration:",null,null,null,null,"     Leak Grade Change?",null,null,null,null,"Yes",null,"No"]
[null,null,null,null,"New Leak Grade:",null,null,null,null,"Comments:"]
[]
[]
["Leak Re-evaluation 2:",null,null,null,"Date:",null,null,"   % of Gas Concentration:",null,null,null,null,"     Leak Grade Change?",null,null,null,null,"Yes",null,"No"]
[null,null,null,null,"New Leak Grade:",null,null,null,null,"Comments:"]
[]
[]
["Leak Re-evaluation 3:",null,null,null,"Date:",null,null,"   % of Gas Concentration:",null,null,null,null,"     Leak Grade Change?",null,null,null,null,"Yes",null,"No"]
[null,null,null,null,"New Leak Grade:",null,null,null,null,"Comments:"]
[]
[]
["Leak Re-evaluation 4:",null,null,null,"Date:",null,null,"   % of Gas Concentration:",null,null,null,null,"     Leak Grade Change?",null,null,null,null,"Yes",null,"No"]
[null,null,null,null,"New Leak Grade:",null,null,null,null,"Comments:"]
[]
[]
["Leak Re-evaluation 5:",null,null,null,"Date:",null,null,"   % of Gas Concentration:",null,null,null,null,"     Leak Grade Change?",null,null,null,null,"Yes",null,"No"]
[null,null,null,null,"New Leak Grade:",null,null,null,null,"Comments:"]
[]
[]
["Leak Re-evaluation 6:",null,null,null,"Date:",null,null,"   % of Gas Concentration:",null,null,null,null,"     Leak Grade Change?",null,null,null,null,"Yes",null,"No"]
[null,null,null,null,"New Leak Grade:",null,null,null,null,"Comments:"]
[]
[]
["Post-repair Inspection 1:",null,null,null,null,"Date:",null,null,null,"% of Gas Concentration:"]
[]
["Post-repair Inspection 2:",null,null,null,null,"Date:",null,null,null,"% of Gas Concentration:"]
[]
["Post-repair Inspection 3:",null,null,null,null,"Date:",null,null,null,"% of Gas Concentration:"]
[]
["Post-repair Inspection 4:",null,null,null,null,"Date:",null,null,null,"% of Gas Concentration:"]
[]
["Post-repair Inspection 5:",null,null,null,null,"Date:",null,null,null,"% of Gas Concentration:"]
[]
["Post-repair Inspection 6:",null,null,null,null,"Date:",null,null,null,"% of Gas Concentration:"]
[]
["Approved for Closing:",null,null,null,null,"Yes",null,"No",null,"Date Leak approved for closing:"]
[]
["Supervisor completing final review:",null,null,null,null,null,"Signature"]
[null,null,null,null,null,null,"Date:"]

{"sheet":"Field Guide 1","index":1,"n_rows":94,"n_cols":3,"rows_kept":94,"cut":false,"hidden":false,"merged":[[0,0,0,2],[52,0,52,2],[3,0,6,0],[7,0,16,0],[17,0,21,0]]}
["Field Guide - Page 1"]
[]
["Leak Grade Description *1",null,"Leak Located On Description *3"]
["Grade 1 - A Grade 1 leak is an existing or probable hazard to persons or property and requires the operator to take action immediately to eliminate the hazard and make repairs.",null,"Above Ground Piping"]
[null,null,"Below Ground Piping"]
[]
[null,null,"Leak Located On Description *4"]
["Grade 2 - A grade 2 Leak is non-hazardous at the time of detection, but requires the operator to schedule repair based on probably future hazard. It can be scheduled for repair on a normal routine basis with periodic re-inspection as necessary.\nGrade 2 leaks will be re-evaluated at least once every 30 days until they have been repaired or cleared.  All Grade 2 leaks must be repaired within 6 months of detection.",null,"Valve"]
[null,null,"Body of Pipe"]
[null,null,"Stopcock"]
[null,null,"Fitting"]
[null,null,"Joint"]
[null,null,"Gauge Line"]
[null,null,"Riser"]
[null,null,"Regulator"]
[null,null,"Meter"]
[null,null,"Drip"]
["Grade 3 - A Grade 3 Leak is non-hazardous at the time of detection and can be reasonably expected to remain non-hazardous.\nGrade 3 leaks shall be repaired within 36 months of detection.",null,"Tap"]
[null,null,"Compression Coupling"]
[]
[]
[null,null,"Facility Type Description *5"]
[null,null,"Main"]
["Leak Cause Description *2",null,"Service"]
["Corrosion",null,"Transmission"]
["Operator Personnel/Contractors Excavation"]
["Other Third Party Excavators",null,"Pipe Type Code Description *6"]
["Locator",null,"Bare Steel"]
["Vehicle (Auto/Truck/etc.)",null,"Coated Steel"]
["Lightning",null,"Ductile Iron"]
["Washout",null,"Cast Iron"]
["Ground Movement",null,"Galvanized"]
["Ice",null,"Copper"]
["Staric Electricity",null,"Brass"]
["Vandalism",null,"High Density Polyethylene (# starts with a 3)"]
["Fire/Explosion First",null,"Medium Density Polyethylend (# starts with a 2)"]
["Excessive Strain",null,"Aldyl Polyethylene"]
["Dent",null,"Poly-Vinyl-Chloride (PVC & ABS)"]
["Gouge"]
["Factory Defect Defect",null,"Repair Method Description *7"]
["Wrinkle Bend",null,"Clamp Installed"]
["Weld (Steel)",null,"Split Sleeve"]
["Fusion Defect (Plastic)",null,"Encapsulation (Pumpkins/Trident Seal/etc)"]
["Equipment Malfunction",null,"Component Replaced"]
["Gasket/O-ring (Compression Coupling, etc)",null,"Abandoned (Not Replaced)"]
["Packing",null,"Pipe Replaced"]
["Inadequate/Failure to Follow Procedures",null,"Greasing"]
["Stripped Threads",null,"Doped/Caulked"]
["Backfill",null,"Tighten"]
["Other",null,"Sealing Bell & Spigot Joint"]
["Not Excavated",null,"Insertion"]
[]
["Field Guide - Page 2"]
[]
["Joint Type Code Description *8",null,"Pipe Manufaturer Description (Poly or PVC) *10"]
["Factory Butt Weld (Steel)",null,"Poly Pipe"]
["Factory Fillet Weld (Steel)",null,"Poly Pipe Inc."]
["Field Butt Weld (Steel)",null,"CSR Polypipe"]
["Field Fillet Weld (Steel)",null,"Rinker"]
["Threaded",null,"Performance Pipe"]
["Mechanical Joint",null,"Plexco"]
["Bell and Spigot",null,"Driscopipe"]
["Flange",null,"Quail"]
["Butt Fusion (Plastic)",null,"Uponorr"]
["Socket Fusion (Plastic)",null,"Nipak"]
["Saddle Fusion (Plastic)",null,"Other Manufacture, not listed or unknown"]
["Electrofusion (Plastic)"]
["Sidewall Fusion (Plastic)",null,"ASTM Description (Poly or PVC) *11"]
["NA",null,"Polyamide PA 32312"]
["Other",null,"Polybutylene PB 2110"]
[null,null,"Polyethylene PE 2306"]
["Fitting Type Code Description *9",null,"Polyethylene PE 2406"]
["Mechanical Service Tee",null,"Polyethylene PE 3406"]
["Heat Fusion Service Tee",null,"Polyethylene PE 3408"]
["Electrofusion Service Tee",null,"Polyvinyl Chloride PVC 1120"]
["Welded Service Tee",null,"Polyvinyl Chloride PVC 1220"]
["Saddle Fitting",null,"Polyvinyl Chloride PVC 2110"]
["Service Tee Cap",null,"Polyvinyl Chloride PVC 2116"]
["Anodeless Meter Riser",null,"Acrylonitrile Butadiene Styrene ABS 1210"]
["Threadolets/Weldolets/Sockolets",null,"Cellulose Acetate Butyrate CAB MH08"]
["Plugs/Caps",null,"Cellulose Acetate Butyrate CAB S004"]
["Elbow",null,"Reinforced Eposy Resin RTRP"]
["Nipple",null,"Other Material Designation"]
["Tee"]
["Diaphragm"]
["Other Meter Riser"]
["Transition Fitting"]
["Split Sleeve"]
["Leak Clamp"]
["Bell Joint Clamp"]
["Meter Swivel"]
["Union"]
["Insulator"]
["Other (pvc collar, etc)"]

{"sheet":"Leak Cause Guide","index":2,"n_rows":66,"n_cols":3,"rows_kept":66,"cut":false,"hidden":false,"merged":[]}
["LEAK CAUSE DESCRIPTION *2"]
["Field Personnel"]
["Corrosion"]
[]
["Operator Personnel/Contractors Excavation"]
["When a leak is caused by WTG personnel or WTG contractors on a pipeline that is properly located"]
["Other Third Party Excavators"]
["When a leak is caused by a Excavator not working for WTG  on a pipeline that is properly located"]
["Locator"]
["Leaks caused by mis-located lines while following correct procedures"]
["Mis-locates caused by faulty locator equipment"]
["Vehicle (Auto/Truck/etc.)"]
["Farmers plowing fields"]
["Run over meters"]
["Heavy Equipment crushs underground line"]
["Lightning"]
[]
["Washout"]
["Flood"]
["Ground Movement"]
["Cracks in PVC"]
["Ice"]
[]
["Static Electricity"]
[]
["Vandalism"]
[]
["Fire/Explosion First"]
[]
["Excessive Strain"]
["Ground temperature causes pipe shrinkage resulting in crack"]
["This does not include slipped PVC Collars"]
["Tree Roots exerting force on pipe"]
["Dent "]
["Not caused during excavation"]
["Gouge",null," "]
["Not caused during excavation"]
["Factory Defect"]
[]
["Wrinkle Bend"]
[]
["Weld (Steel)"]
[]
["Fusion Defect (Plastic)"]
["Slipped PVC Collar"]
["Leaking PVC Collar"]
["Leaking Poly Weld"]
["Equipment Malfunction"]
["Relief or Reg failure causing pressure to exceed design limits"]
["Gasket/O-ring"]
["Compression Couplings/Dressor Sleeves leaking around rubber seal"]
["Packing"]
["Leaking valves"]
["Inadequate/Failure to Follow Procedures"]
["Inadequate written procedures caused leak"]
["Failure to follow written procedures caused leak"]
["Stripped Threads"]
["Leaking Threaded Fittings"]
["Backfill"]
[]
["Other  "]
["Only pick \"Other\" after all other categories have been considered"]
["If you pick other, please give good description"]
["Not Excavated"]
["Abandoned Line"]
["Rerouted Line"]

{"sheet":"Drop Down Boxes","index":3,"n_rows":106,"n_cols":5,"rows_kept":106,"cut":false,"hidden":true,"merged":[]}
[]
["Leak Grade Description *1",null,"Leak Located On Description *3",null,"District"]
["Grade 1",null,"Above Ground Piping",null,"Amarillo"]
["Grade 2",null,"Below Ground Piping",null,"Beaver"]
["Grade 3",null,null,null,"Canadian"]
[null,null,"Leak Located On Description *4",null,"Dalhart"]
[null,null,"Valve",null,"Ft_Stockton"]
[null,null,"Body of Pipe",null,"Guymon"]
[null,null,"Stopcock",null,"Hugoton"]
[null,null,"Fitting",null,"Junction"]
[null,null,"Joint",null,"Kermit"]
[null,null,"Gauge Line",null,"Lubbock"]
[null,null,"Riser",null,"Pearsall"]
[null,null,"Regulator",null,"Permian_Basin"]
[null,null,"Meter",null,"Seminole"]
[null,null,"Drip",null,"Shamrock"]
[null,null,"Tap",null,"Spearman"]
[null,null,"Compression Coupling",null,"Stratford"]
[null,null,null,null,"Texhoma"]
[null,null,"Facility Type Description *5"]
[null,null,"Main"]
["Leak Cause Description *2",null,"Service"]
["Corrosion",null,"Transmission"]
["Operator Personnel/Contractors Excavation",null,"Gathering"]
["Other Third Party Excavators"]
["Locator",null,"Pipe Type Code Description *6"]
["Vehicle (Auto/Truck/etc.)",null,"Bare Steel"]
["Lightning",null,"Coated Steel"]
["Washout",null,"Ductile Iron"]
["Ground Movement",null,"Cast Iron"]
["Ice",null,"Galvanized"]
["Staric Electricity",null,"Copper"]
["Vandalism",null,"Brass"]
["Fire/Explosion First",null,"High Density Polyethylene (# starts with a 3)"]
["Excessive Strain",null,"Medium Density Polyethylene (# starts with a 2)"]
["Dent",null,"Aldyl Polyethylene"]
["Gouge",null,"Poly-Vinyl-Chloride (PVC & ABS)"]
["Factory Defect Defect"]
["Wrinkle Bend",null,"Repair Method Description *7"]
["Weld (Steel)",null,"Clamp Installed"]
["Fusion Defect (Plastic)",null,"Split Sleeve"]
["Equipment Malfunction",null,"Encapsulation (Pumpkins/Trident Seal/etc)"]
["Gasket/O-ring (Compression Coupling, etc)",null,"Component Replaced"]
["Packing",null,"Abandoned (Not Replaced)"]
["Inadequate/Failure to Follow Procedures",null,"Pipe Replaced"]
["Stripped Threads",null,"Greasing"]
["Backfill",null,"Doped/Caulked"]
["Other",null,"Tighten"]
["Not Excavated",null,"Sealing Bell & Spigot Joint"]
[null,null,"Insertion"]
[]
["Joint Type Code Description *8"]
["Factory Butt Weld (Steel)",null,"Pipe Manufacturer Description (Poly or PVC) *10"]
["Factory Fillet Weld (Steel)",null,"Poly Pipe"]
["Field Butt Weld (Steel)",null,"Poly Pipe Inc."]
["Field Fillet Weld (Steel)",null,"CSR Polypipe"]
["Threaded",null,"Rinker"]
["Mechanical Joint",null,"Performance Pipe"]
["Bell and Spigot",null,"Plexco"]
["Flange",null,"Driscopipe"]
["Butt Fusion (Plastic)",null,"Quail"]
["Socket Fusion (Plastic)",null,"Uponorr"]
["Saddle Fusion (Plastic)",null,"Nipak"]
["Electrofusion (Plastic)",null,"Other Manufacture, not listed or unknown"]
["Sidewall Fusion (Plastic)"]
["NA",null,"ASTM Description (Poly or PVC) *11"]
["Other",null,"Polyamide PA 32312"]
[null,null,"Polybutylene PB 2110"]
["Fitting Type Code Description *9",null,"Polyethylene PE 2306"]
["Mechanical Service Tee",null,"Polyethylene PE 2406"]
["Heat Fusion Service Tee",null,"Polyethylene PE 3406"]
["Electrofusion Service Tee",null,"Polyethylene PE 3408"]
["Welded Service Tee",null,"Polyvinyl Chloride PVC 1120"]
["Saddle Fitting",null,"Polyvinyl Chloride PVC 1220"]
["Service Tee Cap",null,"Polyvinyl Chloride PVC 2110"]
["Anodeless Meter Riser",null,"Polyvinyl Chloride PVC 2116"]
["Threadolets/Weldolets/Sockolets",null,"Acrylonitrile Butadiene Styrene ABS 1210"]
["Plugs/Caps",null,"Cellulose Acetate Butyrate CAB MH08"]
["Elbow",null,"Cellulose Acetate Butyrate CAB S004"]
["Nipple",null,"Reinforced Eposy Resin RTRP"]
["Tee",null,"Other Material Designation"]
["Diaphragm"]
["Other Meter Riser",null,"Leak Repair Method Description"]
["Transition Fitting",null,"Clamp Installed"]
["Split Sleeve",null,"Split Sleeve"]
["Leak Clamp",null,"Encapsulation"]
["Bell Joint Clamp",null,"Component Replaced"]
["Meter Swivel",null,"Abandoned (Not Replaced)"]
["Union",null,"Pipe Replaced"]
["Insulator",null,"Greasing"]
["Other (pvc collar)",null,"Doped/Caulked"]
[null,null,"Tighten"]
[null,null,"Sealing Bell & Spigot Joint"]
[null,null,"Insertion"]
[]
["Installation Decade"]
["Pre-1940"]
["1940-1949"]
["1950-1959"]
["1960-1969"]
["1970-1979"]
["1980-1989"]
["1990-1999"]
["2000-2009"]
["2010-2019"]
["2020-2029"]

{"sheet":"Drop Down Boxes 2","index":4,"n_rows":586,"n_cols":20,"rows_kept":586,"cut":false,"hidden":true,"merged":[]}
[]
[null,"Amarillo",null,"Beaver",null,"Canadian",null,"Dalhart",null,"Ft Stockton",null,"Pearsall",null,"Seminole",null,"Stratford",null,null,"SYS_NM","AGENCY_ID"]
[null,"3-H Tap",null,"Adams Irrigation Nng","","Airport Extension","","1284 Unit","","Balmorhea","","6G Lower Winter Garden","","Ancell El Paso","","Boise City Tp","","","3-H Tap","110818"]
[null,"Ashtola Rural",null,"Baker North","","Archer Lateral","","297","","Belding Rural","","Batesville Rural Extension","","Ancell Kelly","","Buckles 1","","","Ashtola Rural","110818"]
[null,"Barton #1",null,"Baker Town","","Bailey Payton Lateral","","904 North","","Brogado","","Byrd Lateral","","Ancell Nng","","Buckles 2","","","Barton #1","110207"]
[null,"Barton Gaylor",null,"Balko Irrigation","","Bobby Archer","","904 South","","Coyanosa","","Carrizo Chesapeake","","Bronco","","Buckles 3","","","Barton Gaylor","110207"]
[null,"Bohr Tap",null,"Balko Town","","Buffalo Hills","","Abbe","","Fd Tomato House Lateral","","Chesapeak Lateral","","Denver City","","Cactus #3","","","Bohr Tap","111068"]
[null,"Boozer",null,"Bauer","","Buzzard Lateral","","Becker","","Imperial","","Crawford Lateral","","East Seminole","","Cactus 1&2 Lateral","","","Boozer","110803"]
[null,"Boys Ranch",null,"Beaver Town","","C.G. Dodd Lateral","","Betty Keith","","Lobo Rural Distribution","","Del Monte Lateral","","Flowers","","Cactus Mainline","","","Boys Ranch","110805"]
[null,"Brice Rural",null,"County Line North","","Cabot Airbase","","Bobby Daniels","","Marfa - Presidio Tomato House Lateral","","Devine","","Gomez","","Cimarron #2","","","Brice Rural","110818"]
[null,"Brorman Parker",null,"County Line South","","Canadian","","Brinkman","","North Coyanosa Rural","","East Central","","Higg System","","Company M","","","Brorman Parker","110068"]
[null,"Brugel",null,"Floris Irrigation","","Castanon Ext","","Burkett System","","Saragosa","","Freisenhaun Lateral","","King-Mesa","","Coop Lateral","","","Brugel","110797"]
[null,"Brugel Stanton",null,"Floris Town","","Consolidated (122)","","Caddell System","","South Coyanosa Rural","","Good Lateral","","Kirby West","","Etter Tp 1&2","","","Brugel Stanton","110796"]
[null,"Buffalo Estates",null,"Forgan Town","","Cook Lateral","","Chenney","","Toyahville","","Gulick Lateral","","Lasater","","Feed Lot","","","Buffalo Estates","110851"]
[null,"Claude",null,"Freeman Lateral","","Cornett Lateral","","Clark","","Van Horn","","Highway 90","","Loop","","Felt","","","Claude","110108"]
[null,"Claude Rural #2",null,"Gate Irrigation","","Corse Lateral","","Continental","","Van Horn Supply, 6\"","","I 37 / Burger King","","North Brownfield","","Graham Station","","","Claude Rural #2","110109"]
[null,"Country Club Tap",null,"Gateway Irrigation - Poly","","Course Lateral","","Cover","","Ward County Distribution","","Jungman","","North Denver City","","Kerrick","","","Country Club Tap","110818"]
[null,"Davis Burrow Tap",null,"Gateway Irrigation - Steel","","Darrouzett","","Dumas Fuel Gas","","Wildhorse Rural Distribution","","Keifer","","North Seminole","","Leo Smith","","","Davis Burrow Tap","110818"]
[null,"Duncan Tap",null,"Golf Creek","","Davis Farms/Kenneth Davis","","Dumas Lateral","","6In Son Of A Gun","","Knippa School","","Northwest Wellman","","Miller","","","Duncan Tap","110818"]
[null,"East Irrigation",null,"Herbel Lateral","","Davis Sailor","","East Residue","","Fort Stockton Main Line","","La Vernia","","Savage","","Northeast Irrigation","","","East Irrigation","111068"]
[null,"Falcon Club",null,"Hitch Mills Lateral","","Deeds Lateral","","East Rhem","","Reeves County","","Lapryor","","Seagraves","","Northeast Irrigation","","","Falcon Club","111251"]
[null,"Farwell",null,"Livesay Lateral","","Dudley Haig","","Ellis","","Silica Crane","","Lapryor #1 Laterals","","Smith Tap","","Oslo","","","Farwell","110182"]
[null,"Fields Line",null,"Marston Lateral","","Farnsworth","","Erlis Pittman And Sons","","Unimin","","Lothringer 2","","South Seminole","","Petrified","","","Fields Line","111068"]
[null,"Figure 2 Tap",null,"Moore Lateral","","First Bank & Trust","","Exum","","Van Horn Lateral, 6\"","","Lothringer Lateral","","Southeast Plains","","Sidey","","","Figure 2 Tap","111068"]
[null,"Fowler Mcdaniel",null,"Moshak Lateral","","Follett","","Frische Seaboard","","Wisconsin","","Melon","","Tokio","","Steffins Lateral","","","Fowler Mcdaniel","110188"]
[null,"Frio Draw",null,"Nichols Lateral","","Follett System","","Giesbrecht","","Reeves County Gathering","","Natalia","","United Gin","","Stratford Irrigation","","","Frio Draw","111239"]
[null,"Gable/Houchins",null,"Optima Town","","Frost Arrington","","Hartley Feeders","","","","Natalia Country","","Wellman","","Stratford North","","","Gable/Houchins","960173"]
[null,"Goodnight City",null,"Seaboard Cng Lateral","","Gex Ranch System","","Hartwater","","","","North Knippa","","Wells Tap","","Stratford South","","","Goodnight City","110209"]
[null,"Goodnight Mainline",null,"South Guymon","","Glazier","","Henry Reid","","","","Olmos Lateral","","","","Stratford Tp","","","Goodnight Mainline","110209"]
[null,"Gpm Shockley",null,"Turpin North","","Gossett Lateral","","Holly Sugar","","Junction","","Pace 8","","Shamrock","","Wolford","","","Gpm Shockley","111068"]
[null,"Groom",null,"Turpin South","","Hagg Supply","","Humphreys","","Christoval","","Pepper Lateral","","Allison","","","","","Groom","110213"]
[null,"Groom Mainline",null,"Turpin Town","","Hale Rural","","Jim Meyer","","Eden","","Reagan Lateral","","Briscoe","","","","","Groom Mainline","110455"]
[null,"Groom Mainline - Attebury",null,"Turpin West","","Hebert Extension","","Lakeridge","","Junction","","Runnells & Peterson","","Buffalo Wallow","","Texhoma","","","Groom Mainline - Attebury","110455"]
[null,"Groom Mainline - Britten Looten",null,"Tyrone Town","","Herring Extension","","May Unit","","Menard","","Somerset","","New Mobeetie","","A&M","","","Groom Mainline - Britten Looten","110455"]
[null,"Groom Mainline - Conrad Tap",null,"Webb Lateral","","Higgins","","Mcwilliams","","Paint Rock","","West Uvalde Loop","","Old Mobeetie","","Bergner Lateral","","","Groom Mainline - Conrad Tap","110455"]
[null,"Groom Mainline - Hammers",null,"Wheatgrowers Lateral","","Hodges Truck","","Moore County Irrigation","","Sonora","","Hondo System","","Quail","","Boyd Lateral","","","Groom Mainline - Hammers","110455"]
[null,"Groom Mainline - Lynn Britten",null,"Dewey Good Sand","","Kenneth Davis","","New Way Pork","","Sonora Mainline","","Hwy 90 Transmission","","Reydon","","Brewer System","","","Groom Mainline - Lynn Britten","110455"]
[null,"Groom Mainline - Pool",null,"Blakemore Gathering","","Kenneth Richardson","","Nortex","","Cibilo Transmission","","Luling","","Reydon Rural","","Clemans Lateral","","","Groom Mainline - Pool","110455"]
[null,"Groom Mainline - Smith Ranch",null,"Pemberton Gathering","","Laketon Rural","","North Residue","","Voca Sandplants","","Wtg Tgu Transmission","","Shamrock","","Dry Trails","","","Groom Mainline - Smith Ranch","110455"]
[null,"Groom Mainline - Stephens",null,"","","Miami","","Old Wgi System","","","","Wtg Tgu Gathering","","Wheeler","","Goodwell Tp","","","Groom Mainline - Stephens","110455"]
[null,"Groom Mainline - Weinheimer",null,"Guymon","","Miami Fuel","","Ostrich","","Kermit","","","","Wheeler Main Line","","Haar System","","","Groom Mainline - Weinheimer","110455"]
[null,"Hagy",null,"Wtg Wgi","","Mid America Extension","","Palo Duro","","Kermit","","","","Wheeler Main Line(Ok)","","Johnson Lateral","","","Hagy","110818"]
[null,"Haimes Street System",null,"","","New Holland Extension","","Powell Addition","","Perry Addition","","","","Red River System","","Jones Lateral","","","Haimes Street System","110393"]
[null,"Hall Tap",null,"Hugoton","","Newcomb Lateral","","Powell Farmers Unit","","Winkler County Distribution, 4\"","","","","","","Mussman","","","Hall Tap","110818"]
[null,"Handing Rural",null,"Hugoton Transmission","","North Plains Lateral","","Preall","","Badger","","","","Spearman","","Noble East","","","Handing Rural","110225"]
[null,"Heck",null,"Hugoton Gathering","","Perryton Feeders","","Pringle","","Waddell","","","","Adobe Walls","","Noble West","","","Heck","110852"]
[null,"Heritage Feeders",null,"","","Potter Farms Lateral","","Sagebrush","","Kermit Mainline North","","","","Bb Jarvis","","Nw Irrigation","","","Heritage Feeders","110851"]
[null,"Higgins-Wright",null,"","","Red River Dairy","","Smelter","","","","","","Bernstein","","Ripptoe Lateral","","","Higgins-Wright","110241"]
[null,"Howardwick",null,"","","Reynolds Ranch","","Sooner","","","","","","Billy Boatright","","Scroggins Lateral","","","Howardwick","110818"]
[null,"I-27 West",null,"","","Rki Supply","","Sunray North","","Morton","","","","Buchannan","","Stateline Lateral","","","I-27 West","110994"]
[null,"Ingram #1",null,"","","Ronald Kliewer","","Sunrise","","200 North","","","","Chinook","","Sunset Lateral","","","Ingram #1","110800"]
[null,"Ingram #2",null,"","","Sanders Farm","","Suppes","","200 South","","","","Collier","","Taggart Lateral","","","Ingram #2","110801"]
[null,"Irwin Greenhouse #2",null,"","","Savage Extension","","Texas Beef","","201 (Sierra Vista)","","","","Connelly","","Texas Burnett","","","Irwin Greenhouse #2","111142"]
[null,"Kda",null,"","","Slaughter Extension","","Texline","","203 (Verrado)","","","","Cottonwood","","Texas Hartman","","","Kda","110804"]
[null,"Kenneth Heard",null,"","","Slavin Lateral","","Unit 1 - 22\" South","","204 (Legacy Ranch)","","","","Duke Check Unit","","Texas Hawkins","","","Kenneth Heard","110871"]
[null,"Keown Rural",null,"","","Smith/Dunihoo Lateral","","Unit 1 - Adobe Jackson","","206 (Idalou Gin)","","","","Flintrock Feeders","","Texas Pugh","","","Keown Rural","110818"]
[null,"Kuntz-Wales",null,"","","Sy White","","Unit 1 - Adobe Main","","208 (Cooper Isd)","","","","Groves","","Texas South Ic&Sunray","","","Kuntz-Wales","110276"]
[null,"L&S Feeders",null,"","","Tejas Feeders","","Unit 1 - Becker","","209 (Lubbock Cotton Growers)","","","","Jack Whitson","","Texhoma Gas Users","","","L&S Feeders","110278"]
[null,"Lakeview Gin",null,"","","Terhune Lateral","","Unit 1 - Btj North","","210 (Buster Gin)","","","","Jh Martin","","Texhoma Ok","","","Lakeview Gin","111172"]
[null,"Lance Ollinger",null,"","","Tf 281 Complex","","Unit 1 - Btj South","","213 (South Fork)","","","","Maw","","Texhoma Ok #2/Ob Adams","","","Lance Ollinger","111068"]
[null,"Lark",null,"","","Tf Central Extension","","Unit 1 - Daniels Lateral","","219 (Allen Butler)","","","","Palo Duro Feeders","","Texhoma Texas Tp","","","Lark","110288"]
[null,"Lelia Lake Rural",null,"","","Tf Feedmill Lateral","","Unit 1 - Ensz Check","","300 (Pyco)","","","","Ray Moore #2","","Townsite Lateral","","","Lelia Lake Rural","110818"]
[null,"Lindsey Tap",null,"","","Tf Gilt","","Unit 1 - Field","","4\" South","","","","Rl Mcclellan","","Tx North Sand Farm/Stevens Rd","","","Lindsey Tap","110818"]
[null,"Littlefield",null,"","","Tf Truck Wash","","Unit 1 - Hartley Lateral","","96 (Issacs Gresham)","","","","Rl Porter","","Val Mill","","","Littlefield","110275"]
[null,"Lone Star Dairy",null,"","","Thomas-Miller Extension","","Unit 1 - Hartley Lights","","97 (Arnett Gin)","","","","Robert Novak","","Val Stateline","","","Lone Star Dairy","110851"]
[null,"Lust",null,"","","Waka","","Unit 1 - Keast","","Amarillo Road Calcium Plant","","","","Roscoe Nelson","","Wheat Growers Lateral","","","Lust","110802"]
[null,"M. K. Hardee",null,"","","Walls","","Unit 1 - Kitchens","","Associated Cotton Growers","","","","Roy Nollner","","Wirtz Lateral","","","M. K. Hardee","110275"]
[null,"Mcafee Tap",null,"","","Walnut Creek","","Unit 1 - Ledbetter Check","","Barr Seago","","","","Saltzman","","","","","Mcafee Tap","110818"]
[null,"Memphis Rural",null,"","","Windy Acres","","Unit 1 - Maryday Lateral","","Beedy Nix","","","","Strawn & Miller","","Permian Basin","","","Memphis Rural","110818"]
[null,"Nelson",null,"","","Wynn","","Unit 1 - Metcalf","","Bloys Cates","","","","Turkey Track","","Benedum Transmission, 10\"","","","Nelson","110870"]
[null,"North Master Line",null,"","","Canadian Trans Sys And Off Sys Taps","","Unit 1 - Sublette Check","","Boedeker Jones","","","","Brillhart Transmission, 4, 8\"","","Big Lake","","","North Master Line","111068"]
[null,"Ollinger System",null,"","","","","Unit 1 - Valley Farmers","","Ca Bonds","","","","Brillhart Gathering System","","Silica Dawson","","","Ollinger System","111068"]
[null,"Pmag",null,"","","","","Unit 1 - Valley View","","Clark Tate","","","","Wtg Spearman Gathering","","Snyder Loop Line, 16\"","","","Pmag","110869"]
[null,"Pohnert",null,"","","","","Unit 1 - Warfield Lateral","","Cooper Belt","","","","","","Snyder Main Line, Sales Ranch Lats","","","Pohnert","Amarillo Pending 7"]
[null,"Rafter 3",null,"","","","","Unit 1 - Wilder","","Davis Carthel","","","","","","Valero Residue Sales System","","","Rafter 3","110802"]
[null,"Richardson Seed",null,"","","","","Unit 2 - Coldwater","","Dietrich Gallager","","","","","","Wtggt Snyder, 16\"","","","Richardson Seed","110484"]
[null,"Riley #2",null,"","","","","Unit 2 - Wilcon","","Dodd Gin","","","","","","","","","Riley #2","111164"]
[null,"Ritter/Detton",null,"","","","","Unit 3 - Bean Lateral","","Don Robinson","","","","","","","","","Ritter/Detton","960172"]
[null,"Rockwell Acres",null,"","","","","Unit 3 - Cargil North","","East Locketville","","","","","","","","","Rockwell Acres","110492"]
[null,"Tascosa Feeders",null,"","","","","Unit 3 - Cargil South","","Ebeling","","","","","","","","","Tascosa Feeders","110569"]
[null,"Tony Barbian",null,"","","","","Unit 3 - Colquitt","","Edcott Gin","","","","","","","","","Tony Barbian","110275"]
[null,"Top Of Texas Gin",null,"","","","","Unit 3 - Favor","","Evans","","","","","","","","","Top Of Texas Gin","111167"]
[null,"Tri-State Feeders",null,"","","","","Unit 3 - Field","","Foster Belt","","","","","","","","","Tri-State Feeders","961175"]
[null,"Tule Creek Gin",null,"","","","","Unit 3 - Gallo","","Givens Young","","","","","","","","","Tule Creek Gin","110275"]
[null,"Urbanzick",null,"","","","","Unit 3 - Larsen Middle","","Glen Monroe","","","","","","","","","Urbanzick","111166"]
[null,"Vorheise Tap",null,"","","","","Unit 3 - Larsen South","","Golden Redinger","","","","","","","","","Vorheise Tap","110818"]
[null,"Wade Ritter",null,"","","","","Unit 3 - Latham Lateral","","Hale Center Feedlot","","","","","","","","","Wade Ritter","111068"]
[null,"Wales Partnership",null,"","","","","Unit 3 - Latham North","","Handley Terrell","","","","","","","","","Wales Partnership","110598"]
[null,"Wayside",null,"","","","","Unit 3 - Latham South","","Harrison Jones","","","","","","","","","Wayside","110275"]
[null,"West Dimmitt",null,"","","","","Unit 3 - Newman East","","Harrison Kellison","","","","","","","","","West Dimmitt","111170"]
[null,"West Irrigation",null,"","","","","Unit 3 - North Rhem","","Hillard","","","","","","","","","West Irrigation","111068"]
[null,"Western Estates",null,"","","","","Unit 3 - North Sedan","","Hms","","","","","","","","","Western Estates","110991"]
[null,"White Deer",null,"","","","","Unit 3 - Npo Lateral","","Hooper/Cooper","","","","","","","","","White Deer","110618"]
[null,"White Deer Leg",null,"","","","","Unit 3 - Opliger","","Jackson Aufil","","","","","","","","","White Deer Leg","110620"]
[null,"White Elephant",null,"","","","","Unit 3 - Parker Road","","Jones Jones","","","","","","","","","White Elephant","111068"]
[null,"Winters Rural",null,"","","","","Unit 3 - Perico School","","Kelly Hayes","","","","","","","","","Winters Rural","110630"]
[null,"Wt #1 Hereford Feeders",null,"","","","","Unit 3 - Romero","","Kennedy Lambright","","","","","","","","","Wt #1 Hereford Feeders","110853"]
[null,"Clarendon Main Line, 4\", 6\"'",null,"","","","","Unit 3 - Schmidt","","Kress","","","","","","","","","Adams Irrigation Nng","Beaver 39"]
[null,null,null,"","","","","Unit 3 - South Rhem","","Latimer Shipman","","","","","","","","","Baker North","Beaver 3"]
[null,null,null,"","","","","Unit 3 - West Rhem Industrial","","Leathers","","","","","","","","","Baker Town","Beaver 4"]
[null,null,null,"","","","","Unit 3 - Wharton","","Lockney Coop","","","","","","","","","Balko Irrigation","Bal"]
[null,null,null,"","","","","Vegetable Road","","Mickey Miller #1","","","","","","","","","Balko Town","Bal-Tn"]
[null,null,null,"","","","","West Residue","","Mickey Miller #2","","","","","","","","","Bauer","Beaver 46"]
[null,null,null,"","","","","El Paso 8\" Tie In","","Miller Aston","","","","","","","","","Beaver Town","Beaver City"]
[null,null,null,"","","","","Wtg-Gt Intrastate Transmission System","","Mitchell Ferguson","","","","","","","","","County Line North","Co-Ln-N"]
[null,null,null,"","","","","Wtg Dalhart Transmission","","Moses","","","","","","","","","County Line South","Beaver 6"]
[null,null,null,"","","","","","","New Home","","","","","","","","","Floris Irrigation","Beaver 5"]
[null,null,null,"","","","","","","Northwest Ropesville","","","","","","","","","Floris Town","Beaver 7"]
[null,null,null,"","","","","","","Nutt Dowdy","","","","","","","","","Forgan Town","Forgan"]
[null,null,null,"","","","","","","Phillips King","","","","","","","","","Freeman Lateral","Beaver 8"]
[null,null,null,"","","","","","","Pleasant Valley","","","","","","","","","Gate Irrigation","Beaver 9"]
[null,null,null,"","","","","","","Pointer Fowler","","","","","","","","","Gateway Irrigation - Poly","Beaver 10"]
[null,null,null,"","","","","","","Poor Boy","","","","","","","","","Gateway Irrigation - Steel","Beaver 11"]
[null,null,null,"","","","","","","Potts Hodel","","","","","","","","","Golf Creek","Beaver 12"]
[null,null,null,"","","","","","","Probasco","","","","","","","","","Herbel Lateral","Beaver 42"]
[null,null,null,"","","","","","","Rammage Mathews","","","","","","","","","Hitch Mills Lateral","Optima"]
[null,null,null,"","","","","","","Record","","","","","","","","","Livesay Lateral","Beaver 14"]
[null,null,null,"","","","","","","Roberson Elliott","","","","","","","","","Marston Lateral","Beaver 41"]
[null,null,null,"","","","","","","Roberts","","","","","","","","","Moore Lateral","Beaver 15"]
[null,null,null,"","","","","","","Rucker Noland","","","","","","","","","Moshak Lateral","Beaver 16"]
[null,null,null,"","","","","","","Scarbrough-Boren","","","","","","","","","Nichols Lateral","Beaver 17"]
[null,null,null,"","","","","","","Schacht Mitchell","","","","","","","","","Optima Town","Optima"]
[null,null,null,"","","","","","","Schwerzner Watts","","","","","","","","","Seaboard Cng Lateral","Beaver Pending 1"]
[null,null,null,"","","","","","","Smith Light","","","","","","","","","South Guymon","Beaver 13"]
[null,null,null,"","","","","","","Smoot Jones","","","","","","","","","Turpin North","Beaver 20"]
[null,null,null,"","","","","","","System 15","","","","","","","","","Turpin South","Beaver 21"]
[null,null,null,"","","","","","","System 22","","","","","","","","","Turpin Town","Turpin"]
[null,null,null,"","","","","","","System 26","","","","","","","","","Turpin West","Beaver 22"]
[null,null,null,"","","","","","","System 27","","","","","","","","","Tyrone Town","Tyrone"]
[null,null,null,"","","","","","","System 30","","","","","","","","","Webb Lateral","Beaver 43"]
[null,null,null,"","","","","","","System 35","","","","","","","","","Wheatgrowers Lateral","Beaver 13"]
[null,null,null,"","","","","","","System 49","","","","","","","","","Airport Extension","110224"]
[null,null,null,"","","","","","","System 53","","","","","","","","","Archer Lateral","110224"]
[null,null,null,"","","","","","","System 55","","","","","","","","","Bailey Payton Lateral","966129"]
[null,null,null,"","","","","","","System 6","","","","","","","","","Bobby Archer","110224"]
[null,null,null,"","","","","","","System 63","","","","","","","","","Buffalo Hills","111070"]
[null,null,null,"","","","","","","System 65","","","","","","","","","Buzzard Lateral","110224"]
[null,null,null,"","","","","","","System 93","","","","","","","","","C.G. Dodd Lateral","966007"]
[null,null,null,"","","","","","","System 95","","","","","","","","","Cabot Airbase","110015"]
[null,null,null,"","","","","","","Turner #1","","","","","","","","","Canadian","110085"]
[null,null,null,"","","","","","","Tx Sesame Muleshoe","","","","","","","","","Castanon Ext","110224"]
[null,null,null,"","","","","","","Uil Gunter Line","","","","","","","","","Consolidated (122)","110776"]
[null,null,null,"","","","","","","Wideman","","","","","","","","","Cook Lateral","966129"]
[null,null,null,"","","","","","","Widener Ayers","","","","","","","","","Cornett Lateral","966129"]
[null,null,null,"","","","","","","Widener Kropp","","","","","","","","","Corse Lateral","966007"]
[null,null,null,"","","","","","","Williams Dear","","","","","","","","","Course Lateral","965809"]
[null,null,null,"","","","","","","Wilson Ashburn","","","","","","","","","Darrouzett","110144"]
[null,null,null,"","","","","","","Wilson Schacht","","","","","","","","","Davis Farms/Kenneth Davis","110224"]
[null,null,null,"","","","","","","Garza Transmission, 8\"","","","","","","","","","Davis Sailor","111080"]
[null,null,null,"","","","","","","","","","","","","","","","Deeds Lateral","110224"]
[null,null,null,"","","","","","","","","","","","","","","","Dudley Haig","110224"]
[null,null,null,"","","","","","","","","","","","","","","","Farnsworth","110181"]
[null,null,null,"","","","","","","","","","","","","","","","First Bank & Trust","966266"]
[null,null,null,"","","","","","","","","","","","","","","","Follett","110185"]
[null,null,null,"","","","","","","","","","","","","","","","Follett System","110772"]
[null,null,null,"","","","","","","","","","","","","","","","Frost Arrington","111080"]
[null,null,null,"","","","","","","","","","","","","","","","Gex Ranch System","110772"]
[null,null,null,"","","","","","","","","","","","","","","","Glazier","110205"]
[null,null,null,"","","","","","","","","","","","","","","","Gossett Lateral","110772"]
[null,null,null,"","","","","","","","","","","","","","","","Hagg Supply","110224"]
[null,null,null,"","","","","","","","","","","","","","","","Hale Rural","110224"]
[null,null,null,"","","","","","","","","","","","","","","","Hebert Extension","966129"]
[null,null,null,"","","","","","","","","","","","","","","","Herring Extension","110224"]
[null,null,null,"","","","","","","","","","","","","","","","Higgins","110240"]
[null,null,null,"","","","","","","","","","","","","","","","Hodges Truck","110224"]
[null,null,null,"","","","","","","","","","","","","","","","Kenneth Davis","110224"]
[null,null,null,"","","","","","","","","","","","","","","","Kenneth Richardson","111080"]
[null,null,null,"","","","","","","","","","","","","","","","Laketon Rural","110283"]
[null,null,null,"","","","","","","","","","","","","","","","Miami","110356"]
[null,null,null,"","","","","","","","","","","","","","","","Miami Fuel","110357"]
[null,null,null,"","","","","","","","","","","","","","","","Mid America Extension","110224"]
[null,null,null,"","","","","","","","","","","","","","","","New Holland Extension","110224"]
[null,null,null,"","","","","","","","","","","","","","","","Newcomb Lateral","110224"]
[null,null,null,"","","","","","","","","","","","","","","","North Plains Lateral","110224"]
[null,null,null,"","","","","","","","","","","","","","","","Perryton Feeders","110224"]
[null,null,null,"","","","","","","","","","","","","","","","Potter Farms Lateral","110224"]
[null,null,null,"","","","","","","","","","","","","","","","Red River Dairy","110357"]
[null,null,null,"","","","","","","","","","","","","","","","Reynolds Ranch","110480"]
[null,null,null,"","","","","","","","","","","","","","","","Rki Supply","966129"]
[null,null,null,"","","","","","","","","","","","","","","","Ronald Kliewer","110772"]
[null,null,null,"","","","","","","","","","","","","","","","Sanders Farm","110224"]
[null,null,null,"","","","","","","","","","","","","","","","Savage Extension","110224"]
[null,null,null,"","","","","","","","","","","","","","","","Slaughter Extension","110224"]
[null,null,null,"","","","","","","","","","","","","","","","Slavin Lateral","110772"]
[null,null,null,"","","","","","","","","","","","","","","","Smith/Dunihoo Lateral","110224"]
[null,null,null,"","","","","","","","","","","","","","","","Sy White","110772"]
[null,null,null,"","","","","","","","","","","","","","","","Tejas Feeders","110015"]
[null,null,null,"","","","","","","","","","","","","","","","Terhune Lateral","110224"]
[null,null,null,"","","","","","","","","","","","","","","","Tf 281 Complex","110224"]
[null,null,null,"","","","","","","","","","","","","","","","Tf Central Extension","110224"]
[null,null,null,"","","","","","","","","","","","","","","","Tf Feedmill Lateral","110224"]
[null,null,null,"","","","","","","","","","","","","","","","Tf Gilt","110224"]
[null,null,null,"","","","","","","","","","","","","","","","Tf Truck Wash","110224"]
[null,null,null,"","","","","","","","","","","","","","","","Thomas-Miller Extension","110224"]
[null,null,null,"","","","","","","","","","","","","","","","Waka","110597"]
[null,null,null,"","","","","","","","","","","","","","","","Walls","110357"]
[null,null,null,"","","","","","","","","","","","","","","","Walnut Creek","110752"]
[null,null,null,"","","","","","","","","","","","","","","","Windy Acres","111080"]
[null,null,null,"","","","","","","","","","","","","","","","Wynn","110772"]
[null,null,null,"","","","","","","","","","","","","","","","1284 Unit","960360"]
[null,null,null,"","","","","","","","","","","","","","","","297","111088"]
[null,null,null,"","","","","","","","","","","","","","","","904 North","111088"]
[null,null,null,"","","","","","","","","","","","","","","","904 South","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Abbe","111101"]
[null,null,null,"","","","","","","","","","","","","","","","Becker","111110"]
[null,null,null,"","","","","","","","","","","","","","","","Betty Keith","111110"]
[null,null,null,"","","","","","","","","","","","","","","","Bobby Daniels","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Brinkman","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Burkett System","111110"]
[null,null,null,"","","","","","","","","","","","","","","","Caddell System","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Chenney","111101"]
[null,null,null,"","","","","","","","","","","","","","","","Clark","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Continental","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Cover","111101"]
[null,null,null,"","","","","","","","","","","","","","","","Dumas Fuel Gas","960360"]
[null,null,null,"","","","","","","","","","","","","","","","Dumas Lateral","960360"]
[null,null,null,"","","","","","","","","","","","","","","","East Residue","111110"]
[null,null,null,"","","","","","","","","","","","","","","","East Rhem","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Ellis","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Erlis Pittman And Sons","960360"]
[null,null,null,"","","","","","","","","","","","","","","","Exum","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Frische Seaboard","960360"]
[null,null,null,"","","","","","","","","","","","","","","","Giesbrecht","111101"]
[null,null,null,"","","","","","","","","","","","","","","","Hartley Feeders","111101"]
[null,null,null,"","","","","","","","","","","","","","","","Hartwater","111101"]
[null,null,null,"","","","","","","","","","","","","","","","Henry Reid","111110"]
[null,null,null,"","","","","","","","","","","","","","","","Holly Sugar","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Humphreys","111110"]
[null,null,null,"","","","","","","","","","","","","","","","Jim Meyer","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Lakeridge","111088"]
[null,null,null,"","","","","","","","","","","","","","","","May Unit","111110"]
[null,null,null,"","","","","","","","","","","","","","","","Mcwilliams","111101"]
[null,null,null,"","","","","","","","","","","","","","","","Moore County Irrigation","960360"]
[null,null,null,"","","","","","","","","","","","","","","","New Way Pork","111101"]
[null,null,null,"","","","","","","","","","","","","","","","Nortex","111101"]
[null,null,null,"","","","","","","","","","","","","","","","North Residue","111110"]
[null,null,null,"","","","","","","","","","","","","","","","Old Wgi System","960360"]
[null,null,null,"","","","","","","","","","","","","","","","Ostrich","111101"]
[null,null,null,"","","","","","","","","","","","","","","","Palo Duro","960360"]
[null,null,null,"","","","","","","","","","","","","","","","Powell Addition","111101"]
[null,null,null,"","","","","","","","","","","","","","","","Powell Farmers Unit","960360"]
[null,null,null,"","","","","","","","","","","","","","","","Preall","111110"]
[null,null,null,"","","","","","","","","","","","","","","","Pringle","111110"]
[null,null,null,"","","","","","","","","","","","","","","","Sagebrush","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Smelter","960360"]
[null,null,null,"","","","","","","","","","","","","","","","Sooner","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Sunray North","111110"]
[null,null,null,"","","","","","","","","","","","","","","","Sunrise","111110"]
[null,null,null,"","","","","","","","","","","","","","","","Suppes","111110"]
[null,null,null,"","","","","","","","","","","","","","","","Texas Beef","111110"]
[null,null,null,"","","","","","","","","","","","","","","","Texline","110575"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 1 - 22\" South","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 1 - Adobe Jackson","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 1 - Adobe Main","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 1 - Becker","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 1 - Btj North","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 1 - Btj South","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 1 - Daniels Lateral","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 1 - Ensz Check","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 1 - Field","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 1 - Hartley Lateral","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 1 - Hartley Lights","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 1 - Keast","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 1 - Kitchens","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 1 - Ledbetter Check","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 1 - Maryday Lateral","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 1 - Metcalf","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 1 - Sublette Check","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 1 - Valley Farmers","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 1 - Valley View","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 1 - Warfield Lateral","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 1 - Wilder","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 2 - Coldwater","111101"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 2 - Wilcon","111101"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 3 - Bean Lateral","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 3 - Cargil North","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 3 - Cargil South","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 3 - Colquitt","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 3 - Favor","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 3 - Field","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 3 - Gallo","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 3 - Larsen Middle","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 3 - Larsen South","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 3 - Latham Lateral","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 3 - Latham North","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 3 - Latham South","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 3 - Newman East","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 3 - North Rhem","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 3 - North Sedan","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 3 - Npo Lateral","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 3 - Opliger","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 3 - Parker Road","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 3 - Perico School","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 3 - Romero","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 3 - Schmidt","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 3 - South Rhem","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 3 - West Rhem Industrial","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Unit 3 - Wharton","111088"]
[null,null,null,"","","","","","","","","","","","","","","","Vegetable Road","111088"]
[null,null,null,"","","","","","","","","","","","","","","","West Residue","960360"]
[null,null,null,"","","","","","","","","","","","","","","","Balmorhea","210022"]
[null,null,null,"","","","","","","","","","","","","","","","Belding Rural","210071"]
[null,null,null,"","","","","","","","","","","","","","","","Brogado","210094"]
[null,null,null,"","","","","","","","","","","","","","","","Coyanosa","210127"]
[null,null,null,"","","","","","","","","","","","","","","","Fd Tomato House Lateral","Ft Stockton Pending 2"]
[null,null,null,"","","","","","","","","","","","","","","","Imperial","210327"]
[null,null,null,"","","","","","","","","","","","","","","","Lobo Rural Distribution","210625"]
[null,null,null,"","","","","","","","","","","","","","","","Marfa - Presidio Tomato House Lateral","Ft Stockton Pending 3"]
[null,null,null,"","","","","","","","","","","","","","","","North Coyanosa Rural","210714"]
[null,null,null,"","","","","","","","","","","","","","","","Saragosa","210793"]
[null,null,null,"","","","","","","","","","","","","","","","South Coyanosa Rural","210807"]
[null,null,null,"","","","","","","","","","","","","","","","Toyahville","210871"]
[null,null,null,"","","","","","","","","","","","","","","","Van Horn","210884"]
[null,null,null,"","","","","","","","","","","","","","","","Van Horn Supply, 6\"","211750"]
[null,null,null,"","","","","","","","","","","","","","","","Ward County Distribution","Pending"]
[null,null,null,"","","","","","","","","","","","","","","","Wildhorse Rural Distribution","210926"]
[null,null,null,"","","","","","","","","","","","","","","","Christoval","211087"]
[null,null,null,"","","","","","","","","","","","","","","","Eden","211094"]
[null,null,null,"","","","","","","","","","","","","","","","Junction","211162"]
[null,null,null,"","","","","","","","","","","","","","","","Menard","211161"]
[null,null,null,"","","","","","","","","","","","","","","","Paint Rock","211122"]
[null,null,null,"","","","","","","","","","","","","","","","Sonora","211140"]
[null,null,null,"","","","","","","","","","","","","","","","Kermit","210347"]
[null,null,null,"","","","","","","","","","","","","","","","Perry Addition","963242"]
[null,null,null,"","","","","","","","","","","","","","","","Winkler County Distribution, 4\"","231737"]
[null,null,null,"","","","","","","","","","","","","","","","200 North","960368"]
[null,null,null,"","","","","","","","","","","","","","","","200 South","960368"]
[null,null,null,"","","","","","","","","","","","","","","","201 (Sierra Vista)","960367"]
[null,null,null,"","","","","","","","","","","","","","","","203 (Verrado)","960368"]
[null,null,null,"","","","","","","","","","","","","","","","204 (Legacy Ranch)","960365"]
[null,null,null,"","","","","","","","","","","","","","","","206 (Idalou Gin)","960364"]
[null,null,null,"","","","","","","","","","","","","","","","208 (Cooper Isd)","960363"]
[null,null,null,"","","","","","","","","","","","","","","","209 (Lubbock Cotton Growers)","960362"]
[null,null,null,"","","","","","","","","","","","","","","","210 (Buster Gin)","111131"]
[null,null,null,"","","","","","","","","","","","","","","","213 (South Fork)","963130"]
[null,null,null,"","","","","","","","","","","","","","","","219 (Allen Butler)","963131"]
[null,null,null,"","","","","","","","","","","","","","","","300 (Pyco)","960564"]
[null,null,null,"","","","","","","","","","","","","","","","4\" South","110806"]
[null,null,null,"","","","","","","","","","","","","","","","96 (Issacs Gresham)","110862"]
[null,null,null,"","","","","","","","","","","","","","","","97 (Arnett Gin)","110862"]
[null,null,null,"","","","","","","","","","","","","","","","Amarillo Road Calcium Plant","111004"]
[null,null,null,"","","","","","","","","","","","","","","","Associated Cotton Growers","111004"]
[null,null,null,"","","","","","","","","","","","","","","","Barr Seago","110153"]
[null,null,null,"","","","","","","","","","","","","","","","Beedy Nix","110153"]
[null,null,null,"","","","","","","","","","","","","","","","Bloys Cates","111004"]
[null,null,null,"","","","","","","","","","","","","","","","Boedeker Jones","110153"]
[null,null,null,"","","","","","","","","","","","","","","","Ca Bonds","110275"]
[null,null,null,"","","","","","","","","","","","","","","","Clark Tate","110207"]
[null,null,null,"","","","","","","","","","","","","","","","Cooper Belt","110153"]
[null,null,null,"","","","","","","","","","","","","","","","Davis Carthel","110153"]
[null,null,null,"","","","","","","","","","","","","","","","Dietrich Gallager","110153"]
[null,null,null,"","","","","","","","","","","","","","","","Dodd Gin","961173"]
[null,null,null,"","","","","","","","","","","","","","","","Don Robinson","110275"]
[null,null,null,"","","","","","","","","","","","","","","","East Locketville","110325"]
[null,null,null,"","","","","","","","","","","","","","","","Ebeling","110207"]
[null,null,null,"","","","","","","","","","","","","","","","Edcott Gin","110207"]
[null,null,null,"","","","","","","","","","","","","","","","Evans","110275"]
[null,null,null,"","","","","","","","","","","","","","","","Foster Belt","110497"]
[null,null,null,"","","","","","","","","","","","","","","","Givens Young","110207"]
[null,null,null,"","","","","","","","","","","","","","","","Glen Monroe","110275"]
[null,null,null,"","","","","","","","","","","","","","","","Golden Redinger","110207"]
[null,null,null,"","","","","","","","","","","","","","","","Hale Center Feedlot","Pending"]
[null,null,null,"","","","","","","","","","","","","","","","Handley Terrell","110497"]
[null,null,null,"","","","","","","","","","","","","","","","Harrison Jones","110153"]
[null,null,null,"","","","","","","","","","","","","","","","Harrison Kellison","110497"]
[null,null,null,"","","","","","","","","","","","","","","","Hillard","111004"]
[null,null,null,"","","","","","","","","","","","","","","","Hms","110153"]
[null,null,null,"","","","","","","","","","","","","","","","Hooper/Cooper","110002"]
[null,null,null,"","","","","","","","","","","","","","","","Jackson Aufil","110497"]
[null,null,null,"","","","","","","","","","","","","","","","Jones Jones","110207"]
[null,null,null,"","","","","","","","","","","","","","","","Kelly Hayes","110207"]
[null,null,null,"","","","","","","","","","","","","","","","Kennedy Lambright","110002"]
[null,null,null,"","","","","","","","","","","","","","","","Kress","110275"]
[null,null,null,"","","","","","","","","","","","","","","","Latimer Shipman","111004"]
[null,null,null,"","","","","","","","","","","","","","","","Leathers","110207"]
[null,null,null,"","","","","","","","","","","","","","","","Lockney Coop","110497"]
[null,null,null,"","","","","","","","","","","","","","","","Mickey Miller #1","111004"]
[null,null,null,"","","","","","","","","","","","","","","","Mickey Miller #2","111004"]
[null,null,null,"","","","","","","","","","","","","","","","Miller Aston","110497"]
[null,null,null,"","","","","","","","","","","","","","","","Mitchell Ferguson","110497"]
[null,null,null,"","","","","","","","","","","","","","","","Moses","111004"]
[null,null,null,"","","","","","","","","","","","","","","","New Home","111132"]
[null,null,null,"","","","","","","","","","","","","","","","Northwest Ropesville","110496"]
[null,null,null,"","","","","","","","","","","","","","","","Nutt Dowdy","111004"]
[null,null,null,"","","","","","","","","","","","","","","","Phillips King","110153"]
[null,null,null,"","","","","","","","","","","","","","","","Pleasant Valley","961174"]
[null,null,null,"","","","","","","","","","","","","","","","Pointer Fowler","110207"]
[null,null,null,"","","","","","","","","","","","","","","","Poor Boy","110002"]
[null,null,null,"","","","","","","","","","","","","","","","Potts Hodel","111004"]
[null,null,null,"","","","","","","","","","","","","","","","Probasco","111004"]
[null,null,null,"","","","","","","","","","","","","","","","Rammage Mathews","110207"]
[null,null,null,"","","","","","","","","","","","","","","","Record","110497"]
[null,null,null,"","","","","","","","","","","","","","","","Roberson Elliott","111004"]
[null,null,null,"","","","","","","","","","","","","","","","Roberts","111004"]
[null,null,null,"","","","","","","","","","","","","","","","Rucker Noland","110497"]
[null,null,null,"","","","","","","","","","","","","","","","Scarbrough-Boren","111004"]
[null,null,null,"","","","","","","","","","","","","","","","Schacht Mitchell","110497"]
[null,null,null,"","","","","","","","","","","","","","","","Schwerzner Watts","111004"]
[null,null,null,"","","","","","","","","","","","","","","","Smith Light","110002"]
[null,null,null,"","","","","","","","","","","","","","","","Smoot Jones","110207"]
[null,null,null,"","","","","","","","","","","","","","","","System 15","110648"]
[null,null,null,"","","","","","","","","","","","","","","","System 22","110648"]
[null,null,null,"","","","","","","","","","","","","","","","System 26","110648"]
[null,null,null,"","","","","","","","","","","","","","","","System 27","110648"]
[null,null,null,"","","","","","","","","","","","","","","","System 30","110648"]
[null,null,null,"","","","","","","","","","","","","","","","System 35","110648"]
[null,null,null,"","","","","","","","","","","","","","","","System 49","110675"]
[null,null,null,"","","","","","","","","","","","","","","","System 53","110675"]
[null,null,null,"","","","","","","","","","","","","","","","System 55","110675"]
[null,null,null,"","","","","","","","","","","","","","","","System 6","110648"]
[null,null,null,"","","","","","","","","","","","","","","","System 63","110675"]
[null,null,null,"","","","","","","","","","","","","","","","System 65","110675"]
[null,null,null,"","","","","","","","","","","","","","","","System 93","110688"]
[null,null,null,"","","","","","","","","","","","","","","","System 95","110675"]
[null,null,null,"","","","","","","","","","","","","","","","Turner #1","110002"]
[null,null,null,"","","","","","","","","","","","","","","","Tx Sesame Muleshoe","110002"]
[null,null,null,"","","","","","","","","","","","","","","","Uil Gunter Line","110002"]
[null,null,null,"","","","","","","","","","","","","","","","Wideman","111004"]
[null,null,null,"","","","","","","","","","","","","","","","Widener Ayers","110497"]
[null,null,null,"","","","","","","","","","","","","","","","Widener Kropp","110497"]
[null,null,null,"","","","","","","","","","","","","","","","Williams Dear","110002"]
[null,null,null,"","","","","","","","","","","","","","","","Wilson Ashburn","110497"]
[null,null,null,"","","","","","","","","","","","","","","","Wilson Schacht","110497"]
[null,null,null,"","","","","","","","","","","","","","","","6G Lower Winter Garden","960481"]
[null,null,null,"","","","","","","","","","","","","","","","Batesville Rural Extension","711796"]
[null,null,null,"","","","","","","","","","","","","","","","Byrd Lateral","960482"]
[null,null,null,"","","","","","","","","","","","","","","","Carrizo Chesapeake","964629"]
[null,null,null,"","","","","","","","","","","","","","","","Chesapeak Lateral","964370"]
[null,null,null,"","","","","","","","","","","","","","","","Crawford Lateral","960477"]
[null,null,null,"","","","","","","","","","","","","","","","Del Monte Lateral","960481"]
[null,null,null,"","","","","","","","","","","","","","","","Devine","710231"]
[null,null,null,"","","","","","","","","","","","","","","","East Central","411375"]
[null,null,null,"","","","","","","","","","","","","","","","Freisenhaun Lateral","960986"]
[null,null,null,"","","","","","","","","","","","","","","","Good Lateral","960954"]
[null,null,null,"","","","","","","","","","","","","","","","Gulick Lateral","960480"]
[null,null,null,"","","","","","","","","","","","","","","","Highway 90","411376"]
[null,null,null,"","","","","","","","","","","","","","","","I 37 / Burger King","411374"]
[null,null,null,"","","","","","","","","","","","","","","","Jungman","411373"]
[null,null,null,"","","","","","","","","","","","","","","","Keifer","960950"]
[null,null,null,"","","","","","","","","","","","","","","","Knippa School","712632"]
[null,null,null,"","","","","","","","","","","","","","","","La Vernia","964627"]
[null,null,null,"","","","","","","","","","","","","","","","Lapryor","710495"]
[null,null,null,"","","","","","","","","","","","","","","","Lapryor #1 Laterals","730752"]
[null,null,null,"","","","","","","","","","","","","","","","Lothringer 2","960951"]
[null,null,null,"","","","","","","","","","","","","","","","Lothringer Lateral","964628"]
[null,null,null,"","","","","","","","","","","","","","","","Melon","711906"]
[null,null,null,"","","","","","","","","","","","","","","","Natalia","411372"]
[null,null,null,"","","","","","","","","","","","","","","","Natalia Country","411372"]
[null,null,null,"","","","","","","","","","","","","","","","North Knippa","711797"]
[null,null,null,"","","","","","","","","","","","","","","","Olmos Lateral","960483"]
[null,null,null,"","","","","","","","","","","","","","","","Pace 8","966382"]
[null,null,null,"","","","","","","","","","","","","","","","Pepper Lateral","960479"]
[null,null,null,"","","","","","","","","","","","","","","","Reagan Lateral","960478"]
[null,null,null,"","","","","","","","","","","","","","","","Runnells & Peterson","732294"]
[null,null,null,"","","","","","","","","","","","","","","","Somerset","411170"]
[null,null,null,"","","","","","","","","","","","","","","","West Uvalde Loop","730756"]
[null,null,null,"","","","","","","","","","","","","","","","Ancell El Paso","961099"]
[null,null,null,"","","","","","","","","","","","","","","","Ancell Kelly","961100"]
[null,null,null,"","","","","","","","","","","","","","","","Ancell Nng","961098"]
[null,null,null,"","","","","","","","","","","","","","","","Bronco","110065"]
[null,null,null,"","","","","","","","","","","","","","","","Denver City","961102"]
[null,null,null,"","","","","","","","","","","","","","","","East Seminole","210810"]
[null,null,null,"","","","","","","","","","","","","","","","Flowers","211887"]
[null,null,null,"","","","","","","","","","","","","","","","Gomez","110208"]
[null,null,null,"","","","","","","","","","","","","","","","Higg System","211890"]
[null,null,null,"","","","","","","","","","","","","","","","King-Mesa","211889"]
[null,null,null,"","","","","","","","","","","","","","","","Kirby West","211817"]
[null,null,null,"","","","","","","","","","","","","","","","Lasater","961101"]
[null,null,null,"","","","","","","","","","","","","","","","Loop","961096"]
[null,null,null,"","","","","","","","","","","","","","","","North Brownfield","110384"]
[null,null,null,"","","","","","","","","","","","","","","","North Denver City","110151"]
[null,null,null,"","","","","","","","","","","","","","","","North Seminole","210798"]
[null,null,null,"","","","","","","","","","","","","","","","Northwest Wellman","110611"]
[null,null,null,"","","","","","","","","","","","","","","","Savage","961097"]
[null,null,null,"","","","","","","","","","","","","","","","Seagraves","210973"]
[null,null,null,"","","","","","","","","","","","","","","","Smith Tap","111224"]
[null,null,null,"","","","","","","","","","","","","","","","South Seminole","210810"]
[null,null,null,"","","","","","","","","","","","","","","","Southeast Plains","110438"]
[null,null,null,"","","","","","","","","","","","","","","","Tokio","111130"]
[null,null,null,"","","","","","","","","","","","","","","","United Gin","211888"]
[null,null,null,"","","","","","","","","","","","","","","","Wellman","110610"]
[null,null,null,"","","","","","","","","","","","","","","","Wells Tap","961095"]
[null,null,null,"","","","","","","","","","","","","","","","Allison","110616"]
[null,null,null,"","","","","","","","","","","","","","","","Briscoe","110616"]
[null,null,null,"","","","","","","","","","","","","","","","Buffalo Wallow","Shamrock Pending 1"]
[null,null,null,"","","","","","","","","","","","","","","","New Mobeetie","110362"]
[null,null,null,"","","","","","","","","","","","","","","","Old Mobeetie","110363"]
[null,null,null,"","","","","","","","","","","","","","","","Quail","110459"]
[null,null,null,"","","","","","","","","","","","","","","","Reydon","Shamrock 2"]
[null,null,null,"","","","","","","","","","","","","","","","Reydon Rural","Shamrock 3"]
[null,null,null,"","","","","","","","","","","","","","","","Shamrock","110516"]
[null,null,null,"","","","","","","","","","","","","","","","Wheeler","110616"]
[null,null,null,"","","","","","","","","","","","","","","","Wheeler Main Line(Ok)","Shamrock 2"]
[null,null,null,"","","","","","","","","","","","","","","","Wheeler Main Line","110616"]
[null,null,null,"","","","","","","","","","","","","","","","Adobe Walls","960567"]
[null,null,null,"","","","","","","","","","","","","","","","Bb Jarvis","110744"]
[null,null,null,"","","","","","","","","","","","","","","","Bernstein","110045"]
[null,null,null,"","","","","","","","","","","","","","","","Billy Boatright","110744"]
[null,null,null,"","","","","","","","","","","","","","","","Buchannan","110744"]
[null,null,null,"","","","","","","","","","","","","","","","Chinook","960568"]
[null,null,null,"","","","","","","","","","","","","","","","Collier","110117"]
[null,null,null,"","","","","","","","","","","","","","","","Connelly","110744"]
[null,null,null,"","","","","","","","","","","","","","","","Cottonwood","960360"]
[null,null,null,"","","","","","","","","","","","","","","","Duke Check Unit","110744"]
[null,null,null,"","","","","","","","","","","","","","","","Flintrock Feeders","110728"]
[null,null,null,"","","","","","","","","","","","","","","","Groves","110742"]
[null,null,null,"","","","","","","","","","","","","","","","Jack Whitson","110744"]
[null,null,null,"","","","","","","","","","","","","","","","Jh Martin","110744"]
[null,null,null,"","","","","","","","","","","","","","","","Maw","111076"]
[null,null,null,"","","","","","","","","","","","","","","","Palo Duro Feeders","111078"]
[null,null,null,"","","","","","","","","","","","","","","","Ray Moore #2","110368"]
[null,null,null,"","","","","","","","","","","","","","","","Rl Mcclellan","110744"]
[null,null,null,"","","","","","","","","","","","","","","","Rl Porter","110744"]
[null,null,null,"","","","","","","","","","","","","","","","Robert Novak","110744"]
[null,null,null,"","","","","","","","","","","","","","","","Roscoe Nelson","110750"]
[null,null,null,"","","","","","","","","","","","","","","","Roy Nollner","110744"]
[null,null,null,"","","","","","","","","","","","","","","","Saltzman","110498"]
[null,null,null,"","","","","","","","","","","","","","","","Strawn & Miller","110725"]
[null,null,null,"","","","","","","","","","","","","","","","Turkey Track","110744"]
[null,null,null,"","","","","","","","","","","","","","","","Boise City Tp","Stratford 1"]
[null,null,null,"","","","","","","","","","","","","","","","Buckles 1","110709"]
[null,null,null,"","","","","","","","","","","","","","","","Buckles 2","110710"]
[null,null,null,"","","","","","","","","","","","","","","","Buckles 3","960044"]
[null,null,null,"","","","","","","","","","","","","","","","Cactus #3","110081"]
[null,null,null,"","","","","","","","","","","","","","","","Cactus 1&2 Lateral","110081"]
[null,null,null,"","","","","","","","","","","","","","","","Cactus Mainline","110558"]
[null,null,null,"","","","","","","","","","","","","","","","Cimarron #2","Stratford 2"]
[null,null,null,"","","","","","","","","","","","","","","","Company M","Stratford 3"]
[null,null,null,"","","","","","","","","","","","","","","","Coop Lateral","Stratford 4"]
[null,null,null,"","","","","","","","","","","","","","","","Etter Tp 1&2","110176"]
[null,null,null,"","","","","","","","","","","","","","","","Feed Lot","Stratford 5"]
[null,null,null,"","","","","","","","","","","","","","","","Felt","Stratford 6"]
[null,null,null,"","","","","","","","","","","","","","","","Graham Station","Stratford 10"]
[null,null,null,"","","","","","","","","","","","","","","","Kerrick","110258"]
[null,null,null,"","","","","","","","","","","","","","","","Leo Smith","110704"]
[null,null,null,"","","","","","","","","","","","","","","","Miller","111083"]
[null,null,null,"","","","","","","","","","","","","","","","Northeast Irrigation","Stratford 8"]
[null,null,null,"","","","","","","","","","","","","","","","Northeast Irrigation","Stratford 7"]
[null,null,null,"","","","","","","","","","","","","","","","Oslo","111106"]
[null,null,null,"","","","","","","","","","","","","","","","Petrified","Stratford 11"]
[null,null,null,"","","","","","","","","","","","","","","","Sidey","110707"]
[null,null,null,"","","","","","","","","","","","","","","","Steffins Lateral","110703"]
[null,null,null,"","","","","","","","","","","","","","","","Stratford Irrigation","110715"]
[null,null,null,"","","","","","","","","","","","","","","","Stratford North","111083"]
[null,null,null,"","","","","","","","","","","","","","","","Stratford South","960043"]
[null,null,null,"","","","","","","","","","","","","","","","Stratford Tp","110545"]
[null,null,null,"","","","","","","","","","","","","","","","Wolford","110711"]
[null,null,null,"","","","","","","","","","","","","","","","A&M","Texhoma 3"]
[null,null,null,"","","","","","","","","","","","","","","","Bergner Lateral","Texhoma 1"]
[null,null,null,"","","","","","","","","","","","","","","","Boyd Lateral","Texhoma 26"]
[null,null,null,"","","","","","","","","","","","","","","","Brewer System","Texhoma 2"]
[null,null,null,"","","","","","","","","","","","","","","","Clemans Lateral","Texhoma 27"]
[null,null,null,"","","","","","","","","","","","","","","","Dry Trails","Texhoma 28"]
[null,null,null,"","","","","","","","","","","","","","","","Goodwell Tp","Texhoma 4"]
[null,null,null,"","","","","","","","","","","","","","","","Haar System","Texhoma 5"]
[null,null,null,"","","","","","","","","","","","","","","","Johnson Lateral","Texhoma 5"]
[null,null,null,"","","","","","","","","","","","","","","","Jones Lateral","Texhoma 6"]
[null,null,null,"","","","","","","","","","","","","","","","Mussman","Texhoma 7"]
[null,null,null,"","","","","","","","","","","","","","","","Noble East","Texhoma 8"]
[null,null,null,"","","","","","","","","","","","","","","","Noble West","Texhoma 8"]
[null,null,null,"","","","","","","","","","","","","","","","Nw Irrigation","Texhoma 9"]
[null,null,null,"","","","","","","","","","","","","","","","Ripptoe Lateral","Texhoma 10"]
[null,null,null,"","","","","","","","","","","","","","","","Scroggins Lateral","Texhoma 11"]
[null,null,null,"","","","","","","","","","","","","","","","Stateline Lateral","Texhoma 12"]
[null,null,null,"","","","","","","","","","","","","","","","Sunset Lateral","Texhoma 19"]
[null,null,null,"","","","","","","","","","","","","","","","Taggart Lateral","Texhoma 13"]
[null,null,null,"","","","","","","","","","","","","","","","Texas Burnett","110571"]
[null,null,null,"","","","","","","","","","","","","","","","Texas Hartman","110571"]
[null,null,null,"","","","","","","","","","","","","","","","Texas Hawkins","110571"]
[null,null,null,"","","","","","","","","","","","","","","","Texas Pugh","110571"]
[null,null,null,"","","","","","","","","","","","","","","","Texas South Ic&Sunray","110571"]
[null,null,null,"","","","","","","","","","","","","","","","Texhoma Gas Users","960041"]
[null,null,null,"","","","","","","","","","","","","","","","Texhoma Ok","Texhoma 15"]
[null,null,null,"","","","","","","","","","","","","","","","Texhoma Ok #2/Ob Adams","Texhoma 14"]
[null,null,null,"","","","","","","","","","","","","","","","Texhoma Texas Tp","110574"]
[null,null,null,"","","","","","","","","","","","","","","","Townsite Lateral","Texhoma 17"]
[null,null,null,"","","","","","","","","","","","","","","","Tx North Sand Farm/Stevens Rd","110571"]
[null,null,null,"","","","","","","","","","","","","","","","Val Mill","Texhoma 18"]
[null,null,null,"","","","","","","","","","","","","","","","Val Stateline","960042"]
[null,null,null,"","","","","","","","","","","","","","","","Wheat Growers Lateral","Texhoma 23"]
[null,null,null,"","","","","","","","","","","","","","","","Wirtz Lateral","Texhoma 25"]
[null,null,null,"","","","","","","","","","","","","","","","",""]
[null,null,null,"","","","","","","","","","","","","","","","",""]
[null,null,null,"","","","","","","","","","","","","","","","",""]
[null,null,null,"","","","","","","","","","","","","","","","",""]
[null,null,null,"","","","","","","","","","","","","","","","",""]

{"sheet":"Sheet1","index":5,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":true,"merged":[]}