| When to Use This Form | This form is used to document the pipe-to-soil corrosion control surveys and the testing of any non-critical bonds. |
| --- | --- |
| Reviewed Procedures | P-192.465(a) Conduct Cathodic Protection Surveys P-192.467 Electrical Isolation P-192.469 Corrosion Control Test Stations P-192.483 Cathodic Protection Remediation |
|  | The applicable sections of the above procedure(s) shall be reviewed prior to completing this form. |
| Documentation Procedure | Copy this form and return original to manual. Refer to Corrosion Control Procedures in the O&M Manual to ensure inspections are done correctly. Gather data and complete form as applicable. If corrosion is found or there is a suspected need for remediation, document below and forward this document to the Corrosion Control Engineer for immediate review. Place completed form in file. Retain for the life of the line. |

| District |  | System |  | TRC/CC Unit |  |
| --- | --- | --- | --- | --- | --- |

| CLASS LOCATIONS |  | (Enter 1, 2, 3, or 4) | TEST STATION TYPE |  |
| --- | --- | --- | --- | --- |

| TYPE OF SYSTEM: | TRANSMISSION |  | DISTRIBUTION |  | GATHERING |  |
| --- | --- | --- | --- | --- | --- | --- |

| Test Station | Location | Pipe-To-Soil Readings (-Volts or -mV) |
| --- | --- | --- |
|  |  | P/S Reading | Foreign Reading | Casing Reading | Repaired Reading | Repaired Date ( If Applicable) | AOC Yes / No | Comments |

Inspected By:___________________________________		Date: ______________________________________

| Test Station | Location | Pipe-To-Soil Readings (-Volts or -mV) |
| --- | --- | --- |
|  |  | P/S Reading | Foreign Reading | Casing Reading | Repaired Reading | Repaired Date ( If Applicable) | AOC Yes / No | Comments |

Inspected By:___________________________________		Date: ______________________________________

THIS PAGE LEFT INTENRTIONALLY BLANK