## Project Report
Form WTG-1400
Project Report Form
Revision February 2022
Please send project form and kmz to wtgmapping@westtexasgas.com
Project Name:
PO Number: | [27 empty] | Leak ID # if applicable:
District: | [27 empty] | Date started:
System Name: | [27 empty] | Date completed:
System ID#: | [27 empty] | Class Location:
State: | [27 empty] | County:
Address or nearest intersection:
|  | Distribution | [7 empty] | Transmission | [7 empty] | Gathering | [5 empty] | If Transmission or Gathering, fill out Form F-192.619(MAOP Calculation) and submit to the GIS Mapping Department. MAOP forms for plastic and steel pipe can be found at www.westtexasgas.com.
Service Only
|  | New Construction | [10 empty] | Replacement | [9 empty] | Abandonment
Description:
Personnel who completed project (Full Name):
Mainline Piping Removed or Installed
Definition of Main: Distribution line that serves as a common source of supply for at least one service line
Each Distribution mainline and Transmission line must be installed with the minimum amount of cover as stated in P-192.319
Does the material and size of the mainline piping removed match what is listed in the mapping program?
|  | Yes |  |  |  | No |  |  |  | N/A |  |  | If no, please contact the Mapping Department.
Did you install new mainline piping: | [15 empty] | Yes |  |  |  | No |  |  | If yes, complete the following:
List each mainline segment added separately by size and material:
Pipe Material: | [18 empty] | Nominal Pipe Size: | [17 empty] | Pipe Grade:
Pipe Manufacturer: | [18 empty] | Material Designation Code: | [17 empty] | Pipe Category:
| Type if other Manufacturer | [17 empty] | Roll Number of Pipe: | [17 empty] | Wall Thickness:
Date Manufactured: | [28 empty] | Pressure Test Performed by:
Pressure Test Date: | [18 empty] | Test Pressure: | [17 empty] | Test Pressure Medium:
Outside Temperature: | [18 empty] | Test Duration: | [17 empty] | Pressure Test Pass/Fail:
Tracer Wire Installed: | [10 empty] | Yes |  |  |  | No |  |  |  | Depth of Cover: | [17 empty] | Amount in Feet:
Was pipe segment stored according to P-192.69: | [20 empty] | Yes |  |  | No |  |  | Was pipe segment handled according to P-192.69: | [20 empty] | Yes |  |  | No
Pipe Material: | [18 empty] | Nominal Pipe Size: | [17 empty] | Pipe Grade:
Pipe Manufacturer: | [18 empty] | Material Designation Code: | [17 empty] | Pipe Category:
| Type if other Manufacturer | [17 empty] | Roll Number of Pipe: | [17 empty] | Wall Thickness:
Date Manufactured: | [28 empty] | Pressure Test Performed by:
Pressure Test Date: | [18 empty] | Test Pressure: | [17 empty] | Test Pressure Medium:
Outside Temperature: | [18 empty] | Test Duration: | [17 empty] | Pressure Test Pass/Fail:
Tracer Wire Installed: | [10 empty] | Yes |  |  |  | No |  |  |  | Depth of Cover: | [17 empty] | Amount in Feet:
Was pipe segment stored according to P-192.69: | [20 empty] | Yes |  |  | No |  |  | Was pipe segment handled according to P-192.69: | [20 empty] | Yes |  |  | No
Pipe Material: | [18 empty] | Nominal Pipe Size: | [17 empty] | Pipe Grade:
Pipe Manufacturer: | [18 empty] | Material Designation Code: | [17 empty] | Pipe Category:
| Type if other Manufacturer | [17 empty] | Roll Number of Pipe: | [17 empty] | Wall Thickness:
Date Manufactured: | [28 empty] | Pressure Test Performed by:
Pressure Test Date: | [18 empty] | Test Pressure: | [17 empty] | Test Pressure Medium:
Outside Temperature: | [18 empty] | Test Duration: | [17 empty] | Pressure Test Pass/Fail:
Tracer Wire Installed: | [10 empty] | Yes |  |  |  | No |  |  |  | Depth of Cover: | [17 empty] | Amount in Feet:
Was pipe segment stored according to P-192.69: | [20 empty] | Yes |  |  | No |  |  | Was pipe segment handled according to P-192.69: | [20 empty] | Yes |  |  | No
If you installed more than three mainlines go to Mainline Tab at the bottom, and continue to fill out mainlines installed till completed.
Service Lines Removed or Installed
Definition of Service Line: A distribution line that transports gas from a common source of supply (mainline) to an individual customer or customers.
Did you remove any service lines: | [15 empty] | Yes |  |  |  | No |  |  |  | If yes, complete the following:
List each Service Line that was removed below: (If multiple services removed with same specs, enter once and type # of services) | [46 empty] | (use if multiple services same type and size)
Service Line Material: | [11 empty] | Size: |  |  |  |  | Decade of original installation: | [9 empty] | Amount in feet: | [6 empty] | Size/Type of Riser Removed: | [12 empty] | # of services
Did you add any service lines: | [14 empty] | Yes |  |  |  |  | No |  |  |  | If yes, complete the following:
List each Service Line that was installed below: (If multiple added with same specs, enter once and type # of services)
NOTE: If lat/long of meter is submitted to ASI during install, the EFV lat/long is not required
Service Line Material: | [17 empty] | Nominal Pipe Size: | [20 empty] | Pipe Grade:
Pipe Manufacturer: | [17 empty] | Material Designation Code: | [20 empty] | Pipe Category:
| Type if other Manufacturer | [16 empty] | Roll Number of Pipe: | [20 empty] | Wall Thickness:
Date Manufactured: | [28 empty] | Pressure Test Performed by:
Test Pressure Date: | [17 empty] | Test Pressure: | [17 empty] | Test Pressure Medium:
Outside Temperature: | [17 empty] | Test Duration: | [17 empty] | Pressure Test Pass/Fail:
Depth of Cover: | [17 empty] | Amount in Feet: | [17 empty] | Tracer Wire Installed: | [10 empty] | Yes |  |  |  | No
EFV Installed and Riser Marked: | [13 empty] | Yes |  |  | No |  |  | Size/Type/Height of Riser:
GPS Coordinates of EFV: | [10 empty] | Latitude: | [14 empty] | Longitude: | [15 empty] | # installed
Service Line Material: | [17 empty] | Nominal Pipe Size: | [20 empty] | Pipe Grade:
Pipe Manufacturer: | [17 empty] | Material Designation Code: | [20 empty] | Pipe Category:
| Type if other Manufacturer | [16 empty] | Roll Number of Pipe: | [20 empty] | Wall Thickness:
Date Manufactured: | [28 empty] | Pressure Test Performed by:
Test Pressure Date: | [17 empty] | Test Pressure: | [17 empty] | Test Pressure Medium:
Outside Temperature: | [17 empty] | Test Duration: | [17 empty] | Pressure Test Pass/Fail:
Depth of Cover: | [17 empty] | Amount in Feet: | [17 empty] | Tracer Wire Installed: | [10 empty] | Yes |  |  |  | No
EFV Installed and Riser Marked: | [13 empty] | Yes |  |  | No |  |  | Size/Type/Height of Riser:
GPS Coordinates of EFV: | [10 empty] | Latitude: | [14 empty] | Longitude: | [15 empty] | # installed
Service Line Material: | [17 empty] | Nominal Pipe Size: | [20 empty] | Pipe Grade:
Pipe Manufacturer: | [17 empty] | Material Designation Code: | [20 empty] | Pipe Category:
| Type if other Manufacturer | [16 empty] | Roll Number of Pipe: | [20 empty] | Wall Thickness:
Date Manufactured: | [28 empty] | Pressure Test Performed by:
Test Pressure Date: | [17 empty] | Test Pressure: | [17 empty] | Test Pressure Medium:
Outside Temperature: | [17 empty] | Test Duration: | [17 empty] | Pressure Test Pass/Fail:
Depth of Cover: | [17 empty] | Amount in Feet: | [17 empty] | Tracer Wire Installed: | [10 empty] | Yes |  |  |  | No
EFV Installed and Riser Marked: | [13 empty] | Yes |  |  | No |  |  | Size/Type/Height of Riser:
GPS Coordinates of EFV: | [10 empty] | Latitude: | [14 empty] | Longitude: | [15 empty] | # installed
If you added more than three service lines go to Service Tab at the bottom, and continue to fill out services till completed.
Connecting New Pipe To Existing Pipe
Did you make any tie ins to existing pipe: | [17 empty] | Yes |  |  |  | No |  |  |  | If yes, complete the following:
Tie in # 1: |  |  |  |  | Material of exposed pipe: | [21 empty] | Coating Type:
[5 empty] | External pipe condition: | [21 empty] | Pipe to soil readings:
[5 empty] | Internal pipe condition: | [21 empty] | Operating pressure:
[5 empty] | Coating condition: | [21 empty] | Marker ball installed: | [9 empty] | Yes |  |  |  | No |  |  |  | N/A
[5 empty] | Depth of exposed pipe: | [21 empty] | Physical attributes match mapping data: | [15 empty] | Yes |  |  |  | No
[5 empty] | Size of exposed pipe: | [21 empty] | Comments:
[5 empty] | GPS of Tie in: | [5 empty] | Latitude:
Longitude:
Tie in # 2: |  |  |  |  | Material of exposed pipe: | [21 empty] | Coating Type:
[5 empty] | External pipe condition: | [21 empty] | Pipe to soil readings:
[5 empty] | Internal pipe condition: | [21 empty] | Operating pressure:
[5 empty] | Coating condition: | [21 empty] | Marker ball installed: | [9 empty] | Yes |  |  |  | No |  |  |  | N/A
[5 empty] | Depth of exposed pipe: | [21 empty] | Physical attributes match mapping data: | [15 empty] | Yes |  |  |  | No
[5 empty] | Size of exposed pipe: | [21 empty] | Comments:
[5 empty] | GPS of Tie in: | [5 empty] | Latitude:
Longitude:
Tie in # 3: |  |  |  |  | Material of exposed pipe: | [21 empty] | Coating Type:
[5 empty] | External pipe condition: | [21 empty] | Pipe to soil readings:
[5 empty] | Internal pipe condition: | [21 empty] | Operating pressure:
[5 empty] | Coating condition: | [21 empty] | Marker ball installed: | [9 empty] | Yes |  |  |  | No |  |  |  | N/A
[5 empty] | Depth of exposed pipe: | [21 empty] | Physical attributes match mapping data: | [15 empty] | Yes |  |  |  | No
[5 empty] | Size of exposed pipe: | [21 empty] | Comments:
[5 empty] | GPS of Tie in: | [5 empty] | Latitude:
Longitude:
Tie in # 4: |  |  |  |  | Material of exposed pipe: | [21 empty] | Coating Type:
[5 empty] | External pipe condition: | [21 empty] | Pipe to soil readings:
[5 empty] | Internal pipe condition: | [21 empty] | Operating pressure:
[5 empty] | Coating condition: | [21 empty] | Marker ball installed: | [9 empty] | Yes |  |  |  | No |  |  |  | N/A
[5 empty] | Depth of exposed pipe: | [21 empty] | Physical attributes match mapping data: | [15 empty] | Yes |  |  |  | No
[5 empty] | Size of exposed pipe: | [21 empty] | Comments:
[5 empty] | GPS of Tie in: | [5 empty] | Latitude:
Longitude:
Material or Size Changes on Mainline
Are there any pipe material or size changes involved in this leak repair on the Mainline:
Ex: 2" Pvc to 1.25" Pvc
Ex: 2" Pvc to 2" Poly
If so please complete the following: Note: If this happens at the above tie ins then under Latitude just comment Tie-In #1, Tie-In #2, etc.
Change from:
A |  | Material: | [13 empty] | TO Material: | [16 empty] | Tie-In Location:
|  | Size: | [13 empty] | Size: | [15 empty] | GPS: |  |  | Latitude:
Longitude:
B |  | Material: | [13 empty] | TO Material: | [16 empty] | Tie-In Location:
|  | Size: | [13 empty] | Size: | [15 empty] | GPS: |  |  | Latitude:
Longitude:
C |  | Material: | [13 empty] | TO Material: | [16 empty] | Tie-In Location:
|  | Size: | [13 empty] | Size: | [15 empty] | GPS: |  |  | Latitude:
Longitude:
D |  | Material: | [13 empty] | TO Material: | [16 empty] | Tie-In Location:
|  | Size: | [13 empty] | Size: | [15 empty] | GPS: |  |  | Latitude:
Longitude:
E |  | Material: | [13 empty] | TO Material: | [16 empty] | Tie-In Location:
|  | Size: | [13 empty] | Size: | [15 empty] | GPS: |  |  | Latitude:
Longitude:
F |  | Material: | [13 empty] | TO Material: | [16 empty] | Tie-In Location:
|  | Size: | [13 empty] | Size: | [15 empty] | GPS: |  |  | Latitude:
Longitude:
G |  | Material: | [13 empty] | TO Material: | [16 empty] | Tie-In Location:
|  | Size: | [13 empty] | Size: | [15 empty] | GPS: |  |  | Latitude:
Longitude:
H |  | Material: | [13 empty] | TO Material: | [16 empty] | Tie-In Location:
|  | Size: | [13 empty] | Size: | [15 empty] | GPS: |  |  | Latitude:
Longitude:
I |  | Material: | [13 empty] | TO Material: | [16 empty] | Tie-In Location:
|  | Size: | [13 empty] | Size: | [15 empty] | GPS: |  |  | Latitude:
Longitude:
J |  | Material: | [13 empty] | TO Material: | [16 empty] | Tie-In Location:
|  | Size: | [13 empty] | Size: | [15 empty] | GPS: |  |  | Latitude:
Longitude:
Drawing
Please attach a detailed drawing of the finished project: | [23 empty] | Show tie in #'s from the "Tie In Page"
Show material and size changes using the letters from
the "Material or Size Change Page"
NORTH
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | .
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | .
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | .
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | .
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | .
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | .
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | .
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | .
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | .
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | .
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | .
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | .
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | .
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | .
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | .
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | .
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | .
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | .
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | .
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | .
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | .
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | .
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | .
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | .
Place the appropriate abbreviation by each joining process that was used in this project
| SC |  | Solvent Cement | [8 empty] | SWF |  |  | Side Wall Heat Fusion | [10 empty] | SW |  |  | Steel Welding | [11 empty] | D |  | Approved Dresser
| SF |  | Stab Fitting | [8 empty] | EF |  |  | Electrofusion | [10 empty] | T |  |  | Threaded
| BF |  | Butt Heat Fusion | [8 empty] | SHF |  |  | Socket Heat Fusion | [10 empty] | O |  |  | Other…please explain:
Did all material used on this project meet ASTM D 2513 Standard: | [29 empty] | Yes | [9 empty] | No
Material List:
Field Guide
Mainline Pipe Material and Service Line Material will need to be picked from the Material list below:
| Material Choices Are: | [12 empty] | Coated Steel with CP | [10 empty] | Bare Steel with CP | [9 empty] | PVC |  |  |  | Other
[14 empty] | Coated Steel without CP | [10 empty] | Bare Steel without CP | [9 empty] | Poly
| Pipe Manufacturer: | [12 empty] | Poly will be stamped on the pipe itself
Steel can be found on the original paperwork
PVC - If not stamped on the pipe leave blank
| Pipe Grade: | [12 empty] | Poly will be stamped on the pipe itself, SDR 11, SDR 17, etc.
Steel can be found on the original paperwork
PVC will be stamped on the pipe itself, SDR 17, etc.
| Roll Number: | [12 empty] | Poly will be stamped on the pipe itself
Steel - This does not apply
PVC - This does not apply
| Material Designation Code: | [12 empty] | Poly will be stamped on the pipe itself, PE 2406, PE 2408, etc.
Steel - This does not apply
PVC will be stamped on the pipe itself, PVC 1120, etc.
| Pipe Category: | [12 empty] | Poly - This is a three letter code stamped on the pipe itself, CDC, CEE, or CEC
Steel - This does not apply
PVC - This does not apply
| Wall Thickness: | [12 empty] | Poly wall thickness can be found on the list on the next page
Steel can be found on the original paperwork
PVC - If not stamped leave blank
| Year Manufactured: | [12 empty] | Poly will be stamped on the pipe itself
Steel can be found on the original paperwork
PVC - If not stamped leave blank
| Depth of Cover: | [12 empty] | Distribution: | [6 empty] | Minimum of 24 inches of cover
[14 empty] | Transmission: | [6 empty] | Class 1: | [7 empty] | 30 inches
[21 empty] | Class 2, 3, and 4: | [7 empty] | 36 inches
| Note: |  |  |  |  | "Service Line" and "Riser" are NOT considered to be the same thing.
Service line is the line that leaves the mainline and carries gas to the riser.
They can be of the same material, but we need to think of them as two different pipeline features.
| Note: |  |  |  |  | All GPS coordinates need to be in Decimal, Degrees and carry 5 numbers after the decimal.
[8 empty] | Example: | [5 empty] | Latitude: | [5 empty] | 35.4147
[14 empty] | Longitude: | [5 empty] | 101.2942
Poly Pipe Wall Thickness
| Nominal Size | [7 empty] | SDR | [6 empty] | Wall Thickness | [10 empty] | Nominal Size | [7 empty] | SDR | [6 empty] | Wall Thickness
|  | 1 | [6 empty] | 21 | [6 empty] | 0.062 | [11 empty] | 6 | [6 empty] | 32.5 | [6 empty] | 0.204
|  | 1 | [6 empty] | 17 | [6 empty] | 0.077 | [11 empty] | 6 | [6 empty] | 26 | [6 empty] | 0.255
|  | 1 | [6 empty] | 13.5 | [6 empty] | 0.097 | [11 empty] | 6 | [6 empty] | 21 | [6 empty] | 0.316
|  | 1 | [6 empty] | 11 | [6 empty] | 0.119 | [11 empty] | 6 | [6 empty] | 17 | [6 empty] | 0.39
|  | 1 | [6 empty] | 9 | [6 empty] | 0.146 | [11 empty] | 6 | [6 empty] | 3.5 | [6 empty] | 0.491
|  | 1 | [6 empty] | 7.3 | [6 empty] | 0.18 | [11 empty] | 6 | [6 empty] | 11 | [6 empty] | 0.602
[28 empty] | 6 | [6 empty] | 9 | [6 empty] | 0.736
|  | 1.25 | [6 empty] | 21 | [6 empty] | 0.018 | [11 empty] | 6 | [6 empty] | 7.3 | [6 empty] | 0.908
|  | 1.25 | [6 empty] | 17 | [6 empty] | 0.098 | [11 empty] | 6 | [6 empty] | 7 | [6 empty] | 0.946
|  | 1.25 | [6 empty] | 13.5 | [6 empty] | 0.123
|  | 1.25 | [6 empty] | 11 | [6 empty] | 0.151 | [11 empty] | 8 | [6 empty] | 32.5 | [6 empty] | 0.265
|  | 1.25 | [6 empty] | 9 | [6 empty] | 0.184 | [11 empty] | 8 | [6 empty] | 26 | [6 empty] | 0.332
|  | 1.25 | [6 empty] | 7.3 | [6 empty] | 0.227 | [11 empty] | 8 | [6 empty] | 21 | [6 empty] | 0.41
[28 empty] | 8 | [6 empty] | 17 | [6 empty] | 0.508
|  | 1.5 | [6 empty] | 21 | [6 empty] | 0.09 | [11 empty] | 8 | [6 empty] | 3.5 | [6 empty] | 0.639
|  | 1.5 | [6 empty] | 17 | [6 empty] | 0.112 | [11 empty] | 8 | [6 empty] | 11 | [6 empty] | 0.785
|  | 1.5 | [6 empty] | 13.5 | [6 empty] | 0.141 | [11 empty] | 8 | [6 empty] | 9 | [6 empty] | 0.958
|  | 1.5 | [6 empty] | 11 | [6 empty] | 0.173 | [11 empty] | 8 | [6 empty] | 7.3 | [6 empty] | 1.182
|  | 1.5 | [6 empty] | 9 | [6 empty] | 0.211 | [11 empty] | 8 | [6 empty] | 7 | [6 empty] | 1.232
|  | 1.5 | [6 empty] | 7.3 | [6 empty] | 0.26
[28 empty] | 10 | [6 empty] | 32.5 | [6 empty] | 0.331
|  | 2 | [6 empty] | 21 | [6 empty] | 0.113 | [11 empty] | 10 | [6 empty] | 26 | [6 empty] | 0.413
|  | 2 | [6 empty] | 17 | [6 empty] | 0.14 | [11 empty] | 10 | [6 empty] | 21 | [6 empty] | 0.511
|  | 2 | [6 empty] | 13.5 | [6 empty] | 0.176 | [11 empty] | 10 | [6 empty] | 17 | [6 empty] | 0.633
|  | 2 | [6 empty] | 11 | [6 empty] | 0.216 | [11 empty] | 10 | [6 empty] | 3.5 | [6 empty] | 0.797
|  | 2 | [6 empty] | 9 | [6 empty] | 0.264 | [11 empty] | 10 | [6 empty] | 11 | [6 empty] | 0.978
|  | 2 | [6 empty] | 7.3 | [6 empty] | 0.325 | [11 empty] | 10 | [6 empty] | 9 | [6 empty] | 1.194
[28 empty] | 10 | [6 empty] | 7.3 | [6 empty] | 1.473
|  | 3 | [6 empty] | 21 | [6 empty] | 0.167 | [11 empty] | 10 | [6 empty] | 7 | [6 empty] | 1.536
|  | 3 | [6 empty] | 17 | [6 empty] | 0.206
|  | 3 | [6 empty] | 13.5 | [6 empty] | 0.259 | [11 empty] | 12 | [6 empty] | 32.5 | [6 empty] | 0.392
|  | 3 | [6 empty] | 11 | [6 empty] | 0.318 | [11 empty] | 12 | [6 empty] | 26 | [6 empty] | 0.49
|  | 3 | [6 empty] | 9 | [6 empty] | 0.389 | [11 empty] | 12 | [6 empty] | 21 | [6 empty] | 0.608
|  | 3 | [6 empty] | 7.3 | [6 empty] | 0.479 | [11 empty] | 12 | [6 empty] | 17 | [6 empty] | 0.75
|  | 3 | [6 empty] | 7 | [6 empty] | 0.5 | [11 empty] | 12 | [6 empty] | 3.5 | [6 empty] | 0.945
[28 empty] | 12 | [6 empty] | 11 | [6 empty] | 1.16
|  | 4 | [6 empty] | 21 | [6 empty] | 0.214 | [11 empty] | 12 | [6 empty] | 9 | [6 empty] | 1.417
|  | 4 | [6 empty] | 17 | [6 empty] | 0.264 | [11 empty] | 12 | [6 empty] | 7.3 | [6 empty] | 1.747
|  | 4 | [6 empty] | 13.5 | [6 empty] | 0.333 | [11 empty] | 12 | [6 empty] | 7 | [6 empty] | 1.821
|  | 4 | [6 empty] | 11 | [6 empty] | 0.409
|  | 4 | [6 empty] | 9 | [6 empty] | 0.5
|  | 4 | [6 empty] | 7.3 | [6 empty] | 0.616
|  | 4 | [6 empty] | 7 | [6 empty] | 0.643
|  | 5 | [6 empty] | 21 | [6 empty] | 0.265
|  | 5 | [6 empty] | 17 | [6 empty] | 0.328
|  | 5 | [6 empty] | 13.5 | [6 empty] | 0.413
|  | 5 | [6 empty] | 11 | [6 empty] | 0.506
|  | 5 | [6 empty] | 9 | [6 empty] | 0.618
|  | 5 | [6 empty] | 7.3 | [6 empty] | 0.762
|  | 5 | [6 empty] | 7 | [6 empty] | 0.795

## Service Line Replacements
List each Service Line that was removed seperately below:
Decade of original installation:
Service Line Material: |  |  | Size: | [5 empty] | Amount in feet: |  | Size/Type of Riser Removed: |  |  |  | # removed
List each Service Line that was installed seperately below:
Service Line Material: | [5 empty] | Nominal Pipe Size: | [6 empty] | Pipe Grade:
Pipe Manufacturer: | [5 empty] | Material Designation Code: | [6 empty] | Pipe Category:
| Type if other Manufacturer: |  |  |  |  | Roll Number of Pipe: | [6 empty] | Wall Thickness:
Date Manufactured: | [9 empty] | Pressure Test Performed by:
Test Pressure Date: | [5 empty] | Test Pressure: | [5 empty] | Test Pressure Medium:
Outside Temperature: | [5 empty] | Test Duration: | [5 empty] | Pressure Test Pass/Fail:
Depth of Cover: | [5 empty] | Amount in Feet: | [5 empty] | Tracer Wire Installed: |  |  | Yes | No
EFV Installed and Riser Marked: |  |  |  | Yes | No |  | Size/Type/Height of Riser:
GPS Coordinates of EFV: |  | Latitude: | [5 empty] | Longitude: | [5 empty] | # installed
Service Line Material: | [5 empty] | Nominal Pipe Size: | [6 empty] | Pipe Grade:
Pipe Manufacturer: | [5 empty] | Material Designation Code: | [6 empty] | Pipe Category:
| Type if other Manufacturer: |  |  |  |  | Roll Number of Pipe: | [6 empty] | Wall Thickness:
Date Manufactured: | [9 empty] | Pressure Test Performed by:
Test Pressure Date: | [5 empty] | Test Pressure: | [5 empty] | Test Pressure Medium:
Outside Temperature: | [5 empty] | Test Duration: | [5 empty] | Pressure Test Pass/Fail:
Depth of Cover: | [5 empty] | Amount in Feet: | [5 empty] | Tracer Wire Installed: |  |  | Yes | No
EFV Installed and Riser Marked: |  |  |  | Yes | No |  | Size/Type/Height of Riser:
GPS Coordinates of EFV: |  | Latitude: | [5 empty] | Longitude: | [5 empty] | # installed
Service Line Material: | [5 empty] | Nominal Pipe Size: | [6 empty] | Pipe Grade:
Pipe Manufacturer: | [5 empty] | Material Designation Code: | [6 empty] | Pipe Category:
| Type if other Manufacturer: |  |  |  |  | Roll Number of Pipe: | [6 empty] | Wall Thickness:
Date Manufactured: | [9 empty] | Pressure Test Performed by:
Test Pressure Date: | [5 empty] | Test Pressure: | [5 empty] | Test Pressure Medium:
Outside Temperature: | [5 empty] | Test Duration: | [5 empty] | Pressure Test Pass/Fail:
Depth of Cover: | [5 empty] | Amount in Feet: | [5 empty] | Tracer Wire Installed: |  |  | Yes | No
EFV Installed and Riser Marked: |  |  |  | Yes | No |  | Size/Type/Height of Riser:
GPS Coordinates of EFV: |  | Latitude: | [5 empty] | Longitude: | [5 empty] | # installed
Service Line Material: | [5 empty] | Nominal Pipe Size: | [6 empty] | Pipe Grade:
Pipe Manufacturer: | [5 empty] | Material Designation Code: | [6 empty] | Pipe Category:
| Type if other Manufacturer: |  |  |  |  | Roll Number of Pipe: | [6 empty] | Wall Thickness:
Date Manufactured: | [9 empty] | Pressure Test Performed by:
Test Pressure Date: | [5 empty] | Test Pressure: | [5 empty] | Test Pressure Medium:
Outside Temperature: | [5 empty] | Test Duration: | [5 empty] | Pressure Test Pass/Fail:
Depth of Cover: | [5 empty] | Amount in Feet: | [5 empty] | Tracer Wire Installed: |  |  | Yes | No
EFV Installed and Riser Marked: |  |  |  | Yes | No |  | Size/Type/Height of Riser:
GPS Coordinates of EFV: |  | Latitude: | [5 empty] | Longitude: | [5 empty] | # installed
Service Line Material: | [5 empty] | Nominal Pipe Size: | [6 empty] | Pipe Grade:
Pipe Manufacturer: | [5 empty] | Material Designation Code: | [6 empty] | Pipe Category:
| Type if other Manufacturer: |  |  |  |  | Roll Number of Pipe: | [6 empty] | Wall Thickness:
Date Manufactured: | [9 empty] | Pressure Test Performed by:
Test Pressure Date: | [5 empty] | Test Pressure: | [5 empty] | Test Pressure Medium:
Outside Temperature: | [5 empty] | Test Duration: | [5 empty] | Pressure Test Pass/Fail:
Depth of Cover: | [5 empty] | Amount in Feet: | [5 empty] | Tracer Wire Installed: |  |  | Yes | No
EFV Installed and Riser Marked: |  |  |  | Yes | No |  | Size/Type/Height of Riser:
GPS Coordinates of EFV: |  | Latitude: | [5 empty] | Longitude: | [5 empty] | # installed
Service Line Material: | [5 empty] | Nominal Pipe Size: | [6 empty] | Pipe Grade:
Pipe Manufacturer: | [5 empty] | Material Designation Code: | [6 empty] | Pipe Category:
| Type if other Manufacturer: |  |  |  |  | Roll Number of Pipe: | [6 empty] | Wall Thickness:
Date Manufactured: | [9 empty] | Pressure Test Performed by:
Test Pressure Date: | [5 empty] | Test Pressure: | [5 empty] | Test Pressure Medium:
Outside Temperature: | [5 empty] | Test Duration: | [5 empty] | Pressure Test Pass/Fail:
Depth of Cover: | [5 empty] | Amount in Feet: | [5 empty] | Tracer Wire Installed: |  |  | Yes | No
EFV Installed and Riser Marked: |  |  |  | Yes | No |  | Size/Type/Height of Riser:
GPS Coordinates of EFV: |  | Latitude: | [5 empty] | Longitude: | [5 empty] | # installed
Service Line Material: | [5 empty] | Nominal Pipe Size: | [6 empty] | Pipe Grade:
Pipe Manufacturer: | [5 empty] | Material Designation Code: | [6 empty] | Pipe Category:
| Type if other Manufacturer: |  |  |  |  | Roll Number of Pipe: | [6 empty] | Wall Thickness:
Date Manufactured: | [9 empty] | Pressure Test Performed by:
Test Pressure Date: | [5 empty] | Test Pressure: | [5 empty] | Test Pressure Medium:
Outside Temperature: | [5 empty] | Test Duration: | [5 empty] | Pressure Test Pass/Fail:
Depth of Cover: | [5 empty] | Amount in Feet: | [5 empty] | Tracer Wire Installed: |  |  | Yes | No
EFV Installed and Riser Marked: |  |  |  | Yes | No |  | Size/Type/Height of Riser:
GPS Coordinates of EFV: |  | Latitude: | [5 empty] | Longitude: | [5 empty] | # installed
Service Line Material: | [5 empty] | Nominal Pipe Size: | [6 empty] | Pipe Grade:
Pipe Manufacturer: | [5 empty] | Material Designation Code: | [6 empty] | Pipe Category:
| Type if other Manufacturer: |  |  |  |  | Roll Number of Pipe: | [6 empty] | Wall Thickness:
Date Manufactured: | [9 empty] | Pressure Test Performed by:
Test Pressure Date: | [5 empty] | Test Pressure: | [5 empty] | Test Pressure Medium:
Outside Temperature: | [5 empty] | Test Duration: | [5 empty] | Pressure Test Pass/Fail:
Depth of Cover: | [5 empty] | Amount in Feet: | [5 empty] | Tracer Wire Installed: |  |  | Yes | No
EFV Installed and Riser Marked: |  |  |  | Yes | No |  | Size/Type/Height of Riser:
GPS Coordinates of EFV: |  | Latitude: | [5 empty] | Longitude: | [5 empty] | # installed
Service Line Material: | [5 empty] | Nominal Pipe Size: | [6 empty] | Pipe Grade:
Pipe Manufacturer: | [5 empty] | Material Designation Code: | [6 empty] | Pipe Category:
| Type if other Manufacturer: |  |  |  |  | Roll Number of Pipe: | [6 empty] | Wall Thickness:
Date Manufactured: | [9 empty] | Pressure Test Performed by:
Test Pressure Date: | [5 empty] | Test Pressure: | [5 empty] | Test Pressure Medium:
Outside Temperature: | [5 empty] | Test Duration: | [5 empty] | Pressure Test Pass/Fail:
Depth of Cover: | [5 empty] | Amount in Feet: | [5 empty] | Tracer Wire Installed: |  |  | Yes | No
EFV Installed and Riser Marked: |  |  |  | Yes | No |  | Size/Type/Height of Riser:
GPS Coordinates of EFV: |  | Latitude: | [5 empty] | Longitude: | [5 empty] | # installed
Service Line Material: | [5 empty] | Nominal Pipe Size: | [6 empty] | Pipe Grade:
Pipe Manufacturer: | [5 empty] | Material Designation Code: | [6 empty] | Pipe Category:
| Type if other Manufacturer: |  |  |  |  | Roll Number of Pipe: | [6 empty] | Wall Thickness:
Date Manufactured: | [9 empty] | Pressure Test Performed by:
Test Pressure Date: | [5 empty] | Test Pressure: | [5 empty] | Test Pressure Medium:
Outside Temperature: | [5 empty] | Test Duration: | [5 empty] | Pressure Test Pass/Fail:
Depth of Cover: | [5 empty] | Amount in Feet: | [5 empty] | Tracer Wire Installed: |  |  | Yes | No
EFV Installed and Riser Marked: |  |  |  | Yes | No |  | Size/Type/Height of Riser:
GPS Coordinates of EFV: |  | Latitude: | [5 empty] | Longitude: | [5 empty] | # installed
Service Line Material: | [5 empty] | Nominal Pipe Size: | [6 empty] | Pipe Grade:
Pipe Manufacturer: | [5 empty] | Material Designation Code: | [6 empty] | Pipe Category:
| Type if other Manufacturer: |  |  |  |  | Roll Number of Pipe: | [6 empty] | Wall Thickness:
Date Manufactured: | [9 empty] | Pressure Test Performed by:
Test Pressure Date: | [5 empty] | Test Pressure: | [5 empty] | Test Pressure Medium:
Outside Temperature: | [5 empty] | Test Duration: | [5 empty] | Pressure Test Pass/Fail:
Depth of Cover: | [5 empty] | Amount in Feet: | [5 empty] | Tracer Wire Installed: |  |  | Yes | No
EFV Installed and Riser Marked: |  |  |  | Yes | No |  | Size/Type/Height of Riser:
GPS Coordinates of EFV: |  | Latitude: | [5 empty] | Longitude: | [5 empty] | # installed
Service Line Material: | [5 empty] | Nominal Pipe Size: | [6 empty] | Pipe Grade:
Pipe Manufacturer: | [5 empty] | Material Designation Code: | [6 empty] | Pipe Category:
| Type if other Manufacturer: |  |  |  |  | Roll Number of Pipe: | [6 empty] | Wall Thickness:
Date Manufactured: | [9 empty] | Pressure Test Performed by:
Test Pressure Date: | [5 empty] | Test Pressure: | [5 empty] | Test Pressure Medium:
Outside Temperature: | [5 empty] | Test Duration: | [5 empty] | Pressure Test Pass/Fail:
Depth of Cover: | [5 empty] | Amount in Feet: | [5 empty] | Tracer Wire Installed: |  |  | Yes | No
EFV Installed and Riser Marked: |  |  |  | Yes | No |  | Size/Type/Height of Riser:
GPS Coordinates of EFV: |  | Latitude: | [5 empty] | Longitude: | [5 empty] | # installed
Service Line Material: | [5 empty] | Nominal Pipe Size: | [6 empty] | Pipe Grade:
Pipe Manufacturer: | [5 empty] | Material Designation Code: | [6 empty] | Pipe Category:
| Type if other Manufacturer: |  |  |  |  | Roll Number of Pipe: | [6 empty] | Wall Thickness:
Date Manufactured: | [9 empty] | Pressure Test Performed by:
Test Pressure Date: | [5 empty] | Test Pressure: | [5 empty] | Test Pressure Medium:
Outside Temperature: | [5 empty] | Test Duration: | [5 empty] | Pressure Test Pass/Fail:
Depth of Cover: | [5 empty] | Amount in Feet: | [5 empty] | Tracer Wire Installed: |  |  | Yes | No
EFV Installed and Riser Marked: |  |  |  | Yes | No |  | Size/Type/Height of Riser:
GPS Coordinates of EFV: |  | Latitude: | [5 empty] | Longitude: | [5 empty] | # installed
Service Line Material: | [5 empty] | Nominal Pipe Size: | [6 empty] | Pipe Grade:
Pipe Manufacturer: | [5 empty] | Material Designation Code: | [6 empty] | Pipe Category:
| Type if other Manufacturer: |  |  |  |  | Roll Number of Pipe: | [6 empty] | Wall Thickness:
Date Manufactured: | [9 empty] | Pressure Test Performed by:
Test Pressure Date: | [5 empty] | Test Pressure: | [5 empty] | Test Pressure Medium:
Outside Temperature: | [5 empty] | Test Duration: | [5 empty] | Pressure Test Pass/Fail:
Depth of Cover: | [5 empty] | Amount in Feet: | [5 empty] | Tracer Wire Installed: |  |  | Yes | No
EFV Installed and Riser Marked: |  |  |  | Yes | No |  | Size/Type/Height of Riser:
GPS Coordinates of EFV: |  | Latitude: | [5 empty] | Longitude: | [5 empty] | # installed
Service Line Material: | [5 empty] | Nominal Pipe Size: | [6 empty] | Pipe Grade:
Pipe Manufacturer: | [5 empty] | Material Designation Code: | [6 empty] | Pipe Category:
| Type if other Manufacturer: |  |  |  |  | Roll Number of Pipe: | [6 empty] | Wall Thickness:
Date Manufactured: | [9 empty] | Pressure Test Performed by:
Test Pressure Date: | [5 empty] | Test Pressure: | [5 empty] | Test Pressure Medium:
Outside Temperature: | [5 empty] | Test Duration: | [5 empty] | Pressure Test Pass/Fail:
Depth of Cover: | [5 empty] | Amount in Feet: | [5 empty] | Tracer Wire Installed: |  |  | Yes | No
EFV Installed and Riser Marked: |  |  |  | Yes | No |  | Size/Type/Height of Riser:
GPS Coordinates of EFV: |  | Latitude: | [5 empty] | Longitude: | [5 empty] | # installed
Service Line Material: | [5 empty] | Nominal Pipe Size: | [6 empty] | Pipe Grade:
Pipe Manufacturer: | [5 empty] | Material Designation Code: | [6 empty] | Pipe Category:
| Type if other Manufacturer: |  |  |  |  | Roll Number of Pipe: | [6 empty] | Wall Thickness:
Date Manufactured: | [9 empty] | Pressure Test Performed by:
Test Pressure Date: | [5 empty] | Test Pressure: | [5 empty] | Test Pressure Medium:
Outside Temperature: | [5 empty] | Test Duration: | [5 empty] | Pressure Test Pass/Fail:
Depth of Cover: | [5 empty] | Amount in Feet: | [5 empty] | Tracer Wire Installed: |  |  | Yes | No
EFV Installed and Riser Marked: |  |  |  | Yes | No |  | Size/Type/Height of Riser:
GPS Coordinates of EFV: |  | Latitude: | [5 empty] | Longitude: | [5 empty] | # installed
Service Line Material: | [5 empty] | Nominal Pipe Size: | [6 empty] | Pipe Grade:
Pipe Manufacturer: | [5 empty] | Material Designation Code: | [6 empty] | Pipe Category:
| Type if other Manufacturer: |  |  |  |  | Roll Number of Pipe: | [6 empty] | Wall Thickness:
Date Manufactured: | [9 empty] | Pressure Test Performed by:
Test Pressure Date: | [5 empty] | Test Pressure: | [5 empty] | Test Pressure Medium:
Outside Temperature: | [5 empty] | Test Duration: | [5 empty] | Pressure Test Pass/Fail:
Depth of Cover: | [5 empty] | Amount in Feet: | [5 empty] | Tracer Wire Installed: |  |  | Yes | No
EFV Installed and Riser Marked: |  |  |  | Yes | No |  | Size/Type/Height of Riser:
GPS Coordinates of EFV: |  | Latitude: | [5 empty] | Longitude: | [5 empty] | # installed
Service Line Material: | [5 empty] | Nominal Pipe Size: | [6 empty] | Pipe Grade:
Pipe Manufacturer: | [5 empty] | Material Designation Code: | [6 empty] | Pipe Category:
| Type if other Manufacturer: |  |  |  |  | Roll Number of Pipe: | [6 empty] | Wall Thickness:
Date Manufactured: | [9 empty] | Pressure Test Performed by:
Test Pressure Date: | [5 empty] | Test Pressure: | [5 empty] | Test Pressure Medium:
Outside Temperature: | [5 empty] | Test Duration: | [5 empty] | Pressure Test Pass/Fail:
Depth of Cover: | [5 empty] | Amount in Feet: | [5 empty] | Tracer Wire Installed: |  |  | Yes | No
EFV Installed and Riser Marked: |  |  |  | Yes | No |  | Size/Type/Height of Riser:
GPS Coordinates of EFV: |  | Latitude: | [5 empty] | Longitude: | [5 empty] | # installed
Service Line Material: | [5 empty] | Nominal Pipe Size: | [6 empty] | Pipe Grade:
Pipe Manufacturer: | [5 empty] | Material Designation Code: | [6 empty] | Pipe Category:
| Type if other Manufacturer: |  |  |  |  | Roll Number of Pipe: | [6 empty] | Wall Thickness:
Date Manufactured: | [9 empty] | Pressure Test Performed by:
Test Pressure Date: | [5 empty] | Test Pressure: | [5 empty] | Test Pressure Medium:
Outside Temperature: | [5 empty] | Test Duration: | [5 empty] | Pressure Test Pass/Fail:
Depth of Cover: | [5 empty] | Amount in Feet: | [5 empty] | Tracer Wire Installed: |  |  | Yes | No
EFV Installed and Riser Marked: |  |  |  | Yes | No |  | Size/Type/Height of Riser:
GPS Coordinates of EFV: |  | Latitude: | [5 empty] | Longitude: | [5 empty] | # installed
Service Line Material: | [5 empty] | Nominal Pipe Size: | [6 empty] | Pipe Grade:
Pipe Manufacturer: | [5 empty] | Material Designation Code: | [6 empty] | Pipe Category:
| Type if other Manufacturer: |  |  |  |  | Roll Number of Pipe: | [6 empty] | Wall Thickness:
Date Manufactured: | [9 empty] | Pressure Test Performed by:
Test Pressure Date: | [5 empty] | Test Pressure: | [5 empty] | Test Pressure Medium:
Outside Temperature: | [5 empty] | Test Duration: | [5 empty] | Pressure Test Pass/Fail:
Depth of Cover: | [5 empty] | Amount in Feet: | [5 empty] | Tracer Wire Installed: |  |  | Yes | No
EFV Installed and Riser Marked: |  |  |  | Yes | No |  | Size/Type/Height of Riser:
GPS Coordinates of EFV: |  | Latitude: | [5 empty] | Longitude: | [5 empty] | # installed

## Mainline Installations
Pipe Material: |  |  |  | Nominal Pipe Size: |  |  |  |  | Pipe Grade:
Pipe Manufacturer: |  |  |  | Material Designation Code: |  |  |  |  | Pipe Category:
| Type if other Manufacturer: |  |  | Roll Number of Pipe: |  |  |  |  | Wall Thickness:
Date Manufactured: | [7 empty] | Pressure Test Performed by:
Pressure Test Date: |  |  |  | Test Pressure: |  |  |  |  | Test Pressure Medium:
Outside Temperature: |  |  |  | Test Duration: |  |  |  |  | Pressure Test Pass/Fail:
Tracer Wire Installed: |  | Yes | No | Depth of Cover: |  |  |  |  | Amount in Feet:
Was pipe segment stored according to P-192.69: |  |  |  |  | Yes | No | Was pipe segment handled according to P-192.69: |  |  | Yes | No
Pipe Material: |  |  |  | Nominal Pipe Size: |  |  |  |  | Pipe Grade:
Pipe Manufacturer: |  |  |  | Material Designation Code: |  |  |  |  | Pipe Category:
| Type if other Manufacturer: |  |  | Roll Number of Pipe: |  |  |  |  | Wall Thickness:
Date Manufactured: | [7 empty] | Pressure Test Performed by:
Pressure Test Date: |  |  |  | Test Pressure: |  |  |  |  | Test Pressure Medium:
Outside Temperature: |  |  |  | Test Duration: |  |  |  |  | Pressure Test Pass/Fail:
Tracer Wire Installed: |  | Yes | No | Depth of Cover: |  |  |  |  | Amount in Feet:
Was pipe segment stored according to P-192.69: |  |  |  |  | Yes | No | Was pipe segment handled according to P-192.69: |  |  | Yes | No
Pipe Material: |  |  |  | Nominal Pipe Size: |  |  |  |  | Pipe Grade:
Pipe Manufacturer: |  |  |  | Material Designation Code: |  |  |  |  | Pipe Category:
| Type if other Manufacturer: |  |  | Roll Number of Pipe: |  |  |  |  | Wall Thickness:
Date Manufactured: | [7 empty] | Pressure Test Performed by:
Pressure Test Date: |  |  |  | Test Pressure: |  |  |  |  | Test Pressure Medium:
Outside Temperature: |  |  |  | Test Duration: |  |  |  |  | Pressure Test Pass/Fail:
Tracer Wire Installed: |  | Yes | No | Depth of Cover: |  |  |  |  | Amount in Feet:
Was pipe segment stored according to P-192.69: |  |  |  |  | Yes | No | Was pipe segment handled according to P-192.69: |  |  | Yes | No
Pipe Material: |  |  |  | Nominal Pipe Size: |  |  |  |  | Pipe Grade:
Pipe Manufacturer: |  |  |  | Material Designation Code: |  |  |  |  | Pipe Category:
| Type if other Manufacturer: |  |  | Roll Number of Pipe: |  |  |  |  | Wall Thickness:
Date Manufactured: | [7 empty] | Pressure Test Performed by:
Pressure Test Date: |  |  |  | Test Pressure: |  |  |  |  | Test Pressure Medium:
Outside Temperature: |  |  |  | Test Duration: |  |  |  |  | Pressure Test Pass/Fail:
Tracer Wire Installed: |  | Yes | No | Depth of Cover: |  |  |  |  | Amount in Feet:
Was pipe segment stored according to P-192.69: |  |  |  |  | Yes | No | Was pipe segment handled according to P-192.69: |  |  | Yes | No
Pipe Material: |  |  |  | Nominal Pipe Size: |  |  |  |  | Pipe Grade:
Pipe Manufacturer: |  |  |  | Material Designation Code: |  |  |  |  | Pipe Category:
| Type if other Manufacturer: |  |  | Roll Number of Pipe: |  |  |  |  | Wall Thickness:
Date Manufactured: | [7 empty] | Pressure Test Performed by:
Pressure Test Date: |  |  |  | Test Pressure: |  |  |  |  | Test Pressure Medium:
Outside Temperature: |  |  |  | Test Duration: |  |  |  |  | Pressure Test Pass/Fail:
Tracer Wire Installed: |  | Yes | No | Depth of Cover: |  |  |  |  | Amount in Feet:
Was pipe segment stored according to P-192.69: |  |  |  |  | Yes | No | Was pipe segment handled according to P-192.69: |  |  | Yes | No
Pipe Material: |  |  |  | Nominal Pipe Size: |  |  |  |  | Pipe Grade:
Pipe Manufacturer: |  |  |  | Material Designation Code: |  |  |  |  | Pipe Category:
| Type if other Manufacturer: |  |  | Roll Number of Pipe: |  |  |  |  | Wall Thickness:
Date Manufactured: | [7 empty] | Pressure Test Performed by:
Pressure Test Date: |  |  |  | Test Pressure: |  |  |  |  | Test Pressure Medium:
Outside Temperature: |  |  |  | Test Duration: |  |  |  |  | Pressure Test Pass/Fail:
Tracer Wire Installed: |  | Yes | No | Depth of Cover: |  |  |  |  | Amount in Feet:
Was pipe segment stored according to P-192.69: |  |  |  |  | Yes | No | Was pipe segment handled according to P-192.69: |  |  | Yes | No
Pipe Material: |  |  |  | Nominal Pipe Size: |  |  |  |  | Pipe Grade:
Pipe Manufacturer: |  |  |  | Material Designation Code: |  |  |  |  | Pipe Category:
| Type if other Manufacturer: |  |  | Roll Number of Pipe: |  |  |  |  | Wall Thickness:
Date Manufactured: | [7 empty] | Pressure Test Performed by:
Pressure Test Date: |  |  |  | Test Pressure: |  |  |  |  | Test Pressure Medium:
Outside Temperature: |  |  |  | Test Duration: |  |  |  |  | Pressure Test Pass/Fail:
Tracer Wire Installed: |  | Yes | No | Depth of Cover: |  |  |  |  | Amount in Feet:
Was pipe segment stored according to P-192.69: |  |  |  |  | Yes | No | Was pipe segment handled according to P-192.69: |  |  | Yes | No

## Select Options (hidden)
Pipe Material | Pipe Size | Pipe Category | Class Locations
Bare Steel w/ CP | .5" | CDC | 1
Bare Steel w/o CP | .75" | CEC | 2
Coated Steel w/ CP | 1" | CEE | 3
Coated Steel w/o CP | 1.25" | CCC | 4
Poly | 1.5" | CDE | Distribution
PVC | 2" | N/A
ABS | 2.5"
Other | 3"
4"
| 5" | Test Pass/Fail
| 6" | Pass
Test Medium | 8" | Fail
Air | 10"
Water | 12"
Nitrogen | 14" | Date Installed
Gas | 16" | Unknown
| 18" | Pre-1940
Service Line Material | 20" | 1940-1949
Coated Steel with CP | 22" | 1950-1959
Poly | 24" | 1960-1969
| 26" | 1970-1979
Service Line Size |  | 1980-1989
0.5" |  | 1990-1999
0.75" |  | 2000-2009
1" | Pipe Condition | 2010-2019
1.25" | Bad | 2020-2029
1.5" | Good
2" | Excellent
3" | Not Viewed
4"
6" |  | District
Amarillo
Service Material Removed | Coating Type | Beaver
Bare Steel w/ CP | Bare | Canadian
Bare Steel w/o CP | Coal Tar | Dalhart
Coated Steel w/ CP | FBE | Ft_Stockton
Coated Steel w/o CP | Tape | Guymon
PVC | N/A | Hugoton
Poly | Other | Junction
ABS |  | Kermit
Other |  | Lubbock
Pearsall
| Company | Permian_Basin
State | West Texas Gas Utilites, LLC | Seminole
Texas | Western Gas Interstate, LLC | Shamrock
Oklahoma | WTG - Hugoton, LP | Spearman
Kansas | WTG Gas Transmission Co, LLC | Stratford
Louisiana | WTG NGL Pipeline Co., LLC | Texhoma
Pipe Material/192.619
Steel
Poly
PVC | coatingcondition
ABS | Good
Fair
Poor
Pipe Grade | N/A
Grade A
Grade B
SDR 9
SDR 11 | Pipe Manufacturer
SDR 17 | AMERICAN
X-42 | AXIS
X-52 | A. O. SMITH
X-60 | BESTEEL
Unknown | BOREFLEX
CENTRAL
CHUNG HUNG
CO-EX
CRESLINE
Year Manuf/Purchase | CSR POLYPIPE
Pre-1940 | DRISCOPIPE
1941 | DRISCOPLEX
1942 | DURALINE
1943 | EAGLE VAC
1944 | EARTHCORE
1945 | ENDOT
1946 | ENERGEX
1947 | EX PIPE
1948 | FAIRFIELD
1949 | GDY
1950 | HUSTEEL CO., LTD.
1951 | HYUNDA HYSCO
1952 | HYUNDAI
1953 | JM EAGLE
1954 | JMC STEEL GROUP
1955 | KISER STEEL
1956 | MDC
1957 | NEXTEEL
1958 | NIPAK
1959 | NSF GAS
1960 | NUMEX
1961 | PERFORMANCE PIPE
1962 | PIPELINE PLASTICS
1963 | PLEXCO
1964 | POLY CAM
1965 | POLYPIPE, INC.
1966 | PRESSUREFLEX
1967 | PROCARSA
1968 | PYTCO
1969 | QUAL
1970 | REPUBLIC
1971 | RINKER
1972 | SEAH
1973 | SILVER LINE
1974 | SURALINE
1975 | TEXAS TUBULAR
1976 | TEXTUBE
1977 | TRIDENT
1978 | TRIDENT STEEL
1979 | UNITED POLY SYSTEM
1980 | UPC
1981 | US POLY
1982 | US STEEL
1983 | UVALO
1984 | WELSPUN CORP
1985 | WL PLASTICS
1986 | WOMBLE
1987 | YELLOW STRIPE
1988 | YOUNGSTON
1989 | OTHER(ADD BELOW)
1990
1991
1992
1993
1994
1995
1996
1997
1998
1999
2000
2001
2002
2003
2004
2005
2006
2007
2008
2009
2010
2011
2012
2013
2014
2015
2016
2017
2018
2019
2020
2021
2022
2023
2024

## Select Options 2 (hidden)
Amarillo | Beaver | Canadian | Dalhart | Ft Stockton | Pearsall | Seminole | Stratford | SYS_NM | AGENCY_ID
3-H TAP | ADAMS IRRIGATION NNG | AIRPORT EXTENSION | 1284 UNIT | BALMORHEA | 6G LOWER WINTER GARDEN | ANCELL EL PASO | BOISE CITY TP | 3-H TAP | 110818
ASHTOLA RURAL | BAKER NORTH | ARCHER LATERAL | 297 | BELDING RURAL | BATESVILLE RURAL EXTENSION | ANCELL KELLY | BUCKLES 1 | ASHTOLA RURAL | 110818
BARTON #1 | BAKER TOWN | BAILEY PAYTON LATERAL | 904 NORTH | BROGADO | BYRD LATERAL | ANCELL NNG | BUCKLES 2 | BARTON #1 | 110207
BARTON GAYLOR | BALKO IRRIGATION | BOBBY ARCHER | 904 SOUTH | COYANOSA | CARRIZO CHESAPEAKE | BRONCO | BUCKLES 3 | BARTON GAYLOR | 110207
BOHR TAP | BALKO TOWN | BUFFALO HILLS | ABBE | FD TOMATO HOUSE LATERAL | CHESAPEAK LATERAL | DENVER CITY | CACTUS #3 | BOHR TAP | 111068
BOOZER | BAUER | BUZZARD LATERAL | BECKER | IMPERIAL | CRAWFORD LATERAL | EAST SEMINOLE | CACTUS 1&2 LATERAL | BOOZER | 110803
BOYS RANCH | BEAVER TOWN | C.G. DODD LATERAL | BETTY KEITH | LOBO RURAL DISTRIBUTION | DEL MONTE LATERAL | FLOWERS | CACTUS MAINLINE | BOYS RANCH | 110805
BRICE RURAL | COUNTY LINE NORTH | CABOT AIRBASE | BOBBY DANIELS | MARFA - PRESIDIO TOMATO HOUSE LATERAL | DEVINE | GOMEZ | CIMARRON #2 | BRICE RURAL | 110818
BRORMAN PARKER | COUNTY LINE SOUTH | CANADIAN | BRINKMAN | NORTH COYANOSA RURAL | EAST CENTRAL | HIGG SYSTEM | COMPANY M | BRORMAN PARKER | 110068
BRUGEL | FLORIS IRRIGATION | CASTANON EXT | BURKETT SYSTEM | SARAGOSA | FREISENHAUN LATERAL | KING-MESA | COOP LATERAL | BRUGEL | 110797
BRUGEL STANTON | FLORIS TOWN | CONSOLIDATED (122) | CADDELL SYSTEM | SOUTH COYANOSA RURAL | GOOD LATERAL | KIRBY WEST | ETTER TP 1&2 | BRUGEL STANTON | 110796
BUFFALO ESTATES | FORGAN TOWN | COOK LATERAL | CHENNEY | TOYAHVILLE | GULICK LATERAL | LASATER | FEED LOT | BUFFALO ESTATES | 110851
CLAUDE | FREEMAN LATERAL | CORNETT LATERAL | CLARK | VAN HORN | HIGHWAY 90 | LOOP | FELT | CLAUDE | 110108
CLAUDE RURAL #2 | GATE IRRIGATION | CORSE LATERAL | CONTINENTAL | VAN HORN SUPPLY, 6" | I 37 / BURGER KING | NORTH BROWNFIELD | GRAHAM STATION | CLAUDE RURAL #2 | 110109
COUNTRY CLUB TAP | GATEWAY IRRIGATION - POLY | COURSE LATERAL | COVER | WARD COUNTY DISTRIBUTION | JUNGMAN | NORTH DENVER CITY | KERRICK | COUNTRY CLUB TAP | 110818
DAVIS BURROW TAP | GATEWAY IRRIGATION - STEEL | DARROUZETT | DUMAS FUEL GAS | WILDHORSE RURAL DISTRIBUTION | KEIFER | NORTH SEMINOLE | LEO SMITH | DAVIS BURROW TAP | 110818
DUNCAN TAP | GOLF CREEK | DAVIS FARMS/KENNETH DAVIS | DUMAS LATERAL | 6IN SON OF A GUN | KNIPPA SCHOOL | NORTHWEST WELLMAN | MILLER | DUNCAN TAP | 110818
EAST IRRIGATION | HERBEL LATERAL | DAVIS SAILOR | EAST RESIDUE | FORT STOCKTON MAIN LINE | LA VERNIA | SAVAGE | NORTHEAST IRRIGATION | EAST IRRIGATION | 111068
FALCON CLUB | HITCH MILLS LATERAL | DEEDS LATERAL | EAST RHEM | REEVES COUNTY | LAPRYOR | SEAGRAVES | NORTHEAST IRRIGATION | FALCON CLUB | 111251
FARWELL | LIVESAY LATERAL | DUDLEY HAIG | ELLIS | SILICA CRANE | LAPRYOR #1 LATERALS | SMITH TAP | OSLO | FARWELL | 110182
FIELDS LINE | MARSTON LATERAL | FARNSWORTH | ERLIS PITTMAN AND SONS | UNIMIN | LOTHRINGER 2 | SOUTH SEMINOLE | PETRIFIED | FIELDS LINE | 111068
FIGURE 2 TAP | MOORE LATERAL | FIRST BANK & TRUST | EXUM | VAN HORN LATERAL, 6" | LOTHRINGER LATERAL | SOUTHEAST PLAINS | SIDEY | FIGURE 2 TAP | 111068
FOWLER MCDANIEL | MOSHAK LATERAL | FOLLETT | FRISCHE SEABOARD | WISCONSIN | MELON | TOKIO | STEFFINS LATERAL | FOWLER MCDANIEL | 110188
FRIO DRAW | NICHOLS LATERAL | FOLLETT SYSTEM | GIESBRECHT | REEVES COUNTY GATHERING | NATALIA | UNITED GIN | STRATFORD IRRIGATION | FRIO DRAW | 111239
GABLE/HOUCHINS | OPTIMA TOWN | FROST ARRINGTON | HARTLEY FEEDERS |  | NATALIA COUNTRY | WELLMAN | STRATFORD NORTH | GABLE/HOUCHINS | 960173
GOODNIGHT CITY | SEABOARD CNG LATERAL | GEX RANCH SYSTEM | HARTWATER |  | NORTH KNIPPA | WELLS TAP | STRATFORD SOUTH | GOODNIGHT CITY | 110209
GOODNIGHT MAINLINE | SOUTH GUYMON | GLAZIER | HENRY REID |  | OLMOS LATERAL |  | STRATFORD TP | GOODNIGHT MAINLINE | 110209
GPM SHOCKLEY | TURPIN NORTH | GOSSETT LATERAL | HOLLY SUGAR | Junction | PACE 8 | Shamrock | WOLFORD | GPM SHOCKLEY | 111068
GROOM | TURPIN SOUTH | HAGG SUPPLY | HUMPHREYS | CHRISTOVAL | PEPPER LATERAL | ALLISON |  | GROOM | 110213
GROOM MAINLINE | TURPIN TOWN | HALE RURAL | JIM MEYER | EDEN | REAGAN LATERAL | BRISCOE |  | GROOM MAINLINE | 110455
GROOM MAINLINE - ATTEBURY | TURPIN WEST | HEBERT EXTENSION | LAKERIDGE | JUNCTION | RUNNELLS & PETERSON | BUFFALO WALLOW | Texhoma | GROOM MAINLINE - ATTEBURY | 110455
GROOM MAINLINE - BRITTEN LOOTEN | TYRONE TOWN | HERRING EXTENSION | MAY UNIT | MENARD | SOMERSET | NEW MOBEETIE | A&M | GROOM MAINLINE - BRITTEN LOOTEN | 110455
GROOM MAINLINE - CONRAD TAP | WEBB LATERAL | HIGGINS | MCWILLIAMS | PAINT ROCK | WEST UVALDE LOOP | OLD MOBEETIE | BERGNER LATERAL | GROOM MAINLINE - CONRAD TAP | 110455
GROOM MAINLINE - HAMMERS | WHEATGROWERS LATERAL | HODGES TRUCK | MOORE COUNTY IRRIGATION | SONORA | HONDO SYSTEM | QUAIL | BOYD LATERAL | GROOM MAINLINE - HAMMERS | 110455
GROOM MAINLINE - LYNN BRITTEN | DEWEY GOOD SAND | KENNETH DAVIS | NEW WAY PORK | SONORA MAINLINE | HWY 90 TRANSMISSION | REYDON | BREWER SYSTEM | GROOM MAINLINE - LYNN BRITTEN | 110455
GROOM MAINLINE - POOL | BLAKEMORE GATHERING | KENNETH RICHARDSON | NORTEX | CIBILO TRANSMISSION | LULING | REYDON RURAL | CLEMANS LATERAL | GROOM MAINLINE - POOL | 110455
GROOM MAINLINE - SMITH RANCH | PEMBERTON GATHERING | LAKETON RURAL | NORTH RESIDUE | VOCA SANDPLANTS | WTG TGU TRANSMISSION | SHAMROCK | DRY TRAILS | GROOM MAINLINE - SMITH RANCH | 110455
GROOM MAINLINE - STEPHENS |  | MIAMI | OLD WGI SYSTEM |  | WTG TGU GATHERING | WHEELER | GOODWELL TP | GROOM MAINLINE - STEPHENS | 110455
GROOM MAINLINE - WEINHEIMER | Guymon | MIAMI FUEL | OSTRICH | Kermit |  | WHEELER MAIN LINE | HAAR SYSTEM | GROOM MAINLINE - WEINHEIMER | 110455
HAGY | WTG WGI | MID AMERICA EXTENSION | PALO DURO | KERMIT |  | WHEELER MAIN LINE(OK) | JOHNSON LATERAL | HAGY | 110818
HAIMES STREET SYSTEM |  | NEW HOLLAND EXTENSION | POWELL ADDITION | PERRY ADDITION |  | RED RIVER SYSTEM | JONES LATERAL | HAIMES STREET SYSTEM | 110393
HALL TAP | Hugoton | NEWCOMB LATERAL | POWELL FARMERS UNIT | WINKLER COUNTY DISTRIBUTION, 4" |  |  | MUSSMAN | HALL TAP | 110818
HANDING RURAL | HUGOTON TRANSMISSION | NORTH PLAINS LATERAL | PREALL | BADGER |  | Spearman | NOBLE EAST | HANDING RURAL | 110225
HECK | HUGOTON GATHERING | PERRYTON FEEDERS | PRINGLE | WADDELL |  | ADOBE WALLS | NOBLE WEST | HECK | 110852
HERITAGE FEEDERS |  | POTTER FARMS LATERAL | SAGEBRUSH | KERMIT MAINLINE NORTH |  | BB JARVIS | NW IRRIGATION | HERITAGE FEEDERS | 110851
HIGGINS-WRIGHT |  | RED RIVER DAIRY | SMELTER |  |  | BERNSTEIN | RIPPTOE LATERAL | HIGGINS-WRIGHT | 110241
HOWARDWICK |  | REYNOLDS RANCH | SOONER |  |  | BILLY BOATRIGHT | SCROGGINS LATERAL | HOWARDWICK | 110818
I-27 WEST |  | RKI SUPPLY | SUNRAY NORTH | Morton |  | BUCHANNAN | STATELINE LATERAL | I-27 WEST | 110994
INGRAM #1 |  | RONALD KLIEWER | SUNRISE | 200 NORTH |  | CHINOOK | SUNSET LATERAL | INGRAM #1 | 110800
INGRAM #2 |  | SANDERS FARM | SUPPES | 200 SOUTH |  | COLLIER | TAGGART LATERAL | INGRAM #2 | 110801
IRWIN GREENHOUSE #2 |  | SAVAGE EXTENSION | TEXAS BEEF | 201 (SIERRA VISTA) |  | CONNELLY | TEXAS BURNETT | IRWIN GREENHOUSE #2 | 111142
KDA |  | SLAUGHTER EXTENSION | TEXLINE | 203 (VERRADO) |  | COTTONWOOD | TEXAS HARTMAN | KDA | 110804
KENNETH HEARD |  | SLAVIN LATERAL | UNIT 1 - 22" SOUTH | 204 (LEGACY RANCH) |  | DUKE CHECK UNIT | TEXAS HAWKINS | KENNETH HEARD | 110871
KEOWN RURAL |  | SMITH/DUNIHOO LATERAL | UNIT 1 - ADOBE JACKSON | 206 (IDALOU GIN) |  | FLINTROCK FEEDERS | TEXAS PUGH | KEOWN RURAL | 110818
KUNTZ-WALES |  | SY WHITE | UNIT 1 - ADOBE MAIN | 208 (COOPER ISD) |  | GROVES | TEXAS SOUTH IC&SUNRAY | KUNTZ-WALES | 110276
L&S FEEDERS |  | TEJAS FEEDERS | UNIT 1 - BECKER | 209 (LUBBOCK COTTON GROWERS) |  | JACK WHITSON | TEXHOMA GAS USERS | L&S FEEDERS | 110278
LAKEVIEW GIN |  | TERHUNE LATERAL | UNIT 1 - BTJ NORTH | 210 (BUSTER GIN) |  | JH MARTIN | TEXHOMA OK | LAKEVIEW GIN | 111172
LANCE OLLINGER |  | TF 281 COMPLEX | UNIT 1 - BTJ SOUTH | 213 (SOUTH FORK) |  | MAW | TEXHOMA OK #2/OB ADAMS | LANCE OLLINGER | 111068
LARK |  | TF CENTRAL EXTENSION | UNIT 1 - DANIELS LATERAL | 219 (ALLEN BUTLER) |  | PALO DURO FEEDERS | TEXHOMA TEXAS TP | LARK | 110288
LELIA LAKE RURAL |  | TF FEEDMILL LATERAL | UNIT 1 - ENSZ CHECK | 300 (PYCO) |  | RAY MOORE #2 | TOWNSITE LATERAL | LELIA LAKE RURAL | 110818
LINDSEY TAP |  | TF GILT | UNIT 1 - FIELD | 4" SOUTH |  | RL McCLELLAN | TX NORTH SAND FARM/STEVENS RD | LINDSEY TAP | 110818
LITTLEFIELD |  | TF TRUCK WASH | UNIT 1 - HARTLEY LATERAL | 96 (ISSACS GRESHAM) |  | RL PORTER | VAL MILL | LITTLEFIELD | 110275
LONE STAR DAIRY |  | THOMAS-MILLER EXTENSION | UNIT 1 - HARTLEY LIGHTS | 97 (ARNETT GIN) |  | ROBERT NOVAK | VAL STATELINE | LONE STAR DAIRY | 110851
LUST |  | WAKA | UNIT 1 - KEAST | AMARILLO ROAD CALCIUM PLANT |  | ROSCOE NELSON | WHEAT GROWERS LATERAL | LUST | 110802
M. K. HARDEE |  | WALLS | UNIT 1 - KITCHENS | ASSOCIATED COTTON GROWERS |  | ROY NOLLNER | WIRTZ LATERAL | M. K. HARDEE | 110275
MCAFEE TAP |  | WALNUT CREEK | UNIT 1 - LEDBETTER CHECK | BARR SEAGO |  | SALTZMAN |  | MCAFEE TAP | 110818
MEMPHIS RURAL |  | WINDY ACRES | UNIT 1 - MARYDAY LATERAL | BEEDY NIX |  | STRAWN & MILLER | Permian Basin | MEMPHIS RURAL | 110818
NELSON |  | WYNN | UNIT 1 - METCALF | BLOYS CATES |  | TURKEY TRACK | BENEDUM TRANSMISSION, 10" | NELSON | 110870
NORTH MASTER LINE |  | CANADIAN TRANS SYS AND OFF SYS TAPS | UNIT 1 - SUBLETTE CHECK | BOEDEKER JONES |  | BRILLHART TRANSMISSION, 4, 8" | BIG LAKE | NORTH MASTER LINE | 111068
OLLINGER SYSTEM |  |  | UNIT 1 - VALLEY FARMERS | CA BONDS |  | BRILLHART GATHERING SYSTEM | SILICA DAWSON | OLLINGER SYSTEM | 111068
PMAG |  |  | UNIT 1 - VALLEY VIEW | CLARK TATE |  | WTG SPEARMAN GATHERING | SNYDER LOOP LINE, 16" | PMAG | 110869
POHNERT |  |  | UNIT 1 - WARFIELD LATERAL | COOPER BELT |  |  | SNYDER MAIN LINE, SALES RANCH LATS | POHNERT | AMARILLO PENDING 7
RAFTER 3 |  |  | UNIT 1 - WILDER | DAVIS CARTHEL |  |  | VALERO RESIDUE SALES SYSTEM | RAFTER 3 | 110802
RICHARDSON SEED |  |  | UNIT 2 - COLDWATER | DIETRICH GALLAGER |  |  | WTGGT SNYDER, 16" | RICHARDSON SEED | 110484
RILEY #2 |  |  | UNIT 2 - WILCON | DODD GIN |  |  |  | RILEY #2 | 111164
RITTER/DETTON |  |  | UNIT 3 - BEAN LATERAL | DON ROBINSON |  |  |  | RITTER/DETTON | 960172
ROCKWELL ACRES |  |  | UNIT 3 - CARGIL NORTH | EAST LOCKETVILLE |  |  |  | ROCKWELL ACRES | 110492
TASCOSA FEEDERS |  |  | UNIT 3 - CARGIL SOUTH | EBELING |  |  |  | TASCOSA FEEDERS | 110569
TONY BARBIAN |  |  | UNIT 3 - COLQUITT | EDCOTT GIN |  |  |  | TONY BARBIAN | 110275
TOP OF TEXAS GIN |  |  | UNIT 3 - FAVOR | EVANS |  |  |  | TOP OF TEXAS GIN | 111167
TRI-STATE FEEDERS |  |  | UNIT 3 - FIELD | FOSTER BELT |  |  |  | TRI-STATE FEEDERS | 961175
TULE CREEK GIN |  |  | UNIT 3 - GALLO | GIVENS YOUNG |  |  |  | TULE CREEK GIN | 110275
URBANZICK |  |  | UNIT 3 - LARSEN MIDDLE | GLEN MONROE |  |  |  | URBANZICK | 111166
VORHEISE TAP |  |  | UNIT 3 - LARSEN SOUTH | GOLDEN REDINGER |  |  |  | VORHEISE TAP | 110818
WADE RITTER |  |  | UNIT 3 - LATHAM LATERAL | HALE CENTER FEEDLOT |  |  |  | WADE RITTER | 111068
WALES PARTNERSHIP |  |  | UNIT 3 - LATHAM NORTH | HANDLEY TERRELL |  |  |  | WALES PARTNERSHIP | 110598
WAYSIDE |  |  | UNIT 3 - LATHAM SOUTH | HARRISON JONES |  |  |  | WAYSIDE | 110275
WEST DIMMITT |  |  | UNIT 3 - NEWMAN EAST | HARRISON KELLISON |  |  |  | WEST DIMMITT | 111170
WEST IRRIGATION |  |  | UNIT 3 - NORTH RHEM | HILLARD |  |  |  | WEST IRRIGATION | 111068
WESTERN ESTATES |  |  | UNIT 3 - NORTH SEDAN | HMS |  |  |  | WESTERN ESTATES | 110991
WHITE DEER |  |  | UNIT 3 - NPO LATERAL | HOOPER/COOPER |  |  |  | WHITE DEER | 110618
WHITE DEER LEG |  |  | UNIT 3 - OPLIGER | JACKSON AUFIL |  |  |  | WHITE DEER LEG | 110620
WHITE ELEPHANT |  |  | UNIT 3 - PARKER ROAD | JONES JONES |  |  |  | WHITE ELEPHANT | 111068
WINTERS RURAL |  |  | UNIT 3 - PERICO SCHOOL | KELLY HAYES |  |  |  | WINTERS RURAL | 110630
WT #1 HEREFORD FEEDERS |  |  | UNIT 3 - ROMERO | KENNEDY LAMBRIGHT |  |  |  | WT #1 HEREFORD FEEDERS | 110853
CLARENDON MAIN LINE, 4", 6"' |  |  | UNIT 3 - SCHMIDT | KRESS |  |  |  | ADAMS IRRIGATION NNG | BEAVER 39
|  |  | UNIT 3 - SOUTH RHEM | LATIMER SHIPMAN |  |  |  | BAKER NORTH | BEAVER 3
|  |  | UNIT 3 - WEST RHEM INDUSTRIAL | LEATHERS |  |  |  | BAKER TOWN | BEAVER 4
|  |  | UNIT 3 - WHARTON | LOCKNEY COOP |  |  |  | BALKO IRRIGATION | BAL
|  |  | VEGETABLE ROAD | MICKEY MILLER #1 |  |  |  | BALKO TOWN | BAL-TN
|  |  | WEST RESIDUE | MICKEY MILLER #2 |  |  |  | BAUER | BEAVER 46
|  |  | EL PASO 8" TIE IN | MILLER ASTON |  |  |  | BEAVER TOWN | BEAVER CITY
|  |  | WTG-GT INTRASTATE TRANSMISSION SYSTEM | MITCHELL FERGUSON |  |  |  | COUNTY LINE NORTH | CO-LN-N
|  |  | WTG DALHART TRANSMISSION | MOSES |  |  |  | COUNTY LINE SOUTH | BEAVER 6
|  |  |  | NEW HOME |  |  |  | FLORIS IRRIGATION | BEAVER 5
|  |  |  | NORTHWEST ROPESVILLE |  |  |  | FLORIS TOWN | BEAVER 7
|  |  |  | NUTT DOWDY |  |  |  | FORGAN TOWN | FORGAN
|  |  |  | PHILLIPS KING |  |  |  | FREEMAN LATERAL | BEAVER 8
|  |  |  | PLEASANT VALLEY |  |  |  | GATE IRRIGATION | BEAVER 9
|  |  |  | POINTER FOWLER |  |  |  | GATEWAY IRRIGATION - POLY | BEAVER 10
|  |  |  | POOR BOY |  |  |  | GATEWAY IRRIGATION - STEEL | BEAVER 11
|  |  |  | POTTS HODEL |  |  |  | GOLF CREEK | BEAVER 12
|  |  |  | PROBASCO |  |  |  | HERBEL LATERAL | BEAVER 42
|  |  |  | RAMMAGE MATHEWS |  |  |  | HITCH MILLS LATERAL | OPTIMA
|  |  |  | RECORD |  |  |  | LIVESAY LATERAL | BEAVER 14
|  |  |  | ROBERSON ELLIOTT |  |  |  | MARSTON LATERAL | BEAVER 41
|  |  |  | ROBERTS |  |  |  | MOORE LATERAL | BEAVER 15
|  |  |  | RUCKER NOLAND |  |  |  | MOSHAK LATERAL | BEAVER 16
|  |  |  | SCARBROUGH-BOREN |  |  |  | NICHOLS LATERAL | BEAVER 17
|  |  |  | SCHACHT MITCHELL |  |  |  | OPTIMA TOWN | OPTIMA
|  |  |  | SCHWERZNER WATTS |  |  |  | SEABOARD CNG LATERAL | BEAVER PENDING 1
|  |  |  | SMITH LIGHT |  |  |  | SOUTH GUYMON | BEAVER 13
|  |  |  | SMOOT JONES |  |  |  | TURPIN NORTH | BEAVER 20
|  |  |  | SYSTEM 15 |  |  |  | TURPIN SOUTH | BEAVER 21
|  |  |  | SYSTEM 22 |  |  |  | TURPIN TOWN | TURPIN
|  |  |  | SYSTEM 26 |  |  |  | TURPIN WEST | BEAVER 22
|  |  |  | SYSTEM 27 |  |  |  | TYRONE TOWN | TYRONE
|  |  |  | SYSTEM 30 |  |  |  | WEBB LATERAL | BEAVER 43
|  |  |  | SYSTEM 35 |  |  |  | WHEATGROWERS LATERAL | BEAVER 13
|  |  |  | SYSTEM 49 |  |  |  | AIRPORT EXTENSION | 110224
|  |  |  | SYSTEM 53 |  |  |  | ARCHER LATERAL | 110224
|  |  |  | SYSTEM 55 |  |  |  | BAILEY PAYTON LATERAL | 966129
|  |  |  | SYSTEM 6 |  |  |  | BOBBY ARCHER | 110224
|  |  |  | SYSTEM 63 |  |  |  | BUFFALO HILLS | 111070
|  |  |  | SYSTEM 65 |  |  |  | BUZZARD LATERAL | 110224
|  |  |  | SYSTEM 93 |  |  |  | C.G. DODD LATERAL | 966007
|  |  |  | SYSTEM 95 |  |  |  | CABOT AIRBASE | 110015
|  |  |  | TURNER #1 |  |  |  | CANADIAN | 110085
|  |  |  | TX SESAME MULESHOE |  |  |  | CASTANON EXT | 110224
|  |  |  | UIL GUNTER LINE |  |  |  | CONSOLIDATED (122) | 110776
|  |  |  | WIDEMAN |  |  |  | COOK LATERAL | 966129
|  |  |  | WIDENER AYERS |  |  |  | CORNETT LATERAL | 966129
|  |  |  | WIDENER KROPP |  |  |  | CORSE LATERAL | 966007
|  |  |  | WILLIAMS DEAR |  |  |  | COURSE LATERAL | 965809
|  |  |  | WILSON ASHBURN |  |  |  | DARROUZETT | 110144
|  |  |  | WILSON SCHACHT |  |  |  | DAVIS FARMS/KENNETH DAVIS | 110224
|  |  |  | GARZA TRANSMISSION, 8" |  |  |  | DAVIS SAILOR | 111080
[8 empty] | DEEDS LATERAL | 110224
[8 empty] | DUDLEY HAIG | 110224
[8 empty] | FARNSWORTH | 110181
[8 empty] | FIRST BANK & TRUST | 966266
[8 empty] | FOLLETT | 110185
[8 empty] | FOLLETT SYSTEM | 110772
[8 empty] | FROST ARRINGTON | 111080
[8 empty] | GEX RANCH SYSTEM | 110772
[8 empty] | GLAZIER | 110205
[8 empty] | GOSSETT LATERAL | 110772
[8 empty] | HAGG SUPPLY | 110224
[8 empty] | HALE RURAL | 110224
[8 empty] | HEBERT EXTENSION | 966129
[8 empty] | HERRING EXTENSION | 110224
[8 empty] | HIGGINS | 110240
[8 empty] | HODGES TRUCK | 110224
[8 empty] | KENNETH DAVIS | 110224
[8 empty] | KENNETH RICHARDSON | 111080
[8 empty] | LAKETON RURAL | 110283
[8 empty] | MIAMI | 110356
[8 empty] | MIAMI FUEL | 110357
[8 empty] | MID AMERICA EXTENSION | 110224
[8 empty] | NEW HOLLAND EXTENSION | 110224
[8 empty] | NEWCOMB LATERAL | 110224
[8 empty] | NORTH PLAINS LATERAL | 110224
[8 empty] | PERRYTON FEEDERS | 110224
[8 empty] | POTTER FARMS LATERAL | 110224
[8 empty] | RED RIVER DAIRY | 110357
[8 empty] | REYNOLDS RANCH | 110480
[8 empty] | RKI SUPPLY | 966129
[8 empty] | RONALD KLIEWER | 110772
[8 empty] | SANDERS FARM | 110224
[8 empty] | SAVAGE EXTENSION | 110224
[8 empty] | SLAUGHTER EXTENSION | 110224
[8 empty] | SLAVIN LATERAL | 110772
[8 empty] | SMITH/DUNIHOO LATERAL | 110224
[8 empty] | SY WHITE | 110772
[8 empty] | TEJAS FEEDERS | 110015
[8 empty] | TERHUNE LATERAL | 110224
[8 empty] | TF 281 COMPLEX | 110224
[8 empty] | TF CENTRAL EXTENSION | 110224
[8 empty] | TF FEEDMILL LATERAL | 110224
[8 empty] | TF GILT | 110224
[8 empty] | TF TRUCK WASH | 110224
[8 empty] | THOMAS-MILLER EXTENSION | 110224
[8 empty] | WAKA | 110597
[8 empty] | WALLS | 110357
[8 empty] | WALNUT CREEK | 110752
[8 empty] | WINDY ACRES | 111080
[8 empty] | WYNN | 110772
[8 empty] | 1284 UNIT | 960360
[8 empty] | 297 | 111088
[8 empty] | 904 NORTH | 111088
[8 empty] | 904 SOUTH | 111088
[8 empty] | ABBE | 111101
[8 empty] | BECKER | 111110
[8 empty] | BETTY KEITH | 111110
[8 empty] | BOBBY DANIELS | 111088
[8 empty] | BRINKMAN | 111088
[8 empty] | BURKETT SYSTEM | 111110
[8 empty] | CADDELL SYSTEM | 111088
[8 empty] | CHENNEY | 111101
[8 empty] | CLARK | 111088
[8 empty] | CONTINENTAL | 111088
[8 empty] | COVER | 111101
[8 empty] | DUMAS FUEL GAS | 960360
[8 empty] | DUMAS LATERAL | 960360
[8 empty] | EAST RESIDUE | 111110
[8 empty] | EAST RHEM | 111088
[8 empty] | ELLIS | 111088
[8 empty] | ERLIS PITTMAN AND SONS | 960360
[8 empty] | EXUM | 111088
[8 empty] | FRISCHE SEABOARD | 960360
[8 empty] | GIESBRECHT | 111101
[8 empty] | HARTLEY FEEDERS | 111101
[8 empty] | HARTWATER | 111101
[8 empty] | HENRY REID | 111110
[8 empty] | HOLLY SUGAR | 111088
[8 empty] | HUMPHREYS | 111110
[8 empty] | JIM MEYER | 111088
[8 empty] | LAKERIDGE | 111088
[8 empty] | MAY UNIT | 111110
[8 empty] | MCWILLIAMS | 111101
[8 empty] | MOORE COUNTY IRRIGATION | 960360
[8 empty] | NEW WAY PORK | 111101
[8 empty] | NORTEX | 111101
[8 empty] | NORTH RESIDUE | 111110
[8 empty] | OLD WGI SYSTEM | 960360
[8 empty] | OSTRICH | 111101
[8 empty] | PALO DURO | 960360
[8 empty] | POWELL ADDITION | 111101
[8 empty] | POWELL FARMERS UNIT | 960360
[8 empty] | PREALL | 111110
[8 empty] | PRINGLE | 111110
[8 empty] | SAGEBRUSH | 111088
[8 empty] | SMELTER | 960360
[8 empty] | SOONER | 111088
[8 empty] | SUNRAY NORTH | 111110
[8 empty] | SUNRISE | 111110
[8 empty] | SUPPES | 111110
[8 empty] | TEXAS BEEF | 111110
[8 empty] | TEXLINE | 110575
[8 empty] | UNIT 1 - 22" SOUTH | 111088
[8 empty] | UNIT 1 - ADOBE JACKSON | 111088
[8 empty] | UNIT 1 - ADOBE MAIN | 111088
[8 empty] | UNIT 1 - BECKER | 111088
[8 empty] | UNIT 1 - BTJ NORTH | 111088
[8 empty] | UNIT 1 - BTJ SOUTH | 111088
[8 empty] | UNIT 1 - DANIELS LATERAL | 111088
[8 empty] | UNIT 1 - ENSZ CHECK | 111088
[8 empty] | UNIT 1 - FIELD | 111088
[8 empty] | UNIT 1 - HARTLEY LATERAL | 111088
[8 empty] | UNIT 1 - HARTLEY LIGHTS | 111088
[8 empty] | UNIT 1 - KEAST | 111088
[8 empty] | UNIT 1 - KITCHENS | 111088
[8 empty] | UNIT 1 - LEDBETTER CHECK | 111088
[8 empty] | UNIT 1 - MARYDAY LATERAL | 111088
[8 empty] | UNIT 1 - METCALF | 111088
[8 empty] | UNIT 1 - SUBLETTE CHECK | 111088
[8 empty] | UNIT 1 - VALLEY FARMERS | 111088
[8 empty] | UNIT 1 - VALLEY VIEW | 111088
[8 empty] | UNIT 1 - WARFIELD LATERAL | 111088
[8 empty] | UNIT 1 - WILDER | 111088
[8 empty] | UNIT 2 - COLDWATER | 111101
[8 empty] | UNIT 2 - WILCON | 111101
[8 empty] | UNIT 3 - BEAN LATERAL | 111088
[8 empty] | UNIT 3 - CARGIL NORTH | 111088
[8 empty] | UNIT 3 - CARGIL SOUTH | 111088
[8 empty] | UNIT 3 - COLQUITT | 111088
[8 empty] | UNIT 3 - FAVOR | 111088
[8 empty] | UNIT 3 - FIELD | 111088
[8 empty] | UNIT 3 - GALLO | 111088
[8 empty] | UNIT 3 - LARSEN MIDDLE | 111088
[8 empty] | UNIT 3 - LARSEN SOUTH | 111088
[8 empty] | UNIT 3 - LATHAM LATERAL | 111088
[8 empty] | UNIT 3 - LATHAM NORTH | 111088
[8 empty] | UNIT 3 - LATHAM SOUTH | 111088
[8 empty] | UNIT 3 - NEWMAN EAST | 111088
[8 empty] | UNIT 3 - NORTH RHEM | 111088
[8 empty] | UNIT 3 - NORTH SEDAN | 111088
[8 empty] | UNIT 3 - NPO LATERAL | 111088
[8 empty] | UNIT 3 - OPLIGER | 111088
[8 empty] | UNIT 3 - PARKER ROAD | 111088
[8 empty] | UNIT 3 - PERICO SCHOOL | 111088
[8 empty] | UNIT 3 - ROMERO | 111088
[8 empty] | UNIT 3 - SCHMIDT | 111088
[8 empty] | UNIT 3 - SOUTH RHEM | 111088
[8 empty] | UNIT 3 - WEST RHEM INDUSTRIAL | 111088
[8 empty] | UNIT 3 - WHARTON | 111088
[8 empty] | VEGETABLE ROAD | 111088
[8 empty] | WEST RESIDUE | 960360
[8 empty] | BALMORHEA | 210022
[8 empty] | BELDING RURAL | 210071
[8 empty] | BROGADO | 210094
[8 empty] | COYANOSA | 210127
[8 empty] | FD TOMATO HOUSE LATERAL | FT STOCKTON PENDING 2
[8 empty] | IMPERIAL | 210327
[8 empty] | LOBO RURAL DISTRIBUTION | 210625
[8 empty] | MARFA - PRESIDIO TOMATO HOUSE LATERAL | FT STOCKTON PENDING 3
[8 empty] | NORTH COYANOSA RURAL | 210714
[8 empty] | SARAGOSA | 210793
[8 empty] | SOUTH COYANOSA RURAL | 210807
[8 empty] | TOYAHVILLE | 210871
[8 empty] | VAN HORN | 210884
[8 empty] | VAN HORN SUPPLY, 6" | 211750
[8 empty] | WARD COUNTY DISTRIBUTION | PENDING
[8 empty] | WILDHORSE RURAL DISTRIBUTION | 210926
[8 empty] | CHRISTOVAL | 211087
[8 empty] | EDEN | 211094
[8 empty] | JUNCTION | 211162
[8 empty] | MENARD | 211161
[8 empty] | PAINT ROCK | 211122
[8 empty] | SONORA | 211140
[8 empty] | KERMIT | 210347
[8 empty] | PERRY ADDITION | 963242
[8 empty] | WINKLER COUNTY DISTRIBUTION, 4" | 231737
[8 empty] | 200 NORTH | 960368
[8 empty] | 200 SOUTH | 960368
[8 empty] | 201 (SIERRA VISTA) | 960367
[8 empty] | 203 (VERRADO) | 960368
[8 empty] | 204 (LEGACY RANCH) | 960365
[8 empty] | 206 (IDALOU GIN) | 960364
[8 empty] | 208 (COOPER ISD) | 960363
[8 empty] | 209 (LUBBOCK COTTON GROWERS) | 960362
[8 empty] | 210 (BUSTER GIN) | 111131
[8 empty] | 213 (SOUTH FORK) | 963130
[8 empty] | 219 (ALLEN BUTLER) | 963131
[8 empty] | 300 (PYCO) | 960564
[8 empty] | 4" SOUTH | 110806
[8 empty] | 96 (ISSACS GRESHAM) | 110862
[8 empty] | 97 (ARNETT GIN) | 110862
[8 empty] | AMARILLO ROAD CALCIUM PLANT | 111004
[8 empty] | ASSOCIATED COTTON GROWERS | 111004
[8 empty] | BARR SEAGO | 110153
[8 empty] | BEEDY NIX | 110153
[8 empty] | BLOYS CATES | 111004
[8 empty] | BOEDEKER JONES | 110153
[8 empty] | CA BONDS | 110275
[8 empty] | CLARK TATE | 110207
[8 empty] | COOPER BELT | 110153
[8 empty] | DAVIS CARTHEL | 110153
[8 empty] | DIETRICH GALLAGER | 110153
[8 empty] | DODD GIN | 961173
[8 empty] | DON ROBINSON | 110275
[8 empty] | EAST LOCKETVILLE | 110325
[8 empty] | EBELING | 110207
[8 empty] | EDCOTT GIN | 110207
[8 empty] | EVANS | 110275
[8 empty] | FOSTER BELT | 110497
[8 empty] | GIVENS YOUNG | 110207
[8 empty] | GLEN MONROE | 110275
[8 empty] | GOLDEN REDINGER | 110207
[8 empty] | HALE CENTER FEEDLOT | PENDING
[8 empty] | HANDLEY TERRELL | 110497
[8 empty] | HARRISON JONES | 110153
[8 empty] | HARRISON KELLISON | 110497
[8 empty] | HILLARD | 111004
[8 empty] | HMS | 110153
[8 empty] | HOOPER/COOPER | 110002
[8 empty] | JACKSON AUFIL | 110497
[8 empty] | JONES JONES | 110207
[8 empty] | KELLY HAYES | 110207
[8 empty] | KENNEDY LAMBRIGHT | 110002
[8 empty] | KRESS | 110275
[8 empty] | LATIMER SHIPMAN | 111004
[8 empty] | LEATHERS | 110207
[8 empty] | LOCKNEY COOP | 110497
[8 empty] | MICKEY MILLER #1 | 111004
[8 empty] | MICKEY MILLER #2 | 111004
[8 empty] | MILLER ASTON | 110497
[8 empty] | MITCHELL FERGUSON | 110497
[8 empty] | MOSES | 111004
[8 empty] | NEW HOME | 111132
[8 empty] | NORTHWEST ROPESVILLE | 110496
[8 empty] | NUTT DOWDY | 111004
[8 empty] | PHILLIPS KING | 110153
[8 empty] | PLEASANT VALLEY | 961174
[8 empty] | POINTER FOWLER | 110207
[8 empty] | POOR BOY | 110002
[8 empty] | POTTS HODEL | 111004
[8 empty] | PROBASCO | 111004
[8 empty] | RAMMAGE MATHEWS | 110207
[8 empty] | RECORD | 110497
[8 empty] | ROBERSON ELLIOTT | 111004
[8 empty] | ROBERTS | 111004
[8 empty] | RUCKER NOLAND | 110497
[8 empty] | SCARBROUGH-BOREN | 111004
[8 empty] | SCHACHT MITCHELL | 110497
[8 empty] | SCHWERZNER WATTS | 111004
[8 empty] | SMITH LIGHT | 110002
[8 empty] | SMOOT JONES | 110207
[8 empty] | SYSTEM 15 | 110648
[8 empty] | SYSTEM 22 | 110648
[8 empty] | SYSTEM 26 | 110648
[8 empty] | SYSTEM 27 | 110648
[8 empty] | SYSTEM 30 | 110648
[8 empty] | SYSTEM 35 | 110648
[8 empty] | SYSTEM 49 | 110675
[8 empty] | SYSTEM 53 | 110675
[8 empty] | SYSTEM 55 | 110675
[8 empty] | SYSTEM 6 | 110648
[8 empty] | SYSTEM 63 | 110675
[8 empty] | SYSTEM 65 | 110675
[8 empty] | SYSTEM 93 | 110688
[8 empty] | SYSTEM 95 | 110675
[8 empty] | TURNER #1 | 110002
[8 empty] | TX SESAME MULESHOE | 110002
[8 empty] | UIL GUNTER LINE | 110002
[8 empty] | WIDEMAN | 111004
[8 empty] | WIDENER AYERS | 110497
[8 empty] | WIDENER KROPP | 110497
[8 empty] | WILLIAMS DEAR | 110002
[8 empty] | WILSON ASHBURN | 110497
[8 empty] | WILSON SCHACHT | 110497
[8 empty] | 6G LOWER WINTER GARDEN | 960481
[8 empty] | BATESVILLE RURAL EXTENSION | 711796
[8 empty] | BYRD LATERAL | 960482
[8 empty] | CARRIZO CHESAPEAKE | 964629
[8 empty] | CHESAPEAK LATERAL | 964370
[8 empty] | CRAWFORD LATERAL | 960477
[8 empty] | DEL MONTE LATERAL | 960481
[8 empty] | DEVINE | 710231
[8 empty] | EAST CENTRAL | 411375
[8 empty] | FREISENHAUN LATERAL | 960986
[8 empty] | GOOD LATERAL | 960954
[8 empty] | GULICK LATERAL | 960480
[8 empty] | HIGHWAY 90 | 411376
[8 empty] | I 37 / BURGER KING | 411374
[8 empty] | JUNGMAN | 411373
[8 empty] | KEIFER | 960950
[8 empty] | KNIPPA SCHOOL | 712632
[8 empty] | LA VERNIA | 964627
[8 empty] | LAPRYOR | 710495
[8 empty] | LAPRYOR #1 LATERALS | 730752
[8 empty] | LOTHRINGER 2 | 960951
[8 empty] | LOTHRINGER LATERAL | 964628
[8 empty] | MELON | 711906
[8 empty] | NATALIA | 411372
[8 empty] | NATALIA COUNTRY | 411372
[8 empty] | NORTH KNIPPA | 711797
[8 empty] | OLMOS LATERAL | 960483
[8 empty] | PACE 8 | 966382
[8 empty] | PEPPER LATERAL | 960479
[8 empty] | REAGAN LATERAL | 960478
[8 empty] | RUNNELLS & PETERSON | 732294
[8 empty] | SOMERSET | 411170
[8 empty] | WEST UVALDE LOOP | 730756
[8 empty] | ANCELL EL PASO | 961099
[8 empty] | ANCELL KELLY | 961100
[8 empty] | ANCELL NNG | 961098
[8 empty] | BRONCO | 110065
[8 empty] | DENVER CITY | 961102
[8 empty] | EAST SEMINOLE | 210810
[8 empty] | FLOWERS | 211887
[8 empty] | GOMEZ | 110208
[8 empty] | HIGG SYSTEM | 211890
[8 empty] | KING-MESA | 211889
[8 empty] | KIRBY WEST | 211817
[8 empty] | LASATER | 961101
[8 empty] | LOOP | 961096
[8 empty] | NORTH BROWNFIELD | 110384
[8 empty] | NORTH DENVER CITY | 110151
[8 empty] | NORTH SEMINOLE | 210798
[8 empty] | NORTHWEST WELLMAN | 110611
[8 empty] | SAVAGE | 961097
[8 empty] | SEAGRAVES | 210973
[8 empty] | SMITH TAP | 111224
[8 empty] | SOUTH SEMINOLE | 210810
[8 empty] | SOUTHEAST PLAINS | 110438
[8 empty] | TOKIO | 111130
[8 empty] | UNITED GIN | 211888
[8 empty] | WELLMAN | 110610
[8 empty] | WELLS TAP | 961095
[8 empty] | ALLISON | 110616
[8 empty] | BRISCOE | 110616
[8 empty] | BUFFALO WALLOW | SHAMROCK PENDING 1
[8 empty] | NEW MOBEETIE | 110362
[8 empty] | OLD MOBEETIE | 110363
[8 empty] | QUAIL | 110459
[8 empty] | REYDON | SHAMROCK 2
[8 empty] | REYDON RURAL | SHAMROCK 3
[8 empty] | SHAMROCK | 110516
[8 empty] | WHEELER | 110616
[8 empty] | WHEELER MAIN LINE(OK) | SHAMROCK 2
[8 empty] | WHEELER MAIN LINE | 110616
[8 empty] | ADOBE WALLS | 960567
[8 empty] | BB JARVIS | 110744
[8 empty] | BERNSTEIN | 110045
[8 empty] | BILLY BOATRIGHT | 110744
[8 empty] | BUCHANNAN | 110744
[8 empty] | CHINOOK | 960568
[8 empty] | COLLIER | 110117
[8 empty] | CONNELLY | 110744
[8 empty] | COTTONWOOD | 960360
[8 empty] | DUKE CHECK UNIT | 110744
[8 empty] | FLINTROCK FEEDERS | 110728
[8 empty] | GROVES | 110742
[8 empty] | JACK WHITSON | 110744
[8 empty] | JH MARTIN | 110744
[8 empty] | MAW | 111076
[8 empty] | PALO DURO FEEDERS | 111078
[8 empty] | RAY MOORE #2 | 110368
[8 empty] | RL McCLELLAN | 110744
[8 empty] | RL PORTER | 110744
[8 empty] | ROBERT NOVAK | 110744
[8 empty] | ROSCOE NELSON | 110750
[8 empty] | ROY NOLLNER | 110744
[8 empty] | SALTZMAN | 110498
[8 empty] | STRAWN & MILLER | 110725
[8 empty] | TURKEY TRACK | 110744
[8 empty] | BOISE CITY TP | STRATFORD 1
[8 empty] | BUCKLES 1 | 110709
[8 empty] | BUCKLES 2 | 110710
[8 empty] | BUCKLES 3 | 960044
[8 empty] | CACTUS #3 | 110081
[8 empty] | CACTUS 1&2 LATERAL | 110081
[8 empty] | CACTUS MAINLINE | 110558
[8 empty] | CIMARRON #2 | STRATFORD 2
[8 empty] | COMPANY M | STRATFORD 3
[8 empty] | COOP LATERAL | STRATFORD 4
[8 empty] | ETTER TP 1&2 | 110176
[8 empty] | FEED LOT | STRATFORD 5
[8 empty] | FELT | STRATFORD 6
[8 empty] | GRAHAM STATION | STRATFORD 10
[8 empty] | KERRICK | 110258
[8 empty] | LEO SMITH | 110704
[8 empty] | MILLER | 111083
[8 empty] | NORTHEAST IRRIGATION | STRATFORD 8
[8 empty] | NORTHEAST IRRIGATION | STRATFORD 7
[8 empty] | OSLO | 111106
[8 empty] | PETRIFIED | STRATFORD 11
[8 empty] | SIDEY | 110707
[8 empty] | STEFFINS LATERAL | 110703
[8 empty] | STRATFORD IRRIGATION | 110715
[8 empty] | STRATFORD NORTH | 111083
[8 empty] | STRATFORD SOUTH | 960043
[8 empty] | STRATFORD TP | 110545
[8 empty] | WOLFORD | 110711
[8 empty] | A&M | TEXHOMA 3
[8 empty] | BERGNER LATERAL | TEXHOMA 1
[8 empty] | BOYD LATERAL | TEXHOMA 26
[8 empty] | BREWER SYSTEM | TEXHOMA 2
[8 empty] | CLEMANS LATERAL | TEXHOMA 27
[8 empty] | DRY TRAILS | TEXHOMA 28
[8 empty] | GOODWELL TP | TEXHOMA 4
[8 empty] | HAAR SYSTEM | TEXHOMA 5
[8 empty] | JOHNSON LATERAL | TEXHOMA 5
[8 empty] | JONES LATERAL | TEXHOMA 6
[8 empty] | MUSSMAN | TEXHOMA 7
[8 empty] | NOBLE EAST | TEXHOMA 8
[8 empty] | NOBLE WEST | TEXHOMA 8
[8 empty] | NW IRRIGATION | TEXHOMA 9
[8 empty] | RIPPTOE LATERAL | TEXHOMA 10
[8 empty] | SCROGGINS LATERAL | TEXHOMA 11
[8 empty] | STATELINE LATERAL | TEXHOMA 12
[8 empty] | SUNSET LATERAL | TEXHOMA 19
[8 empty] | TAGGART LATERAL | TEXHOMA 13
[8 empty] | TEXAS BURNETT | 110571
[8 empty] | TEXAS HARTMAN | 110571
[8 empty] | TEXAS HAWKINS | 110571
[8 empty] | TEXAS PUGH | 110571
[8 empty] | TEXAS SOUTH IC&SUNRAY | 110571
[8 empty] | TEXHOMA GAS USERS | 960041
[8 empty] | TEXHOMA OK | TEXHOMA 15
[8 empty] | TEXHOMA OK #2/OB ADAMS | TEXHOMA 14
[8 empty] | TEXHOMA TEXAS TP | 110574
[8 empty] | TOWNSITE LATERAL | TEXHOMA 17
[8 empty] | TX NORTH SAND FARM/STEVENS RD | 110571
[8 empty] | VAL MILL | TEXHOMA 18
[8 empty] | VAL STATELINE | 960042
[8 empty] | WHEAT GROWERS LATERAL | TEXHOMA 23
[8 empty] | WIRTZ LATERAL | TEXHOMA 25